## BalTržiste_TOTAL
Izvještaj o radu balansnog tržišta u BiH za 2019. godinu
Angažovana balansna energija
| Angažovana energija | Trošak energije | Prosječna cijena
| MWh | KM | KM/MWh
Sekundarna reg. nagore | 50764.472 | 5374757.552 | 105.8764
Sekundarna reg. nadole | 39613.107 | 2256555.549 | 56.9649
Tercijarna reg. nagore | 3055.665 | 1137516.5862 | 372.2648
Tercijarna reg. nadole | 904.918 | -140071.1806 | -154.7888
Ukupno nagore | 53820.137 | 6512274.1382 | 121.0007
Ukupno nadole | 40518.025 | 2116484.3684 | 52.2356
Uzima se u obzir prekogranična balansna energija za potrebe CA BiH
Debalans
| Debalans | Debalans | Cijena | Cijena
| mjesečno | maks. satni | prosječna | maks./min.
| MWh | MWh/h | KM/MWh | KM/MWh
Manjak | 42009.929 | 185.674 | 122.7677 | 414.7
Višak | 38864.148 | 171.323 | 40.1009 | -500
Angažovana prekogranična balansna energija
| Angažovana energija | Trošak energije | Prosječna cijena
| MWh | KM | KM/MWh
Za potrebe CA BiH uvoz (nagore) | 415 | 86100.5262 | 207.4711
Za potrebe CA BiH izvoz (nadolje) | 280 | -51489.1806 | -183.8899
Za druge TSO izvoz (nagore) | 2060 | 476050.6379 | 231.0925
Za druge TSO uvoz (nadolje) | 0 | 0

## Reg kapacitet
Tabela 1: Izvještaj o pomoćnim uslugama u BiH za 2019. godinu
Rezervni kapacitet i trošak kapaciteta
|  | Sek. reg. | Sek. reg. | Terc. reg. | Terc. reg.
|  | nevršno opt. | vršno opt. | nagore | nadole
|  | (00.00 - 06.00 sati) | (06.00 - 24.00 sati)
Potrebni kapacitet | MW | 32.5653 | 50.128 | 196 | 68
Ugovoreni kapacitet | MW | 32.5653 | 50.128 | 196 | 68
Tržišno ugovoreni kapacitet | MW | 26.1991 | 50.128 | 196 | 68
Cijena za ugovoreni kapacitet | KM/MW/h | 42.9887 | 40.7086 | 3.5465 | 0.36221
Ugovoreni trošak | KM | 3065869.32 | 13406998.86 | 6089128.14 | 215758.8
Isporučeni kapacitet | MW | 10.3612 | 38.5784 | 164.532 | 49.659
Isporučeni kapacitet | % | 31.82% | 76.96% | 83.94% | 73.03%
Trošak kapaciteta | KM | 975369.92 | 10281978.35 | 5313652.1 | 154733.68
Neobezbijeđeni kapacitet | MW | 22.2041 | 11.5496 | 31.468 | 18.341
Penal za neobezbij. kapacitet | KM | -209096.1 | -326305.5 | -248094 | -33740.07
U tabeli su prikazane prosječne vrijednosti kapaciteta i cijena svedene na 1 sat.
Učešće PPU u isporučenom kapacitetu
EP BiH | MW | 7.4014 | 22.5125 | 82.9703 | 0
EP BiH | % | 71.43% | 58.36% | 50.43% | 0%
ERS | MW | 0.93014 | 8.8592 | 34.79 | 28.9164
ERS | % | 8.977% | 22.96% | 21.14% | 58.23%
EP HZHB | MW | 2.0297 | 7.2067 | 46.7717 | 0
EP HZHB | % | 19.59% | 18.68% | 28.43% | 0%
EAL | MW |  |  | 0
EAL | % |  |  | 0%
EFT | MW |  |  | 0 | 20.7426
EFT | % |  |  | 0% | 41.77%
U tabeli su prikazane prosječne vrijednosti kapaciteta svedene na 1 sat.

## SR_Nevršno
Tabela 2: Izvještaj o pomoćnim uslugama u BiH za 2019. godinu
Sekundarna regulacija - nevršno opterećenje (00.00 - 06.00 sati)
|  | Jan | Feb | Mar | Apr | Maj | Jun | Jul | Avg | Sep | Okt | Nov | Dec | 2019 | 2019/18
Potrebni kapacitet | MW | 34 | 36 | 36 | 31 | 29 | 30 | 31 | 32 | 31 | 32 | 34 | 35 | 32.5653 | 99.96%
Ugovoreni kapacitet | MW | 34 | 36 | 36 | 31 | 29 | 30 | 31 | 32 | 31 | 32 | 34 | 35 | 32.5653 | 99.96%
Tržišno ugovoreni kapacitet | MW | 34 | 34 | 34 | 31 | 26 | 26 | 18 | 10 | 8 | 26 | 34 | 34 | 26.1991 | 104.8%
Cijena za ugovoreni kapacitet | KM/MW | 42.9859 | 42.9867 | 42.9867 | 42.9845 | 42.989 | 42.9893 | 42.9865 | 43 | 42.9948 | 42.99 | 42.9859 | 42.9863 | 42.9887 | 100%
Ugovoreni trošak | KM | 271842.72 | 259983.36 | 286291.2 | 239853.6 | 231882.48 | 232142.4 | 247859.88 | 255936 | 239911.2 | 257252.16 | 263073.6 | 279840.72 | 3065869.32 | 99.96%
Isporučeni kapacitet | MW | 4.1613 | 14.6786 | 11.8162 | 13.2111 | 14.1075 | 13.2889 | 8.0645 | 6.2204 | 5.6278 | 3.2299 | 9.35 | 21.043 | 10.3612 | 71.61%
Isporučeni kapacitet | % | 12.24% | 40.77% | 32.82% | 42.62% | 48.65% | 44.3% | 26.01% | 19.44% | 18.15% | 10.09% | 27.5% | 60.12% | 31.82%
Trošak kapaciteta | KM | 33267.72 | 105992.08 | 93965 | 102208.4 | 112794.16 | 102823.66 | 64472.38 | 49751 | 43558.16 | 25969.56 | 72339.72 | 168228.08 | 975369.92 | 71.61%
Neisporučeni kapacitet | MW | 29.8387 | 21.3214 | 24.1838 | 17.7889 | 14.8925 | 16.7111 | 22.9355 | 25.7796 | 25.3722 | 28.7701 | 24.65 | 13.957 | 22.2041 | 122.6%
Penal za neisp. kapacitet | KM | -23865 | -15402.6 | -19238.2 | -13768.6 | -11911 | -12934.4 | -18343.8 | -20618.5 | -19638.1 | -23134 | -19079.1 | -11162.8 | -209096.1 | 122.6%
U tabeli su prikazane prosječne vrijednosti kapaciteta i cijena svedene na 1 sat.
Učešće PPU u isporučenom kapacitetu
EP BiH | MW | 3.8387 | 13.6667 | 8.9189 | 12.6667 | 10.172 | 8.9833 | 1.0806 | 1.2634 | 0.23333 | 0.65241 | 8.1333 | 19.871 | 7.4014 | 88.1%
EP BiH | % | 92.25% | 93.11% | 75.48% | 95.88% | 72.1% | 67.6% | 13.4% | 20.31% | 4.146% | 20.2% | 86.99% | 94.43% | 71.43%
ERS | MW | 0.32258 | 0.65476 | 1.7514 | 0.54444 | 1.5484 | 3 | 0.63978 | 0.53763 | 0 | 0.026738 | 1.2167 | 0.93548 | 0.93014 | 17.57%
ERS | % | 7.752% | 4.461% | 14.82% | 4.121% | 10.98% | 22.58% | 7.933% | 8.643% | 0% | 0.8278% | 13.01% | 4.446% | 8.977%
EP HZHB | MW | 0 | 0.35714 | 1.1459 | 0 | 2.3871 | 1.3056 | 6.3441 | 4.4194 | 5.3944 | 2.5508 | 0 | 0.23656 | 2.0297 | 261.9%
EP HZHB | % | 0% | 2.433% | 9.698% | 0% | 16.92% | 9.824% | 78.67% | 71.05% | 95.85% | 78.97% | 0% | 1.124% | 19.59%
U tabeli su prikazane prosječne vrijednosti kapaciteta svedene na 1 sat.
Note on E9: Author: Korigovati formulu zbog manjka sata
Note on L9: Author: Korigovana formula zbog viška jednog sata

## SR_Vršno
Tabela 3: Izvještaj o pomoćnim uslugama u BiH za 2019. godinu
Sekundarna regulacija - vršno opterećenje (06.00 - 24.00 sati)
|  | Jan | Feb | Mar | Apr | Maj | Jun | Jul | Avg | Sep | Okt | Nov | Dec | 2019 | 2019/18
Potrebni kapacitet | MW | 53 | 56 | 55 | 48 | 44 | 46 | 47 | 49 | 47 | 49 | 54 | 54 | 50.128 | 99.27%
Ugovoreni kapacitet | MW | 53 | 56 | 55 | 48 | 44 | 46 | 47 | 49 | 47 | 49 | 54 | 54 | 50.128 | 99.27%
Tržišno ugovoreni kapacitet | MW | 53 | 56 | 55 | 48 | 44 | 46 | 47 | 49 | 47 | 49 | 54 | 54 | 50.128 | 99.27%
Cijena za ugovoreni kapacitet | KM/MW | 40.5387 | 40.5634 | 39.7085 | 39.671 | 39.6293 | 41.9493 | 41.9711 | 42.0118 | 42.3285 | 41.1046 | 39.697 | 39.697 | 40.7086 | 97.84%
Ugovoreni trošak | KM | 1198890.9 | 1144861.2 | 1218655.26 | 1028273.4 | 972979.02 | 1042021.8 | 1100733.12 | 1148687.64 | 1074297.6 | 1123882.2 | 1157565.6 | 1196151.12 | 13406998.86 | 97.12%
Isporučeni kapacitet | MW | 44.1075 | 46.3492 | 49.1595 | 43.2815 | 32.8763 | 28.7556 | 27.7186 | 28.6541 | 32.9926 | 36.9982 | 43.7667 | 48.9211 | 38.5784 | 101.2%
Isporučeni kapacitet | % | 83.22% | 82.77% | 89.38% | 90.17% | 74.72% | 62.51% | 58.98% | 58.48% | 70.2% | 75.51% | 81.05% | 90.59% | 76.96%
Trošak kapaciteta | KM | 998440.07 | 949322.08 | 1089279.28 | 927261.21 | 727147.52 | 650329.77 | 644857.16 | 668286.84 | 754209.5 | 850654.36 | 938373.79 | 1083816.77 | 10281978.35 | 99.05%
Neisporučeni kapacitet | MW | 8.8925 | 9.6508 | 5.8405 | 4.7185 | 11.1237 | 17.2444 | 19.2814 | 20.3459 | 14.0074 | 12.0018 | 10.2333 | 5.0789 | 11.5496 | 93.28%
Penal za neisp. kapacitet | KM | -21336.6 | -20915.2 | -14013.7 | -10956.4 | -26690.1 | -40041.6 | -46263.7 | -48817.9 | -32525.2 | -28797.1 | -23761.8 | -12186.2 | -326305.5 | 93.27%
U tabeli su prikazane prosječne vrijednosti kapaciteta i cijena svedene na 1 sat.
Učešće PPU u isporučenom kapacitetu
EP BiH | MW | 25.095 | 28.8075 | 32.8369 | 31.8315 | 25.2616 | 5.613 | 5.9659 | 7.991 | 18.1 | 27.1201 | 29.0463 | 32.9588 | 22.5125 | 109.5%
EP BiH | % | 56.9% | 62.15% | 66.8% | 73.55% | 76.84% | 19.52% | 21.52% | 27.89% | 54.86% | 73.3% | 66.37% | 67.37% | 58.36%
ERS | MW | 6.8065 | 8.0913 | 8.0717 | 6.5944 | 2.8566 | 18.45 | 13.6326 | 12.957 | 7.4148 | 6.9964 | 6.9019 | 7.6004 | 8.8592 | 57.95%
ERS | % | 15.43% | 17.46% | 16.42% | 15.24% | 8.689% | 64.16% | 49.18% | 45.22% | 22.47% | 18.91% | 15.77% | 15.54% | 22.96%
EP HZHB | MW | 12.2061 | 9.4504 | 8.2509 | 4.8556 | 4.7581 | 4.6926 | 8.1201 | 7.7061 | 7.4778 | 2.8817 | 7.8185 | 8.362 | 7.2067 | 318.5%
EP HZHB | % | 27.67% | 20.39% | 16.78% | 11.22% | 14.47% | 16.32% | 29.29% | 26.89% | 22.67% | 7.789% | 17.86% | 17.09% | 18.68%
U tabeli su prikazane prosječne vrijednosti kapaciteta svedene na 1 sat.

## TR_Nagore
Tabela 4: Izvještaj o pomoćnim uslugama u BiH za 2019. godinu
Tercijarna regulacija nagore
|  | Jan | Feb | Mar | Apr | Maj | Jun | Jul | Avg | Sep | Okt | Nov | Dec | 2019 | 2019/18
Potrebni kapacitet | MW | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 100%
Ugovoreni kapacitet | MW | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 100%
Tržišno ugovoreni kapacitet | MW | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 100%
Cijena za ugovoreni kapacitet | KM/MW | 3.2386 | 3.2386 | 3.1773 | 3.009 | 3.1773 | 3.3467 | 4.4009 | 4.7031 | 4.41 | 3.343 | 3.2386 | 3.2386 | 3.5465 | 88.97%
Ugovoreni trošak | KM | 472261.44 | 426558.72 | 462710.68 | 424627.2 | 463333.44 | 472291.2 | 641759.52 | 685819.2 | 622339.2 | 488138.9 | 457027.2 | 472261.44 | 6089128.14 | 88.97%
Isporučeni kapacitet | MW | 165.3696 | 171.6027 | 181.2624 | 174.1042 | 151.0605 | 168.4028 | 171.457 | 170.1519 | 158.0847 | 143.4658 | 169.1181 | 151.4126 | 164.532 | 107.7%
Isporučeni kapacitet | % | 84.37% | 87.55% | 92.48% | 88.83% | 77.07% | 85.92% | 87.48% | 86.81% | 80.66% | 73.2% | 86.28% | 77.25% | 83.94%
Trošak kapaciteta | KM | 401682.84 | 376970.52 | 503899.28 | 434822.9 | 411799.84 | 410400.8 | 562154.72 | 603495.4 | 502161.61 | 339384.03 | 397489.7 | 369390.46 | 5313652.1 | 89.31%
Neisporučeni kapacitet | MW | 30.6304 | 24.3973 | 14.7376 | 21.8958 | 44.9395 | 27.5972 | 24.543 | 25.8481 | 37.9153 | 52.5342 | 26.8819 | 44.5874 | 31.468 | 72.68%
Penal za neisp. kapacitet | KM | -20510.1 | -14755.5 | -9855 | -14188.5 | -30091.5 | -17883 | -16434 | -17307.9 | -24569.1 | -35224.2 | -17419.5 | -29855.7 | -248094 | 61.97%
U tabeli su prikazane prosječne vrijednosti kapaciteta i cijena svedene na 1 sat.
Učešće PPU u isporučenom kapacitetu
EP BiH | MW | 100.8804 | 98.1027 | 108.7752 | 99.9375 | 79.0121 | 80.0556 | 29.9731 | 29.9798 | 71.3472 | 111.9799 | 101.0833 | 86.6398 | 82.9703 | 143.4%
EP BiH | % | 61% | 57.17% | 60.01% | 57.4% | 52.3% | 47.54% | 17.48% | 17.62% | 45.13% | 78.05% | 59.77% | 57.22% | 50.43%
ERS | MW | 18.828 | 27.5 | 26.4872 | 28.1667 | 26.0484 | 22.3472 | 65.4839 | 64.7312 | 61.5903 | 31.4859 | 22.25 | 21.6935 | 34.79 | 77.78%
ERS | % | 11.39% | 16.03% | 14.61% | 16.18% | 17.24% | 13.27% | 38.19% | 38.04% | 38.96% | 21.95% | 13.16% | 14.33% | 21.14%
EP HZHB | MW | 45.6613 | 46 | 46 | 46 | 46 | 66 | 76 | 75.4409 | 25.1472 | 0 | 45.7847 | 43.0793 | 46.7717 | 93.34%
EP HZHB | % | 27.61% | 26.81% | 25.38% | 26.42% | 30.45% | 39.19% | 44.33% | 44.34% | 15.91% | 0% | 27.07% | 28.45% | 28.43%
EAL | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EAL | % | [12 empty] | 0% | bar: Jan to Dec
EFT Stanari | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EFT Stanari | % | [12 empty] | 0% | bar: Jan to Dec
U tabeli su prikazane prosječne vrijednosti kapaciteta svedene na 1 sat.

## TR_Nadole
Tabela 5: Izvještaj o pomoćnim uslugama u BiH za 2019. godinu
Tercijarna regulacija nadole
|  | Jan | Feb | Mar | Apr | Maj | Jun | Jul | Avg | Sep | Okt | Nov | Dec | 2019 | 2019/18
Potrebni kapacitet | MW | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 100%
Ugovoreni kapacitet | MW | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 100%
Tržišno ugovoreni kapacitet | MW | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 100%
Cijena za ugovoreni kapacitet | KM/MW | 0.36221 | 0.36221 | 0.36221 | 0.36221 | 0.36221 | 0.36221 | 0.36221 | 0.36221 | 0.36221 | 0.36221 | 0.36221 | 0.36221 | 0.36221 | 71.77%
Ugovoreni trošak | KM | 18324.72 | 16551.36 | 18300.09 | 17733.6 | 18324.72 | 17733.6 | 18324.72 | 18324.72 | 17733.6 | 18349.35 | 17733.6 | 18324.72 | 215758.8 | 71.77%
Isporučeni kapacitet | MW | 45.1465 | 53.1949 | 50.6797 | 33.4417 | 59.6196 | 53.3583 | 51.7594 | 51.578 | 50.7042 | 37.1919 | 52.2903 | 57.0188 | 49.659 | 93.76%
Isporučeni kapacitet | % | 66.39% | 78.23% | 74.53% | 49.18% | 87.68% | 78.47% | 76.12% | 75.85% | 74.56% | 54.69% | 76.9% | 83.85% | 73.03%
Trošak kapaciteta | KM | 11993.09 | 12472.27 | 13644.55 | 9793.98 | 15768.37 | 13489.38 | 13370.69 | 13315.34 | 12783.87 | 10031.03 | 13096.09 | 14975.02 | 154733.68 | 65.59%
Neisporučeni kapacitet | MW | 22.8535 | 14.8051 | 17.3203 | 34.5583 | 8.3804 | 14.6417 | 16.2406 | 16.422 | 17.2958 | 30.8081 | 15.7097 | 10.9812 | 18.341 | 122%
Penal za neisp. kapacitet | KM | -3570.63 | -2089.29 | -2702.49 | -5225.22 | -1309.35 | -2213.82 | -2537.43 | -2565.78 | -2615.13 | -4819.92 | -2375.31 | -1715.7 | -33740.07 | 122%
U tabeli su prikazane prosječne vrijednosti kapaciteta i cijena svedene na 1 sat.
Učešće PPU u isporučenom kapacitetu
EP BiH | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EP BiH | % | [12 empty] | 0% | bar: Jan to Dec
ERS | MW | 26.7594 | 28.1949 | 32.1063 | 32.6083 | 34.6196 | 29.1917 | 26.7594 | 26.578 | 27.3708 | 23.4671 | 27.2903 | 32.0188 | 28.9164 | 81.93%
ERS | % | 59.27% | 53% | 63.35% | 97.51% | 58.07% | 54.71% | 51.7% | 51.53% | 53.98% | 63.1% | 52.19% | 56.15% | 58.23%
EP HZHB | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EP HZHB | % | [12 empty] | 0% | bar: Jan to Dec
EFT Stanari | MW | 18.3871 | 25 | 18.5734 | 0.83333 | 25 | 24.1667 | 25 | 25 | 23.3333 | 13.7248 | 25 | 25 | 20.7426 | 117.4%
EFT Stanari | % | 40.73% | 47% | 36.65% | 2.492% | 41.93% | 45.29% | 48.3% | 48.47% | 46.02% | 36.9% | 47.81% | 43.85% | 41.77%
U tabeli su prikazane prosječne vrijednosti kapaciteta svedene na 1 sat.

## XB_Balancing
Tabela 9: Izvještaj o prekograničnoj razmjeni (XB) balansne energije za 2019. godinu
Angažovana energija u BiH za potrebe drugih TSO
|  | Jan | Feb | Mar | Apr | Maj | Jun | Jul | Avg | Sep | Okt | Nov | Dec | 2019 | 2019/18
XB razmjena - uvoz | MWh
Cijena uvoz prosječna | KM /MWh
Trošak uvoz | KM
XB razmjena - izvoz | MWh | Feb: 325; Mar: 1240; Jun: 365; Nov: 50; Dec: 80 | 2060 | 62.31%
Cijena izvoz prosječna | KM /MWh | Feb: 276.9277; Mar: 227.3874; Jun: 194.2726; Nov: 349.9958; Dec: 195.9937 | 231.0925 | 119.4%
Trošak izvoz | KM | Feb: 90001.5; Mar: 281960.35; Jun: 70909.5; Nov: 17499.79; Dec: 15679.4979 | 476050.6379 | 74.41%
Angažovana prekogranična energija zbog potreba BiH
XB razmjena - uvoz | MWh | Okt: 285; Dec: 130 | 415 | 41.05%
Cijena uvoz prosječna | KM /MWh | Okt: 238.614; Dec: 139.1964 | 207.4711 | 101.4%
Trošak uvoz | KM | Okt: 68004.9914; Dec: 18095.5347 | 86100.5262 | 41.61%
XB razmjena - izvoz | MWh | Sep: 280 | 280
Cijena izvoz prosječna | KM /MWh | Sep: -183.8899 | -183.8899
Trošak izvoz | KM | Sep: -51489.1806 | -51489.1806
Angažovana prekogranična energija zbog potreba BiH
|  | Jan | Feb | Mar | Apr | Maj | Jun | Jul | Avg | Sep | Okt | Nov | Dec | 2019 | 2019/18
BA --> SI | MWh | Sep: 142 | 142
SI --> BA | MWh | [12 empty] | 0
BA --> HR | MWh | Sep: 138 | 138
HR --> BA | MWh | Okt: 175; Dec: 100 | 275 | 229.2%
BA --> RS | MWh | [12 empty] | 0
RS --> BA | MWh | Okt: 110; Dec: 30 | 140 | 15.71%
BA --> ME | MWh | [12 empty] | 0
ME --> BA | MWh | [12 empty] | 0
XB razmjena - uvoz | MWh | Okt: 285; Dec: 130 | 415 | 41.05%
Cijena uvoz Prosječna | KM /MWh | Okt: 238.614; Dec: 139.1964 | 207.4711 | 101.4%
Trošak uvoz | KM | Okt: 68004.9914; Dec: 18095.5347 | 86100.5262 | 41.61%
XB razmjena - izvoz | MWh | Sep: 280 | 280
Cijena izvoz Prosječna | KM /MWh | Sep: -183.8899 | -183.8899
Trošak izvoz | KM | Sep: -51489.1806 | -51489.1806

## BalTržište
Tabela 7: Izvještaj o balansnom tržištu u BiH za 2019. godinu
Angažovana energija
|  | Jan | Feb | Mar | Apr | Maj | Jun | Jul | Avg | Sep | Okt | Nov | Dec | 2019 | 2019/18
Energija sek. reg. nagore | MWh | 5721.69 | 2058.675 | 2822.27 | 6944.565 | 3602.315 | 4003.13 | 3478.505 | 3926.363 | 3737.475 | 3638.725 | 4064.379 | 6766.38 | 50764.472 | 136.4%
Energija sek. reg. nadole | MWh | 1992.735 | 6749.48 | 6297.83 | 2057.555 | 2880 | 3012.13 | 2547.012 | 2594.445 | 2159.98 | 2828.545 | 3186.255 | 3307.14 | 39613.107 | 66.57%
Energija terc. reg. nagore | MWh | 10 | 0 | 90 | 107.333 | 310 | 521.166 | 0 | 168.333 | 40 | 904 | 50 | 854.833 | 3055.665 | 45.96%
Energija terc. reg. nadole | MWh | 0 | 83.334 | 112.501 | 0 | 0 | 0 | 0 | 37 | 361.25 | 0 | 30.833 | 0 | 624.918 | 45.43%
Balansna energija nagore | MWh | 5731.69 | 2058.675 | 2912.27 | 7051.898 | 3912.315 | 4524.296 | 3478.505 | 4094.696 | 3777.475 | 4542.725 | 4114.379 | 7621.213 | 53820.137 | 122.7%
Balansna energija nadole | MWh | 1992.735 | 6832.814 | 6410.331 | 2057.555 | 2880 | 3012.13 | 2547.012 | 2631.445 | 2521.23 | 2828.545 | 3217.088 | 3307.14 | 40238.025 | 66.09%
Uzima se u obzir prekogranična razmjena sa drugim TSO za potrebe BiH
Trošak balansiranja i ostvarene prosječne cijene
|  | Jan | Feb | Mar | Apr | Maj | Jun | Jul | Avg | Sep | Okt | Nov | Dec | 2016 | 2019/18
Nagore - trošak | KM | 859968.048 | 205091.749 | 268973.64 | 709612.166 | 474000.098 | 523108.716 | 359329.629 | 489365.235 | 416865.15 | 725924.7364 | 452065.223 | 1027969.7478 | 6512274.1382 | 110.8%
Nagore - prosječna cijena | KM/MWh | 150.0374 | 99.6232 | 92.3588 | 100.6271 | 121.1559 | 115.6221 | 103.3 | 119.512 | 110.3555 | 159.7994 | 109.8745 | 134.8827 | 121.0007 | 90.26%
Nadole - trošak (poz. cijena) | KM | 223697.464 | 405876.312 | 205011.065 | 75365.567 | 132802.438 | 112376.599 | 154591.693 | 173753.428 | 89771.9694 | 207814.73 | 211964.665 | 218755.338 | 2211781.2684 | 64.27%
Nadole - prosječna cijena | KM/MWh | 112.2565 | 59.401 | 31.9814 | 36.6287 | 46.112 | 37.308 | 60.6953 | 66.0297 | 35.6064 | 73.4705 | 65.8871 | 66.1464 | 54.9674 | -2.748%
Nadole - trošak (neg. cijena) | KM | 0 | -3969.9 | -26194.9 | -1308.8 | -3715 | 0 | 0 | -4440 | -40625 | -210.1 | -14833.2 | 0 | -95296.9 | -51.29%
Nadole - prosječna cijena | KM/MWh | 112.2565 | 58.82 | 27.895 | 35.9926 | 44.822 | 37.308 | 60.6953 | 64.3424 | 19.4933 | 73.3963 | 61.2764 | 66.1464 | 52.5991 | 98.37%
Debalans BiH
|  | Jan | Feb | Mar | Apr | Maj | Jun | Jul | Avg | Sep | Okt | Nov | Dec | 2016 | 2019/18
Manjak - ukupno | MWh | 4067.671 | 2261.352 | 4164.765 | 2836.217 | 3128.355 | 2485.286 | 2395.321 | 3253.124 | 4390.307 | 5901.609 | 3118.599 | 4007.323 | 42009.929 | 93.23%
Manjak - maks. satno | MW | 59.985 | 63.396 | 64.905 | 185.674 | 44.14 | 97.53 | 52.714 | 85.339 | 70.591 | 86.769 | 56.282 | 110.885 | 185.674 | 97.88%
Višak - ukupno | MWh | 2784.987 | 4115.359 | 3334.242 | 3252.92 | 3300.089 | 4843.854 | 4400.836 | 3265.687 | 2337.772 | 1834.279 | 3320.942 | 2073.181 | 38864.148 | 97.61%
Višak - maks. satno | MW | 67.995 | 84.007 | 50.524 | 51.811 | 61.352 | 84.002 | 74.431 | 64.236 | 171.323 | 44.285 | 60.915 | 39.277 | 171.323 | 85.88%
Cijena manjak - prosječna | KM/MWh | 164.6984 | 120.7473 | 104.1931 | 106.5639 | 105.3978 | 97.5029 | 124.546 | 140.8522 | 126.4136 | 138.0727 | 118.2631 | 124.3552 | 122.7677 | 110.3%
Cijena manjak - maksimalna | KM/MWh | 300 | 143.38 | 414 | 414 | 414 | 414.7 | 160 | 360 | 395 | 414.7 | 410 | 414.7 | 414.7 | 100%
Cijena višak - prosječna | KM/MWh | 63.8598 | 40.4431 | 22.0777 | 34.5694 | 39.6869 | 23.4996 | 45.4596 | 42.464 | 40.9279 | 43.0018 | 36.4608 | 47.9603 | 40.1009 | 96.87%
Cijena višak - minimalna | KM/MWh | 0 | -150 | -500 | -40 | -20 | 0 | 0 | -120 | -500 | -20 | -500 | 0 | -500 | -100%
Note on G17: Author: drugačija formula zbog negativne cijene
Note on K27: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: ¸nije usla PE Capljina

## GubiciKomp
Tabela 8: Izvještaj o prenosnim gubicima i kompenzacijama za 2019. godinu
|  | Jan | Feb | Mar | Apr | Maj | Jun | Jul | Avg | Sep | Okt | Nov | Dec | 2019 | 2019/18
Kompenzacije | MWh | 1576 | 48 | 1822 | -659 | -190 | 988 | 2633 | 1157 | 617 | -1355 | -3422 | -508 | 2707 | -69.93%
Gubici | MWh | 35150.075 | 25529.137 | 30043.124 | 24548.82 | 24262.63 | 22568.808 | 23818.488 | 25166.94 | 22974.59 | 25002.764 | 27179.252 | 33388.669 | 319633.297 | 80.16%
Referentna cijena | KM/MWh | 141.86 | 143.38 | 115.24 | 113.11 | 127.2 | 130.16 | 147.7 | 142.03 | 144.92 | 150.41 | 146.11 | 135.54 | 136.4717 | 136%
Trošak | KM | 4762818.2795 | 3653485.4231 | 3252202.3298 | 2851256.5202 | 3110374.536 | 2808957.9693 | 3129096.5776 | 3410131.7782 | 3240061.9428 | 3964471.2832 | 4471148.9297 | 4594354.5163 | 43248360.0856 | 107%
Kompenzacije: "-" smjer - prijem, "+" smjer - davanje.

## AnalizaOdstupanje
Tabela 6: Odstupanja BiH u zadnjih 5 godina
Debalans BiH |  | Manjak energije |  |  |  |  | Višak energije
|  | 2015 | 2016 | 2017 | 2018 | 2019 | 2015 | 2016 | 2017 | 2018 | 2019
Ukupno | MWh | -110950 | -28159 | -31199.606 | -45061.892 | -42009.929 | 166862.633 | 80310.449 | 56105.485 | 39814.041 | 38864.148
maks. satno | MW | -188 | -313 | -178.553 | -189.699 | -185.674 | 233.15 | 238.698 | 156.682 | 199.499 | 171.323