## Reg capacity
Table 1: Report on balancing capacities in BiH for the year 2022
Reserve capacity and capacity cost
|  | FCR | aFRR | aFRR | mFRR | mFRR
|  |  | Off-peak load | Peak load | Upward | Downward
|  |  | (00.00 - 06.00 hrs) | (06.00 - 24.00 hrs)
Required capacity | MW | 13 | 28.1571 | 47.2329 | 196 | 68
Contracted capacity | MW | 13 | 28.1571 | 47.2329 | 196 | 68
Capacity contracted at the market | MW | 0 | 24.6064 | 47.2329 | 196 | 68
Price of contracted capacity | KM/MW/h | 0 | 42.5536 | 33.8917 | 4.4163 | 1.6209
Contracted cost | KM | 0 | 2624025.1 | 10517257.62 | 7582585.88 | 965517.82
Delivered capacity | MW | 13 | 7.8651 | 22.9191 | 103.6015 | 55.6279
Delivered capacity | % | 100% | 27.93% | 48.52% | 52.86% | 81.81%
Capacity cost | KM | 0 | 732212.3652 | 5071018.0862 | 3085817.7975 | 773258.95
Unprovided capacity | MW | 0 | 20.292 | 24.3138 | 92.4287 | 12.3892
Penalty for unprovided capacity | KM | 0 | 191089.893 | 686888.278 | 728707.725 | 22791.195
The table shows average capacity values presented in 1 hour.
BSP's share in delivered capacity
EP BiH | MW | 5.0009 | 5.0042 | 14.1321 | 49.8933 | 8.0565
EP BiH | % | 38.47% | 63.63% | 61.66% | 48.16% | 14.48%
ERS | MW | 4.8356 | 2.8609 | 8.787 | 10.2519 | 22.4044
ERS | % | 37.2% | 36.37% | 38.34% | 9.896% | 40.28%
EP HZHB | MW | 1.4192 | 0 | 0 | 43.4562 | 12.367
EP HZHB | % | 10.92% | 0% | 0% | 41.95% | 22.23%
EFT | MW | 2 |  |  |  | 12.8
EFT | % | 13% |  |  |  | 23.01%
The table shows average capacity values presented in 1 hour.

## Bal.market_TOTAL
Report on balancing market operations in BiH for the year 2022
Engaged balancing energy
| Engaged energy | Energy cost | Average price | Max./Min. price
| MWh | KM | KM/MWh | KM/MWh
FCR upward | 3585.171 | 1752328.93 | 488.7714 | 1788.57
FCR downward | 2804.923 | 1134528.57 | 404.4776 | -80.5
aFRR upward | 40324.785 | 17382754.2594 | 431.0687 | 659
aFRR downward | 38348.2333 | 12376040.6119 | 322.7278 | 70
mFRR upward | 10183.4167 | 9524034.6433 | 935.2494 | 2223.78
mFRR downward | 635.0833 | -63066.6667 | -99.3046 | -400
Total Upward | 54093.3727 | 28659117.8328 | 529.8083 | 2223.78
Total Downward | 41788.2397 | 13447502.5152 | 321.8011 | -400
Cross-border balancing energy for the needs of CA BiH taken into account
Imbalance
| Imbalance | Imbalance | Average | Price
|  | Max. hourly | price | Max./Min.
| MWh | MWh/h | KM/MWh | KM/MWh
Shortage | 86765.32 | 269.999 | 439.6389 | 2223.78
Surplus | 33013.971 | 215.996 | 306.0134 | -400
Engaged cross-border balancing energy
| Engaged energy | Energy cost | Average price
| MWh | KM | KM/MWh
For the needs of CA BiH Import (Upward) | 3360 | 4657525.81 | 1386.1684
For the needs of CA BiH Export (Downward) | 0 | 0
For other TSOs Export (Upward) | 30 | 19679.95 | 655.9983
For other TSO Import (Downward) | 215 | -21648.5898 | -100.6911

## FCR
Table 2: Report on balance services in BiH for the year 2022
Frequency Containment Reserve - FCR
|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec | 2022 | 2022/21
Required capacity | MW | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13
Contracted capacity | MW | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13
Capacity contracted at the market | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Price of contracted capacity | KM/MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Contracted cost | KM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Delivered capacity | MW | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13
Delivered capacity | % | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Capacity cost | KM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Undelivered capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Penalty for undelivered capacity | KM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
The table shows average capacity values presented in 1 hour.
BSP's share in delivered capacity
EP BiH | MW | 5 | 5 | 4 | 5 | 5 | 4 | 5 | 5 | 6 | 6 | 5 | 5 | 5.0009
EP BiH | % | [12 empty] | 38.47%
ERS | MW | 5 | 5 | 5 | 4 | 5 | 6 | 5 | 5 | 4 | 5 | 4 | 5 | 4.8356
ERS | % | [12 empty] | 37.2%
EP HZHB | MW | 1 | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 1.4192
EP HZHB | % | [12 empty] | 10.92%
EFT Stanari | MW | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 2 | 1 | 1.7443
EFT Stanari | % | [12 empty] | 13.42%
The table shows average capacity values presented in 1 hour.

## SR _ Off peak load
Table 3: Report on balance services in BiH for the year 2022
aFRR - off-peak load (00.00 - 06.00 hrs)
|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec | 2022 | 2022/21
Required capacity | MW | 31 | 30 | 30 | 29 | 25 | 26 | 28 | 28 | 27 | 26 | 28 | 30 | 28.1571 | 104.6%
Contracted capacity | MW | 31 | 30 | 30 | 29 | 25 | 26 | 28 | 28 | 27 | 26 | 28 | 30 | 28.1571 | 104.6%
Capacity contracted at the market | MW | 31 | 30 | 30 | 29 | 25 | 26 | 10 | 10 | 21 | 26 | 28 | 30 | 24.6064 | 113.1%
Price of contracted capacity | KM/MW | 42.4913 | 42.483 | 42.483 | 42.4741 | 42.5084 | 42.5173 | 42.8375 | 42.8375 | 42.5833 | 42.4712 | 42.4732 | 42.483 | 42.5536 | 99.82%
Contracted cost | KM | 245004.78 | 214114.32 | 235780.65 | 221715 | 197664.06 | 198981 | 223097.7 | 223097.7 | 206955 | 206494.75 | 214065 | 237055.14 | 2624025.1 | 104.4%
Delivered capacity | MW | 17.2867 | 11.3116 | 6.7329 | 15.3663 | 9.3255 | 6.3543 | 8.6534 | 3.9715 | 2.7278 | 5.4909 | 3.4346 | 3.9501 | 7.8651 | 67.44%
Delivered capacity | % | 55.76% | 37.71% | 22.44% | 52.99% | 37.3% | 24.44% | 30.9% | 14.18% | 10.1% | 21.12% | 12.27% | 13.17% | 27.93%
Capacity cost | KM | 136620.8542 | 80748.0966 | 52883.499 | 117493.308 | 73731.5626 | 48617.6312 | 68647.2035 | 31627.9671 | 20873.1482 | 43521.7792 | 26254.4518 | 31192.8639 | 732212.3652 | 67.35%
Undelivered capacity | MW | 13.7133 | 18.6884 | 23.2671 | 13.6337 | 15.6745 | 19.6457 | 19.3466 | 24.0285 | 24.2722 | 20.5091 | 24.5654 | 26.0499 | 20.292 | 133%
Penalty for undelivered capacity | KM | 10967.881 | 13500.495 | 18508.9845 | 10552.458 | 12536.435 | 15205.8105 | 15473.4425 | 19217.9685 | 18786.657 | 16491.3815 | 19013.654 | 20834.7255 | 191089.893 | -133%
The table shows average capacity values and prices presented in 1 hour.
BSP's share in delivered capacity
EP BiH | MW | 13.5181 | 10.1766 | 3.3499 | 13.1759 | 4.8478 | 3.0241 | 2.2924 | 2.3618 | 1.9108 | 1.3195 | 2.6976 | 1.9123 | 5.0042 | 52.29%
EP BiH | % | 78.2% | 89.97% | 49.75% | 85.75% | 51.98% | 47.59% | 26.49% | 59.47% | 70.05% | 24.03% | 78.54% | 48.41% | 63.63%
ERS | MW | 3.7686 | 1.135 | 3.383 | 2.1904 | 4.4777 | 3.3302 | 6.3609 | 1.6098 | 0.81706 | 4.1714 | 0.73697 | 2.0378 | 2.8609 | 162.4%
ERS | % | 21.8% | 10.03% | 50.25% | 14.25% | 48.02% | 52.41% | 73.51% | 40.53% | 29.95% | 75.97% | 21.46% | 51.59% | 36.37%
EP HZHB | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
EP HZHB | % | [12 empty] | 0% | bar: Jan to Dec
The table shows average capacity values presented in 1 hour

## SR_peak load
Table 4: Report on balance services in BiH for the year 2022
aFRR - peak load (06:00 - 24.00 hrs)
|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec | 2022 | 2022/21
Required capacity | MW | 52 | 51 | 49 | 47 | 42 | 45 | 47 | 45 | 42 | 45 | 50 | 52 | 47.2329 | 106.7%
Contracted capacity | MW | 52 | 51 | 49 | 47 | 42 | 45 | 47 | 45 | 42 | 45 | 50 | 52 | 47.2329 | 106.7%
Capacity contracted at the market | MW | 52 | 51 | 49 | 47 | 42 | 45 | 47 | 45 | 42 | 45 | 50 | 52 | 47.2329 | 106.7%
Price of contracted capacity | KM/MW | 34.3221 | 34.1824 | 33.6427 | 33.4821 | 33.0055 | 34.2947 | 34.4313 | 34.2922 | 34.0614 | 33.3011 | 33.7268 | 33.8721 | 33.8917 | 95.57%
Contracted cost | KM | 995890.5 | 878623.2 | 919857.42 | 849776.4 | 773516.34 | 833360.4 | 902994.66 | 861077.7 | 772513.2 | 836190.9 | 910623.6 | 982833.3 | 10517257.62 | 102%
Delivered capacity | MW | 36.1329 | 29.8756 | 21.9554 | 36.4582 | 34.2023 | 21.1314 | 19.3348 | 17.2646 | 8.6456 | 13.1141 | 17.8647 | 19.4786 | 22.9191 | 72.83%
Delivered capacity | % | 69.49% | 58.58% | 44.81% | 77.57% | 81.43% | 46.96% | 41.14% | 38.37% | 20.58% | 29.14% | 35.73% | 37.46% | 48.52%
Capacity cost | KM | 692597.3664 | 522217.5163 | 410866.0351 | 655815.0229 | 628012.8233 | 382518.7187 | 363177.7308 | 321027.8136 | 152752.1286 | 247920.4658 | 326085.6364 | 368026.8283 | 5071018.0862 | 69.3%
Undelivered capacity | MW | 15.8671 | 21.1244 | 27.0446 | 10.5418 | 7.7977 | 23.8686 | 27.6652 | 27.7354 | 33.3544 | 31.8859 | 32.1353 | 32.5214 | 24.3138 | 190.2%
Penalty for undelivered capacity | KM | 38071.4905 | 45780.7025 | 64890.8915 | 24478.0725 | 18709.816 | 55422.9795 | 66379.8525 | 66548.2405 | 77449.02 | 76507.105 | 74618.2225 | 78031.885 | 686888.278 | -190.2%
The table shows average capacity values and prices presented in 1 hour.
BSP's share in delivered capacity
EP BiH | MW | 23.1823 | 15.4313 | 12.2774 | 27.2193 | 28.4584 | 12.1624 | 9.9785 | 9.9563 | 5.7698 | 5.5301 | 9.3138 | 10.3642 | 14.1321 | 60.99%
EP BiH | % | 64.16% | 51.65% | 55.92% | 74.66% | 83.21% | 57.56% | 51.61% | 57.67% | 66.74% | 42.17% | 52.14% | 53.21% | 61.66%
ERS | MW | 12.9506 | 14.4444 | 9.678 | 9.2389 | 5.7439 | 8.9689 | 9.3563 | 7.3083 | 2.8758 | 7.5839 | 8.5509 | 9.1144 | 8.787 | 190%
ERS | % | 35.84% | 48.35% | 44.08% | 25.34% | 16.79% | 42.44% | 48.39% | 42.33% | 33.26% | 57.83% | 47.86% | 46.79% | 38.34%
EP HZHB | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
EP HZHB | % | [12 empty] | 0% | bar: Jan to Dec
The table shows average capacity values presented in 1 hour

## TR_Upward
Table 5: Report on balance services in BiH for the year 2022
mFRR upward
|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec | 2022 | 2022/21
Required capacity | MW | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 100%
Contracted capacity | MW | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 100%
Capacity contracted at the market | MW | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | 100%
Price of contracted capacity | KM/MW | 2.6836 | 2.6852 | 2.6852 | 2.6844 | 3.5216 | 6.9267 | 6.4884 | 6.4884 | 6.9267 | 5.5711 | 3.5397 | 2.701 | 4.4163 | 152.5%
Contracted cost | KM | 391336.56 | 353666.88 | 391033.47 | 378820.8 | 513531.12 | 977493.6 | 946167.12 | 946167.12 | 977493.6 | 813487.85 | 499521.6 | 393866.16 | 7582585.88 | 152.5%
Delivered capacity | MW | 132.3061 | 171.8795 | 122.681 | 180.3514 | 187.5228 | 135.0729 | 20.3723 | 11.7003 | 0.27778 | 29.0658 | 157.0986 | 103.506 | 103.6015 | 66.17%
Delivered capacity | % | 67.5% | 87.69% | 62.59% | 92.02% | 95.67% | 68.91% | 10.39% | 5.97% | 0.1417% | 14.83% | 80.15% | 52.81% | 52.86%
Capacity cost | KM | 262192.7025 | 310141.65 | 242012.68 | 349886.38 | 495131.29 | 640394.27 | 53206.71 | 28647.25 | 590 | 79177.62 | 414684.93 | 209752.315 | 3085817.7975 | 77.71%
Undelivered capacity | MW | 63.6939 | 24.1205 | 73.319 | 15.6486 | 8.832 | 60.9271 | 175.6277 | 184.2997 | 195.7222 | 166.9342 | 38.9014 | 92.494 | 92.4287 | 234.4%
Penalty for undelivered capacity | KM | 42649.425 | 14588.1 | 49028.4 | 10140.3 | 5913.9 | 39480.75 | 117600.3 | 123407.1 | 126828 | 111929.4 | 25208.1 | 61933.95 | 728707.725 | -234.4%
The table shows average capacity values and prices presented in 1 hour.
BSPs share in delivered capacity
EP BiH | MW | 59.2137 | 71.0565 | 63.5262 | 69.0611 | 111.5995 | 37.5139 | 19.7917 | 11.7003 | 0.27778 | 23.9664 | 98.2514 | 35.0403 | 49.8933 | 92.16%
EP BiH | % | 44.76% | 41.34% | 51.78% | 38.29% | 59.51% | 27.77% | 97.15% | 100% | 100% | 82.46% | 62.54% | 33.85% | 48.16%
ERS | MW | 12.4597 | 12.3884 | 9.1655 | 12.4375 | 14.7379 | 53.7111 | 0 | 0 | 0 | 0 | 3.1458 | 6.1089 | 10.2519 | 50.08%
ERS | % | 9.417% | 7.208% | 7.471% | 6.896% | 7.859% | 39.76% | 0% | 0% | 0% | 0% | 2.002% | 5.902% | 9.896%
EP HZHB | MW | 60.6327 | 88.4345 | 49.9892 | 98.8528 | 61.1855 | 43.8479 | 0.58065 | 0 | 0 | 5.0993 | 55.7014 | 62.3569 | 43.4562 | 53.02%
EP HZHB | % | 45.83% | 51.45% | 40.75% | 54.81% | 32.63% | 32.46% | 2.85% | 0% | 0% | 17.54% | 35.46% | 60.24% | 41.95%
EAL | MW | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
EAL | % | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
EFT Stanari | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EFT Stanari | % | [12 empty] | 0% | bar: Jan to Dec
The table shows average capacity values presented in 1 hour.

## TR_Downward
Table 6: Report on balance services in BiH for the year 2022
mFRR downward
|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec | 2022 | 2022/21
Required capacity | MW | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 100%
Contracted capacity | MW | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 100%
Capacity contracted at the market | MW | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 100%
Price of contracted capacity | KM/MW | 1.5829 | 1.5741 | 1.5918 | 1.5874 | 1.6559 | 1.6603 | 1.6559 | 1.6559 | 1.6603 | 1.6515 | 1.5874 | 1.5829 | 1.6209 | 110.3%
Contracted cost | KM | 80084.16 | 71930.88 | 80422.32 | 77716.8 | 83774.4 | 81288 | 83774.4 | 83774.4 | 81288 | 83663.5 | 77716.8 | 80084.16 | 965517.82 | 110.3%
Delivered capacity | MW | 59.5289 | 56.0432 | 53.5908 | 60.3139 | 59.2177 | 57.1083 | 59.4812 | 54.7312 | 36.0806 | 58.6228 | 55.0181 | 57.3804 | 55.6279 | 97.06%
Delivered capacity | % | 87.54% | 82.42% | 78.81% | 88.7% | 87.08% | 83.98% | 87.47% | 80.49% | 53.06% | 86.21% | 80.91% | 84.38% | 81.81%
Capacity cost | KM | 68854.71 | 58005.78 | 61627.68 | 67553.16 | 72402.84 | 67738.62 | 72900.28 | 66386.72 | 37901.04 | 71200.89 | 61642.81 | 67044.42 | 773258.95 | 107.2%
Undelivered capacity | MW | 8.4711 | 11.9568 | 14.4092 | 7.6861 | 8.7823 | 10.9333 | 8.5188 | 13.2688 | 31.9194 | 9.4577 | 13.0236 | 10.6599 | 12.3892 | 115.9%
Penalty for undelivered capacity | KM | 1323.525 | 1687.35 | 2248.26 | 1162.14 | 1372.14 | 1653.12 | 1330.98 | 2073.12 | 4826.22 | 1479.66 | 1969.17 | 1665.51 | 22791.195 | -115.9%
The table shows average capacity values and prices presented in 1 hour.
BSP's share in delivered capacity
EP BiH | MW | 9.664 | 9.0774 | 7.4293 | 9.6944 | 8.1855 | 7.1389 | 8.1452 | 7.6882 | 8.0556 | 6.5168 | 6.7639 | 8.4005 | 8.0565 | 48.35%
EP BiH | % | 16.23% | 16.2% | 13.86% | 16.07% | 13.82% | 12.5% | 13.69% | 14.05% | 22.33% | 11.12% | 12.29% | 14.64% | 14.48%
ERS | MW | 22.3488 | 22.0238 | 23.4455 | 23.2222 | 23.3871 | 22.4722 | 23.8374 | 19.4691 | 16.9167 | 27.9826 | 20.9903 | 22.5202 | 22.4044 | 80.35%
ERS | % | 37.54% | 39.3% | 43.75% | 38.5% | 39.49% | 39.35% | 40.08% | 35.57% | 46.89% | 47.73% | 38.15% | 39.25% | 40.28%
EP HZHB | MW | 14.5161 | 13.8765 | 13.9152 | 14.8306 | 10.6452 | 10.4972 | 10.4987 | 10.5739 | 10.5417 | 10.957 | 14.2639 | 13.4597 | 12.367 | 96.86%
EP HZHB | % | 24.39% | 24.76% | 25.97% | 24.59% | 17.98% | 18.38% | 17.65% | 19.32% | 29.22% | 18.69% | 25.93% | 23.46% | 22.23%
EFT Stanari | MW | 13 | 11.0655 | 8.8008 | 12.5667 | 17 | 17 | 17 | 17 | 0.56667 | 13.1664 | 13 | 13 | 12.8
EFT Stanari | % | 21.84% | 19.74% | 16.42% | 20.84% | 28.71% | 29.77% | 28.58% | 31.06% | 1.571% | 22.46% | 23.63% | 22.66% | 23.01%
The table shows average capacity values presented in 1 hour.

## Deviation.analy
Table 7: Indicators of BiH deviations over the past five years
Imbalance BiH |  | Energy shortage |  |  |  |  | Energy surplus
|  | 2018 | 2019 | 2020 | 2021 | 2022 | 2018 | 2019 | 2020 | 2021 | 2022
Total | MWh | -45061.892 | -42009.929 | -29318.468 | -80435.232 | -86765.32 | 39814.041 | 38864.148 | 52586.78 | 35417.218 | 33013.971
Max. hourly | MW | -189.699 | -185.674 | -149.015 | -742.215 | -269.999 | 199.499 | 171.323 | 218.19 | 118.096 | 215.996

## Bal.market
Table 8: Report on balancing market in BiH for the year 2022
Engaged energy
|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec | 2022 | 2022/21
FCR upward | MWh | 332.305 | 243.347 | 310.176 | 319.417 | 252.932 | 284.726 | 291.058 | 278.256 | 296.44 | 270.359 | 349.366 | 356.789 | 3585.171
FCR downward | MWh | 211.8 | 279.641 | 239.244 | 258.543 | 266.766 | 195.963 | 211.022 | 210.077 | 228.757 | 307.931 | 207.863 | 187.316 | 2804.923
aFRR upward | MWh | 4819.95 | 2968.835 | 3840.36 | 3292.62 | 2858.395 | 3527.59 | 3419.66 | 2922.385 | 2312.22 | 4129.85 | 3598.37 | 2634.55 | 40324.785 | 94.43%
aFRR downward | MWh | 4619.06 | 4720.18 | 2472.745 | 5250.57 | 4803.11 | 2592.885 | 3289.185 | 2495.4 | 867.55 | 1152.105 | 2336.745 | 3748.6983 | 38348.2333 | 102.6%
mFRR upward | MWh | 756.4167 | 21.6667 | 195.3333 | 0 | 0 | 1097.9167 | 260.8333 | 455.8333 | 1153 | 1164.3333 | 2240.0833 | 2838 | 10183.4167 | 110.9%
mFRR downward | MWh | 0 | 69.1667 | 9 | 35.4167 | 14 | 0 | 0 | 0 | 190.0833 | 0 | 317.4167 | 0 | 635.0833 | 108.4%
Balancing energy upward | MWh | 3263.8487 | 3233.8487 | 4345.8693 | 3612.037 | 3111.327 | 4910.2327 | 3971.5513 | 3656.4743 | 3761.66 | 5564.5423 | 6187.8193 | 5829.339 | 51448.5497 | 99.15%
Balancing energy downward | MWh | 5068.9877 | 5068.9877 | 2720.989 | 5544.5297 | 5083.876 | 2788.848 | 3410.207 | 2705.477 | 1161.3903 | 1460.036 | 2862.0247 | 3936.0143 | 41811.3673 | 110.1%
Uzima se u obzir prekogranična razmjena sa drugim TSO za potrebe BiH |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
Balancing cost and realized average prices
|  | Jan | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2016 | 2022/21
Upward - cost | KM | 1886953.475 | 902773.5967 | 1356480.6944 | 1338598.525 | 1204616.19 | 2509624.0883 | 2259221.2517 | 2597794.5717 | 3158253.585 | 3503348.8317 | 3380594.1133 | 4492188.18 | 28590447.1028 | 294.5%
Upward - average price | KM/MWh | 319.3532 | 279.1638 | 312.131 | 370.5938 | 387.1712 | 511.1008 | 568.8511 | 710.4643 | 839.5904 | 629.5844 | 546.3304 | 770.6171 | 555.7095 | 297.1%
Downward - cost | KM/MWh | 769136.31 | 1102073.057 | 707435.0119 | 1671546.23 | 1678825.8517 | 972777.43 | 1628143.89 | 1460387.1 | 584913.7567 | 668012.09 | 983828.7183 | 1212737.15 | 13439816.5956 | 482.6%
Downward - average price | KM/MWh | 159.3147 | 212.4928 | 259.9919 | 301.4767 | 330.2256 | 348.8098 | 477.4326 | 539.7891 | 503.6324 | 457.5312 | 343.7527 | 308.113 | 321.4393 | 451.3%
Imbalance BiH
|  | Jan | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2016 | 2022/21
Shortage - total | MWh | 4281.439 | 2249.318 | 5380.222 | 2802.154 | 2342.23 | 6651.252 | 8144.439 | 8764.465 | 14232.072 | 11284.113 | 8383.111 | 12250.505 | 86765.32 | 107.9%
Shortage - max hourly | MW | 49.432 | 67.94 | 53.895 | 51.986 | 58.83 | 145.044 | 97.755 | 209.473 | 266.468 | 171.628 | 77.695 | 269.999 | 269.999 | 36.38%
Surplus - total | MWh | 2522.088 | 3807.311 | 2586.195 | 3116.448 | 3473.352 | 2719.938 | 2439.389 | 2506.034 | 2384.901 | 1008.212 | 3856.208 | 2593.895 | 33013.971 | 93.21%
Surplus - max hourly | MW | 13.373 | 39.712 | 44.883 | 43.32 | 35.953 | 53.035 | 63.767 | 62.075 | 215.996 | 86.803 | 56.612 | 51.547 | 215.996 | 182.9%
Price shortage - average | KM/MWh | 282.271 | 282.1922 | 314.4092 | 382.0528 | 386.7416 | 428.8707 | 588.5569 | 531.4644 | 510.6532 | 582.9873 | 481.2678 | 490.0303 | 439.6389 | 260.8%
Price shortage - maximum | KM/MWh | 659 | 658 | 659 | 569 | 659 | 1069.84 | 1353.43 | 2223.78 | 2043.84 | 1562.71 | 953.41 | 1615.52 | 2223.78 | 177.9%
Price surplus - average | KM/MWh | 143.8212 | 168.869 | 212.3122 | 286.3507 | 273.1042 | 301.8528 | 418.8821 | 428.6052 | 369.4944 | 443.9436 | 287.4382 | 324.5843 | 306.0134 | 392.9%
Price surplus - minimum | KM/MWh | 0 | -200 | -120 | -50 | -50 | 0 | 0 | 0 | -50 | 0 | -400 | -45 | -400 | 210.5%

## Losses-compensations
Report on transmission losses for 2022
Engaged energy
|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec | 2022 | 2022/21
Losses | MWh | 32673.665 | 26011.031 | 30689.957 | 27214.303 | 23534.807 | 25214.923 | 27718.418 | 25670.098 | 24741.248 | 24633.737 | 28048.684 | 37233.53 | 333384.401 | 90.68%
OC without measurements | MWh | 0.022233 | 0.015408 | 0.015866 | 0.008619 | 0.006272 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.068398 | 0.05542%
Reference price | KM/MWh | 109.94 | 109.94 | 109.94 | 109.94 | 109.94 | 109.94 | 109.94 | 109.94 | 109.94 | 109.94 | 109.94 | 109.94 | 109.94 | 100.5%
Cost | KM | 3826791.52 | 3279510.2 | 3358557.06 | 2925063.64 | 2474199.7 | 2453640.92 | 3055012.72 | 2916378.38 | 3116029.42 | 3169240.38 | 3552161.4 | 4523151.48 | 38649736.82 | 91.33%
Cost - losses | KM | 3826791.52 | 3279510.2 | 3358557.06 | 2925063.64 | 2474199.7 | 2453640.92 | 3055012.72 | 2916378.38 | 3116029.42 | 3169240.38 | 3552161.4 | 4523151.48 | 38649736.82 | 95.68%
Cost - losses OC | KM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
Compensations: "-" direction - acceptance, "+" direction - giving.
Table 9: Report on transmission losses and Fskar process for 2022
|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec | 2022 | 2022/21
Losses | MWh | 32673.6872 | 26011.0464 | 30689.9729 | 27214.3116 | 23534.8133 | 25214.923 | 27718.418 | 25670.098 | 24741.248 | 24633.737 | 28048.684 | 37233.53 | 333384.4694 | 90.65%
Reference price | KM/MWh | 109.94 | 109.94 | 109.94 | 109.94 | 109.94 | 109.94 | 109.94 | 109.94 | 109.94 | 109.94 | 109.94 | 109.94 | 109.94 | 100.5%
Cost | KM | 3826791.52 | 3279510.2 | 3358557.06 | 2925063.64 | 2474199.7 | 2453640.92 | 3055012.72 | 2916378.38 | 3116029.42 | 3169240.38 | 3552161.4 | 4523151.48 | 38649736.82 | 91.33%
Cost FSKar | KM | 920790.64 | -336911.51 | 1484998.43 | 30426.44 | -370206.52 | 2182775.99 | 3620526.65 | 5785860.2469 | 7899113.1887 | 3667795.4002 | 2141468.3085 | 5421266.5641 | 32447903.8284 | 352.9%
Compensations: "-" direction - acceptance, "+" direction - giving.
Тable 10: Report on cross-border balancing energy exchange for 2022
Energy engaged in BiH for other TSOs needs
|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec | 2022 | 2022/21
XB Exchange - Import | MWh | Jul: 90; Sept: 125 | 215 | 358.3%
Price Import Average | KM /MWh | Jul: 79.9934; Sept: -230.784 | -100.6911 | 67.1%
Cost Import | KM | Jul: 7199.4102; Sept: -28848 | -21648.5898 | 240.4%
XB Exchange - Export | MWh | Feb: 30 | 30 | 5.172%
Price Export Average | KM /MWh | Feb: 655.9983 | 655.9983 | 187.5%
Cost Export | KM | Feb: 19679.95 | 19679.95 | 9.699%
Engaged cross-border energy for BiH needs
XB Exchange - Import | MWh | Jun: 125; Jul: 100; Aug: 320; Sept: 1073; Oct: 560; Nov: 150; Dec: 1032 | 3360 | 149.1%
Price Import Average | KM /MWh | Jun: 1069.84; Jul: 1353.43; Aug: 1927.4097; Sept: 1541.7799; Oct: 1158.5385; Nov: 761.3473; Dec: 1312.3723 | 1386.1684 | 319.1%
Cost Import | KM | Jun: 133730; Jul: 135343; Aug: 616771.1; Sept: 1654329.8; Oct: 648781.55; Nov: 114202.1; Dec: 1354368.26 | 4657525.81 | 475.9%
XB Exchange - Export | MWh
Price Export Average | KM /MWh
Cost Export | KM

## XB_Balancing
Тable 9 : Report on cross-border balancing energy exchange for 2022
Energy engaged in BiH for other TSOs needs
|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | 2022 | 2022/21
BA --> SI | MWh | [12 empty] | 0
SI --> BA | MWh | [12 empty] | 0
BA --> HR | MWh | [12 empty] | 0
HR --> BA | MWh | Sep: 125 | 125
BA --> RS | MWh | [12 empty] | 0 | 0%
RS --> BA | MWh | [12 empty] | 0
BA --> ME | MWh | Feb: 30 | 30 | 10.71%
ME --> BA | MWh | Jul: 90 | 90
XB Exchange - Import | MWh | Jul: 90; Sep: 125 | 215 | 358.3%
Price Import Average | KM /MWh | Jul: 79.9934; Sep: -230.784 | -100.6911 | 67.1%
Cost Import | KM | Jul: 7199.4102; Sep: -28848 | -21648.5898 | 240.4%
XB Exchange - Export | MWh | Feb: 30 | 30 | 5.172%
Price Export Average | KM /MWh | Feb: 655.9983 | 655.9983 | 187.5%
Cost Export | KM | Feb: 19679.95 | 19679.95 | 9.699%
Engaged cross-border energy for BiH needs
|  | Jan | Feb | Mar | Apr | Maj | Jun | Jul | Avg | Sep | Okt | Nov | Dec | 2022 | 2022/21
BA --> SI | MWh | [12 empty] | 0
SI --> BA | MWh | Sep: 38 | 38
BA --> HR | MWh | [12 empty] | 0
HR --> BA | MWh | Jun: 125; Jul: 100; Avg: 320; Sep: 1035; Okt: 385; Nov: 50; Dec: 432 | 2447
BA --> RS | MWh | [12 empty] | 0
RS --> BA | MWh | Okt: 175; Nov: 100; Dec: 600 | 875
BA --> ME | MWh | [12 empty] | 0
ME --> BA | MWh | [12 empty] | 0
XB Exchange - Import | MWh | Jun: 125; Jul: 100; Avg: 320; Sep: 1073; Okt: 560; Nov: 150; Dec: 1032 | 3360 | 149.1%
Price Import Average | KM /MWh | Jun: 1069.84; Jul: 1353.43; Avg: 1927.4097; Sep: 1541.7799; Okt: 1158.5385; Nov: 761.3473; Dec: 1312.3723 | 1386.1684 | 319.1%
Cost Import | KM | Jun: 133730; Jul: 135343; Avg: 616771.1; Sep: 1654329.8; Okt: 648781.55; Nov: 114202.1; Dec: 1354368.26 | 4657525.81 | 475.9%
XB Exchange - Export | MWh
Price Export Average | KM /MWh
Cost Export | KM

## Saldo
Table 11: Financial balance - ancillary services and balancing energy in 2022
Control capacity
|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec | 2022 | 2022/21
aFRR - capacity | KM | -829218.2207 | -602965.6129 | -463749.5341 | -773308.3309 | -701744.3858 | -431136.3498 | -431824.9343 | -352655.7807 | -173625.2768 | -291442.245 | -352340.0882 | -399219.6922 | -5803230.4514 | 69.05%
aFRR - capacity - penalty | KM | 49039.3715 | 59281.1975 | 83399.876 | 35030.5305 | 31246.251 | 70628.79 | 81853.295 | 85766.209 | 96235.677 | 92998.4865 | 93631.8765 | 98866.6105 | 877978.171 | 173.9%
mFRR upward - capacity | KM | -262192.7025 | -310141.65 | -242012.68 | -349886.38 | -495131.29 | -640394.27 | -53206.71 | -28647.25 | -590 | -79177.62 | -414684.93 | -209752.315 | -3085817.7975 | 77.71%
mFRR upward - capacity - penalty | KM | 42649.425 | 14588.1 | 49028.4 | 10140.3 | 5913.9 | 39480.75 | 117600.3 | 123407.1 | 126828 | 111929.4 | 25208.1 | 61933.95 | 728707.725 | 234.4%
mFRR downward - capacity | KM | -68854.71 | -58005.78 | -61627.68 | -67553.16 | -72402.84 | -67738.62 | -72900.28 | -66386.72 | -37901.04 | -71200.89 | -61642.81 | -67044.42 | -773258.95 | 107.2%
mFRR upward - capacity - penalty | KM | 1323.525 | 1687.35 | 2248.26 | 1162.14 | 1372.14 | 1653.12 | 1330.98 | 2073.12 | 4826.22 | 1479.66 | 1969.17 | 1665.51 | 22791.195 | 115.9%
Total | KM | -1067253.3117 | -895556.3955 | -632713.3581 | -1144414.9004 | -1230746.2248 | -1027506.5798 | -357147.3493 | -236443.3217 | 15773.5802 | -235413.2085 | -707858.6817 | -513550.3567 | -8032830.1079 | 65.51%
Positive values ​​are invoiced by NOSBiH and paid by BSP, negative values ​​are paid by NOSBiH and invoiced by BSP
Engaged energy
|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec | 2022 | 2022/21
Upward | KM | -1886953.475 | -902773.5967 | -1356480.6944 | -1338598.525 | -1204616.19 | -2509624.0883 | -2259221.2517 | -2597794.5717 | -3158253.585 | -3503348.8317 | -3380594.1133 | -4492188.18 | -28590447.1028 | 294.5%
Downward | KM | 769136.31 | 1102073.057 | 707435.0119 | 1671546.23 | 1678825.8517 | 972777.43 | 1628143.89 | 1460387.1 | 584913.7567 | 668012.09 | 983828.7183 | 1212737.15 | 13439816.5956 | 496.9%
Total | KM | -1117817.165 | 199299.4603 | -649045.6825 | 332947.705 | 474209.6617 | -1536846.6583 | -631077.3617 | -1137407.4717 | -2573339.8283 | -2835336.7417 | -2396765.395 | -3279451.03 | -15150630.5072 | 216.4%
Positive values ​​are invoiced by NOSBiH and paid by BSP, negative values ​​are paid by NOSBiH and invoiced by BSP
Imbalance
|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec | 2022 | 2022/21
Surplus | KM | -216602.78 | -554277.13 | -677240.92 | -1861328.6 | -1717304.09 | -1210133.32 | -1364557.9613 | -1348714.108 | -526858.38 | -524026.93 | -511322.74 | -479725.81 | -10992092.7693 | 135.6%
Shortage | KM | 2978631.91 | 1790462.7 | 2882973.44 | 2036213.78 | 1498363.69 | 4745941.56 | 7159566.8873 | 7196920.2256 | 13287484.53 | 12498240.58 | 9727971.41 | 12107919.31 | 77910690.0229 | 234.5%
Total | KM | 2762029.13 | 1236185.57 | 2205732.52 | 174885.18 | -218940.4 | 3535808.24 | 5795008.9259 | 5848206.1176 | 12760626.15 | 11974213.65 | 9216648.67 | 11628193.5 | 66918597.2536 | 266.4%
Positive values ​​are invoiced by NOSBiH and paid by BSP, negative values ​​are paid by NOSBiH and invoiced by BSP
Losses and FSkar
|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec | 2022 | 2022/21
Losses |  | -3826791.52 | -3279510.2 | -3358557.06 | -2925063.64 | -2474199.7 | -2453640.92 | -3055012.72 | -2916378.38 | -3116029.42 | -3169240.38 | -3552161.4 | -4523151.48 | -38649736.82 | 90.95%
FSkar |  | -920790.64 | 336911.51 | -1484998.43 | -30426.44 | 370206.52 | -2182775.99 | -3620526.65 | -5785860.2469 | -7899113.1887 | -3667795.4002 | -2141468.3085 | -5421266.5641 | -32447903.8284 | 352.9%
Total | KM | -4747582.16 | -2942598.69 | -4843555.49 | -2955490.08 | -2103993.18 | -4636416.91 | -6675539.37 | -8702238.6269 | -11015142.6087 | -6837035.7802 | -5693629.7085 | -9944418.0441 | -71097640.6484 | 137.5%
Positive values ​​are invoiced by NOSBiH and paid by BSP, negative values ​​are paid by NOSBiH and invoiced by BSP
System service
|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec | 2022 | 2022/21
Total | KM | 5200784.1237 | 4480699.6149 | 4868392.6119 | 4241161.234 | 3891317.1263 | 3855063.1991 | 4202863.826 | 4163314.8704 | 4018404.4189 | 4299781.4195 | 4561777.1359 | 5118430.6982 | 52901990.2788 | 98.96%
Positive values ​​are invoiced by NOSBiH and paid by market participants
Balance
|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec | 2022 | 2022/21
Total | KM | 1030160.6171 | 2078029.5598 | 948810.6013 | 649089.1386 | 811846.9832 | 190101.2909 | 2334108.671 | -64568.4322 | 3206321.712 | 6366209.3391 | 4980172.0207 | 3009204.7674 | 25539486.2689 | 335.1%
Positive value - NOSBiH's surplus of assets