## 2019_Generation_GWh
ELECTRICITY GENERATION IN THE TRANSMISSION SYSTEM
GENERATION | I | II | III | IV | V | VI | VII | VIII | IX | X | XI | XII | 2019 | 2019/2018
| GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | %
HPP Jablanica | 55.9775 | 68.0349 | 64.5809 | 72.8467 | 90.3721 | 66.9205 | 37.4121 | 40.334 | 46.8901 | 55.2553 | 53.4057 | 93.6925 | 745.7225 | 93.51%
HPP Grabovica | 22.9786 | 26.9705 | 23.6061 | 27.7559 | 33.4668 | 23.5651 | 12.6711 | 13.9475 | 16.3267 | 19.8629 | 25.7685 | 34.697 | 281.6167 | 92.33%
HPP Salakovac | 28.8224 | 43.401 | 31.8798 | 45.1227 | 57.4147 | 32.2264 | 12.784 | 13.8611 | 15.402 | 19.2985 | 59.8449 | 60.9303 | 420.988 | 96.67%
HPP Višegrad | 63.682 | 95.946 | 92.712 | 93.74 | 102.514 | 94.664 | 47.336 | 41.008 | 36.718 | 18.36 | 76.468 | 94.846 | 857.994 | 74.42%
HPP Trebinje 1 | 12.6641 | 10.7336 | 19.44 | 13.2312 | 17.7964 | 36.3264 | 33.5461 | 51.7705 | 31.3414 | 45.4666 | 29.7422 | 56.7889 | 358.8474 | 68.13%
HPP Trebinje 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
HPP Dubrovnik (G2) | 21.7955 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.7955 | 2.883%
HPP Bočac | 15.6314 | 35.4506 | 33.1386 | 29.6432 | 47.4015 | 39.0882 | 17.1847 | 11.4599 | 9.3268 | 8.4381 | 15.9182 | 26.7208 | 289.4021 | 103.7%
HPP Dub | 3.2955 | 8.4676 | 9.7137 | 8.9042 | 11.2081 | 8.3216 | 3.8435 | 2.8119 | 1.4942 | 1.2421 | 1.6241 | 2.5842 | 63.511 | 120.8%
HPP Rama | 79.4956 | 43.9992 | 44.4776 | 39.1725 | 40.9822 | 69.4779 | 60.0504 | 59.8916 | 67.3689 | 90.1419 | 59.7029 | 84.3392 | 739.0999 | 101.2%
HPP Mostar | 17.9439 | 24.4727 | 19.3176 | 26.394 | 31.9412 | 19.4089 | 9.9756 | 10.3236 | 11.0378 | 12.7259 | 27.6463 | 30.9092 | 242.0967 | 96.81%
HPP Jajce 1 | 16.7112 | 29.2578 | 32.7272 | 30.3963 | 38.6749 | 33.3973 | 17.8664 | 10.7783 | 8.0009 | 6.4509 | 20.4138 | 29.9033 | 274.5784 | 103.7%
HPP Jajce 2 | 5.4991 | 7.3341 | 9.1262 | 8.7213 | 9.4063 | 8.3977 | 6.0508 | 4.4045 | 3.6733 | 3.4663 | 6.8533 | 9.5583 | 82.4912 | 107.5%
PSHPP Čapljina | 23.1531 | 57.6402 | 68.0444 | 57.729 | 54.5501 | 77.1015 | 71.6282 | 81.5119 | 50.9245 | 87.834 | 150.2744 | 164.2258 | 944.617 | 215.9%
HPP Peć-Mlini | 9.7544 | 13.8915 | 5.4119 | 8.1266 | 11.0975 | 7.3905 | 1.8728 | 0.50648 | 0.099858 | 0.011517 | 10.1359 | 16.8664 | 85.1655 | 101.8%
HPP Mostarsko Blato | 8.2326 | 21.562 | 3.7624 | 12.4683 | 16.8496 | 8.2619 | 0.42944 | 0 | 0 | 0 | 27.7284 | 37.1103 | 136.4048 | 126.2%
HYDRO POWER PLANTS | 385.637 | 487.1615 | 457.9386 | 474.252 | 563.6754 | 524.5479 | 332.6513 | 342.6093 | 298.6045 | 368.5542 | 565.5268 | 743.1721 | 5544.3307 | 88.62%
TPP Tuzla | 255.6551 | 167.3093 | 235.1068 | 173.234 | 174.5265 | 171.1534 | 260.2204 | 255.3864 | 225.2577 | 214.5235 | 239.5516 | 240.5521 | 2612.4768 | 86.25%
TPP Kakanj | 225.0529 | 217.239 | 162.27 | 135.4937 | 54.0368 | 136.0712 | 180.0035 | 228.7141 | 126.605 | 149.4799 | 71.6602 | 139.4059 | 1826.0321 | 72.6%
TPP Ugljevik | 134.661 | 126.531 | 146.205 | 162.0254 | 148.1156 | 133.47 | 155.4216 | 130.0324 | 131.3 | 54.6816 | 173.3402 | 151.428 | 1647.2118 | 93.33%
TPP Gacko | 154.3968 | 133.8306 | 138.3138 | 0 | 0 | 27.018 | 158.027 | 162.6068 | 150.9692 | 135.0472 | 147.523 | 162.4156 | 1370.148 | 92.29%
TPP Stanari | 179.3114 | 184.8281 | 155.3934 | 27.4996 | 203.4938 | 194.5337 | 199.8433 | 197.9964 | 179.3583 | 144.8016 | 197.1289 | 204.1309 | 2068.3194 | 100.6%
THERMAL POWER PLANTS | 949.0772 | 829.738 | 837.2889 | 498.2527 | 580.1726 | 662.2462 | 953.5158 | 974.7362 | 813.4902 | 698.5338 | 829.2039 | 897.9325 | 9524.1881 | 87.78%
WPP Mesihovina | 19.3401 | 19.0527 | 19.1473 | 13.3679 | 14.7021 | 9.2101 | 10.1143 | 6.2551 | 9.7109 | 7.3931 | 18.6182 | 19.0708 | 165.9825 | 160.4%
WPP Jelovača | 0.90268 | 3.1694 | 6.0202 | 8.3496 | 9.5726 | 6.6776 | 6.8059 | 5.0231 | 7.5793 | 6.2816 | 15.3446 | 11.9622 | 87.6889
WIND POWER PLANT | 20.2428 | 22.2221 | 25.1674 | 21.7175 | 24.2747 | 15.8878 | 16.9202 | 11.2782 | 17.2903 | 13.6747 | 33.9628 | 31.033 | 253.6714 | 245.1%
GENERATION | 1354.957 | 1339.1217 | 1320.3949 | 994.2222 | 1168.1227 | 1202.6819 | 1303.0872 | 1328.6237 | 1129.385 | 1080.7627 | 1428.6935 | 1672.1376 | 15322.1902 | 89.03%

## 2019_Consumption_GWh
ELECTRICITY CONSUMPTION IN THE TRANSMISSION SYSTEM
CONSUMPTION | I | II | III | IV | V | VI | VII | VIII | IX | X | XI | XII | 2019 | 2019/2018
| GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | %
Take over from the transmission system | 1183.6432 | 998.5607 | 1033.7737 | 949.5116 | 958.9403 | 901.9949 | 888.0341 | 881.3016 | 816.9699 | 896.1893 | 898.2304 | 1031.5184 | 11438.6681 | 92.76%
Distribution | 428.7039 | 358.9209 | 362.4401 | 340.7218 | 344.8095 | 320.4729 | 337.7439 | 350.8475 | 333.5243 | 364.5859 | 362.8674 | 414.0345 | 4319.6727 | 101.6%
Directy connected consumers | 46.5262 | 45.4249 | 45.8762 | 41.4259 | 43.8636 | 36.3284 | 42.789 | 41.5297 | 37.7861 | 38.4132 | 41.7397 | 50.2802 | 511.9832 | 104.2%
PP - own consumption | 7.249 | 6.1795 | 6.1725 | 5.3293 | 3.7946 | 5.63 | 6.335 | 7.2167 | 5.4072 | 6.0765 | 4.314 | 6.0732 | 69.7775 | 69.72%
EPBiH | 482.4792 | 410.5252 | 414.4888 | 387.477 | 392.4678 | 362.4314 | 386.8679 | 399.594 | 376.7176 | 409.0756 | 408.921 | 470.3879 | 4901.4334 | 101.2%
Distribution | 403.411 | 342.6811 | 334.8589 | 308.8997 | 309.8047 | 284.516 | 303.0439 | 316.8349 | 297.69 | 328.131 | 338.2807 | 391.5638 | 3959.7155 | 99.08%
Directy connected consumers | 29.2132 | 27.9706 | 32.7298 | 36.1719 | 37.4237 | 35.6868 | 36.9692 | 36.8121 | 35.4716 | 36.5212 | 35.9816 | 36.7982 | 417.7499 | 99.11%
PP - own consumption | 1.5155 | 0.81872 | 1.4394 | 2.5441 | 1.3076 | 1.8886 | 0.55774 | 0.95603 | 0.83607 | 2.6044 | 0.68622 | 1.2191 | 16.3735 | 97.16%
ERS | 434.1397 | 371.4704 | 369.0281 | 347.6157 | 348.536 | 322.0913 | 340.5708 | 354.603 | 333.9976 | 367.2567 | 374.9486 | 429.5811 | 4393.839 | 99.08%
Distribution | 143.7738 | 116.5347 | 114.5653 | 105.082 | 106.9825 | 104.8569 | 115.4396 | 120.7689 | 104.1472 | 112.2996 | 112.3761 | 129.8248 | 1386.6513 | 97.79%
Directy connected consumers | 106.5693 | 95.9036 | 105.4825 | 101.5666 | 105.5078 | 54.2916 | 0.37899 | 0.33755 | 0.36425 | 0.33909 | 0.34531 | 0.3208 | 571.4075 | 13597%
PP - own consumption | 0.60881 | 0.5475 | 0.48913 | 0.44705 | 0.53055 | 0.68739 | 0.80858 | 0.95155 | 0.94541 | 0.67192 | 1.115 | 0.86026 | 8.6631 | 112.3%
Pumping regime - PHE Čapljina | 16.0724 | 3.5793 | 29.7199 | 7.3232 | 4.9157 | 10.4411 | 13.5544 | 4.5185 | 0.23946 | 5.9192 | 0 | 0 | 96.2832 | 70.06%
EPHZHB | 267.0243 | 216.5651 | 250.2568 | 214.4188 | 217.9366 | 170.2771 | 130.1816 | 126.5765 | 105.6963 | 119.2298 | 113.8364 | 131.0059 | 2063.0052 | 131.6%
Distribution | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Directy connected consumers | 0 | 0 | 0 | 0 | 0 | 47.1951 | 30.4137 | 0.52818 | 0.55835 | 0.62724 | 0.52441 | 0.54355 | 80.3906 | 5.407%
PP - own consumption | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LE Trading | 0 | 0 | 0 | 0 | 0 | 47.1951 | 30.4137 | 0.52818 | 0.55835 | 0.62724 | 0.52441 | 0.54355 | 80.3906 | 5.407%

## Nominated_exchange
NOMINATED SCHEDULE EXCHANGE BETWEEN BIH AND NEIGHBOURING POWER SYSTEMS
NOMINATED EXCHANGE |  | I | II | III | IV | V | VI | VII | VIII | IX | X | XI | XII | 2019
|  | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh
| BiH <-- HR (HEP-OPS) | 424.324 | 206.456 | 240.227 | 322.833 | 262.292 | 267.27 | 134.125 | 146.644 | 181.535 | 275.475 | 169.528 | 194.484 | 2825.193
| BiH <-- SR (EMS) | 114.483 | 109.262 | 250.173 | 265.281 | 114.03 | 166.161 | 142.907 | 64.587 | 60.524 | 114.625 | 90.896 | 28.21 | 1521.139
| BiH <-- CG (EPCG) | 33.03 | 42.765 | 59.54 | 19.687 | 59.626 | 50.078 | 31.353 | 52.127 | 37.598 | 12.4 | 47.412 | 87.295 | 532.911
(1) | Import BiH | 571.837 | 359.443 | 549.94 | 607.801 | 435.948 | 483.509 | 308.385 | 263.358 | 279.657 | 402.5 | 307.836 | 309.989 | 4880.203
| BiH --> HR (HEP-OPS) | 283.933 | 343.57 | 398.008 | 287.637 | 269.186 | 366.566 | 238.818 | 269.063 | 207.122 | 208.182 | 295.863 | 356.986 | 3524.934
| BiH --> SR (EMS) | 259.836 | 222.599 | 271.658 | 157.696 | 207.101 | 257.173 | 294.51 | 220.914 | 154.262 | 151.477 | 342.231 | 400.628 | 2940.085
| BiH --> CG (EPCG) | 171.696 | 117.095 | 165.951 | 211.316 | 178.179 | 154.592 | 173.34 | 204.327 | 215.201 | 209.258 | 182.766 | 177.068 | 2160.789
(2) | Export BiH | 715.465 | 683.264 | 835.617 | 656.649 | 654.466 | 778.331 | 706.668 | 694.304 | 576.585 | 568.917 | 820.86 | 934.682 | 8625.808
(3) | Balance BIH (2) - (1) | 143.628 | 323.821 | 285.677 | 48.848 | 218.518 | 294.822 | 398.283 | 430.946 | 296.928 | 166.417 | 513.024 | 624.693 | 3745.605
| Balance HR (HEP-OPS) | -140.391 | 137.114 | 157.781 | -35.196 | 6.894 | 99.296 | 104.693 | 122.419 | 25.587 | -67.293 | 126.335 | 162.502 | 699.741
| Balance SR (EMS) | 145.353 | 113.337 | 21.485 | -107.585 | 93.071 | 91.012 | 151.603 | 156.327 | 93.738 | 36.852 | 251.335 | 372.418 | 1418.946
| Balance CG (EPCG) | 138.666 | 74.33 | 106.411 | 191.629 | 118.553 | 104.514 | 141.987 | 152.2 | 177.603 | 196.858 | 135.354 | 89.773 | 1627.878
| Transit | 309.66 | 183.411 | 290.913 | 227.5 | 183.98 | 217.27 | 246.08 | 231.707 | 174.732 | 194.441 | 223.379 | 263.795 | 2746.868
Domestic trade

## Physical_exchange
PHYSICAL EXCHANGE WITH NEIGHBOURING POWER SYSTEMS
PHYSICAL FLOWS |  | I | II | III | IV | V | VI | VII | VIII | IX | X | XI | XII | 2019
|  | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh
| BiH <-- HR (HEP-OPS) | 223.2177 | 65.5035 | 74.5714 | 172.4281 | 147.0678 | 97.2168 | 127.7401 | 169.3969 | 211.5686 | 200.1228 | 158.7217 | 161.0066 | 1808.562
| BiH<-SR (EMS) | 68.2588 | 73.016 | 261.9869 | 113.1102 | 50.8045 | 56.7148 | 33.9232 | 27.007 | 25.5922 | 87.7532 | 14.9949 | 8.4231 | 821.5846
| BiH<-CG (EPCG) | 29.5525 | 27.3779 | 26.3944 | 7.4774 | 13.2973 | 24.843 | 14.7257 | 17.8753 | 14.0275 | 7.6984 | 7.5422 | 3.9991 | 194.8107
(1) | Import BiH | 321.029 | 165.8974 | 362.9526 | 293.0157 | 211.1695 | 178.7745 | 176.389 | 214.2792 | 251.1883 | 295.5744 | 181.2588 | 173.4289 | 2824.9573
| BiH --> HR (HOPS) | 167.8834 | 332.66 | 482.638 | 133.837 | 155.9469 | 246.2139 | 248.1849 | 259.7309 | 168.9892 | 164.2148 | 214.8693 | 192.2401 | 2767.4083
| BiH --> SR (EMS) | 64.6706 | 38.1251 | 25.6232 | 55.43 | 104.056 | 74.2339 | 87.9875 | 93.6384 | 113.8657 | 57.3138 | 163.0793 | 206.8898 | 1084.9133
| BiH --> CG (CGES) | 229.2443 | 120.7393 | 137.7159 | 153.6724 | 170.0463 | 154.5193 | 237.872 | 290.7115 | 262.5919 | 237.7505 | 319.9585 | 397.5659 | 2712.3878
(2) | Outside flows | 461.7983 | 491.5244 | 645.9771 | 342.9394 | 430.0492 | 474.9671 | 574.0445 | 644.0808 | 545.4467 | 459.2791 | 697.9072 | 796.6957 | 6564.7095
(3) | Balance (2) - (1) | 140.7693 | 325.627 | 283.0245 | 49.9237 | 218.8797 | 296.1926 | 397.6555 | 429.8016 | 294.2585 | 163.7047 | 516.6483 | 623.2669 | 3739.7522
| Balance HR (HOPS) | -55.3343 | 267.1564 | 408.0667 | -38.5911 | 8.8791 | 148.9971 | 120.4448 | 90.3339 | -42.5794 | -35.908 | 56.1476 | 31.2335 | 958.8464
| Balance SR (EMS) | -3.5882 | -34.8909 | -236.3637 | -57.6801 | 53.2515 | 17.5192 | 54.0643 | 66.6314 | 88.2735 | -30.4394 | 148.0844 | 198.4667 | 263.3287
| Balance CG (CGES) | 199.6918 | 93.3614 | 111.3215 | 146.195 | 156.7491 | 129.6763 | 223.1464 | 272.8362 | 248.5643 | 230.0521 | 312.4163 | 393.5668 | 2517.5771

## Deviation_2019
Deviation of BiH power system toward the interconnection in 2019
| Deviation - Power deficit |  |  | Deviation -Power surplus |  |  | Deviation - TOTAL
| Max. hourly | Average | Total | Max. hourly | Average | Total | Max. hourly | Average | Total
Month | MWh/h | MWh/h | MWh | MWh/h | MWh/h | MWh | MWh/h | MWh/h | MWh
January | -59.985 | -9.873 | -4067.671 | 67.995 | 8.3885 | 2784.987 | 67.995 | -1.724 | -1282.684
February | -63.396 | -7.9068 | -2261.352 | 84.007 | 10.6487 | 4121.047 | 84.007 | 2.7633 | 1859.695
March | -64.905 | -11.0931 | -4159.924 | 50.524 | 9.057 | 3314.848 | -64.905 | -1.1249 | -845.076
April | -185.674 | -9.5175 | -2836.217 | 51.811 | 7.7083 | 3252.92 | -185.674 | 0.57875 | 416.703
May | -44.14 | -10.0268 | -3128.355 | 61.352 | 7.6391 | 3300.089 | 61.352 | 0.23083 | 171.734
June | -97.53 | -11.4529 | -2485.286 | 84.002 | 9.6299 | 4843.854 | -97.53 | 3.2758 | 2358.568
July | -52.714 | -8.5854 | -2395.321 | 74.431 | 9.4642 | 4400.836 | 74.431 | 2.6956 | 2005.515
August | -85.339 | -9.0365 | -3253.124 | 64.236 | 8.5044 | 3265.687 | -85.339 | 0.016886 | 12.563
September | -70.591 | -10.5283 | -4390.307 | 171.323 | 7.7154 | 2337.772 | 171.323 | -2.8507 | -2052.535
October | -86.769 | -12.0034 | -5917.673 | 44.285 | 7.321 | 1844.903 | -86.769 | -5.4414 | -4072.77
November | -56.282 | -8.4975 | -3118.599 | 60.915 | 9.3812 | 3320.942 | 60.915 | 0.28103 | 202.343
December | -110.885 | -10.094 | -4007.323 | 39.277 | 5.9746 | 2073.181 | -110.885 | -2.5997 | -1934.142
2019 | -185.674 | -9.8545 | -42009.929 | 171.323 | 8.4598 | 38864.148 | -185.674 | -0.35911 | -3160.086

## Consumption_Statistics_2019
Data on specific hourly and daily consumption in 2019
|  | MAX. HOURLY LOAD |  |  | MIN. HOURLY LOAD |  |  | MAX DAILY CONSUMPTION |  | MIN DAILY CONSUMPTION
|  | MWh/h | DAY | HOUR | MWh/h | DAY | HOUR | MWh | DAY | MWh | DAY
I | January | 1944.613 | 2019-01-05 | 18 | 1022.531 | 2019-01-02 | 4 | 38951.107 | 2019-01-05 | 32477.916 | 2019-01-01
II | February | 1823.629 | 2019-02-13 | 19 | 976.055 | 2019-02-03 | 5 | 36919.652 | 2019-02-13 | 33108.115 | 2019-02-03
III | March | 1695.896 | 2019-03-14 | 20 | 895.458 | 2019-03-11 | 4 | 34429.583 | 2019-03-26 | 28793.192 | 2019-03-31
IV | April | 1649.447 | 2019-04-16 | 21 | 860.749 | 2019-04-29 | 4 | 33360.186 | 2019-04-13 | 27853.818 | 2019-04-28
V | May | 1609.545 | 2019-05-07 | 21 | 838.212 | 2019-05-26 | 6 | 33188.615 | 2019-05-15 | 27692.932 | 2019-05-01
VI | June | 1585.539 | 2019-06-27 | 15 | 826.843 | 2019-06-17 | 4 | 31532.941 | 2019-06-27 | 27113.042 | 2019-06-30
VII | July | 1581.212 | 2019-07-02 | 15 | 709.081 | 2019-07-14 | 6 | 31682.421 | 2019-07-03 | 23720.593 | 2019-07-14
VIII | August | 1552.665 | 2019-08-10 | 15 | 738.44 | 2019-08-05 | 4 | 30602.386 | 2019-08-10 | 24579.06 | 2019-08-04
IX | September | 1451.512 | 2019-09-20 | 20 | 714.267 | 2019-09-30 | 4 | 28078.597 | 2019-09-20 | 24794.916 | 2019-09-29
X | October | 1611.495 | 2019-10-31 | 18 | 731.786 | 2019-10-03 | 4 | 31406.725 | 2019-10-31 | 26196.37 | 2019-10-13
XI | November | 1621.819 | 2019-11-27 | 18 | 775.797 | 2019-11-04 | 4 | 31704.616 | 2019-11-27 | 27604.838 | 2019-11-10
XII | December | 1826.771 | 2019-12-31 | 18 | 846.259 | 2019-12-02 | 4 | 35280.559 | 2019-12-30 | 29643.795 | 2019-12-22
Specific values of electricity consumption in 2019
|  | Max hourly consumption |  |  | Min hourly cosumption |  |  | Max daily consumption |  | Min daily consumption
|  | MWh | Day | Hour | MWh | Day | Hour | MWh | Day | MWh | Day
|  | 1944.613 | 2019-01-05 | 18:00 | 709.081 | 2019-07-14 | 6:00 | 38951.107 | 2019-01-05 | 23720.593 | 2019-07-14

## Consumption_2019
Data on specific hourly and daily consumption in 2019
| Max.hourly consumption |  |  | Min.hourly consumption |  |  | Max.daily consumption |  | Min.daily consumption
Month | MWh/h | Day | Hour | MWh/h | Day | Hour | MWh | Day | MWh | Day
January | 1944.613 | 2019-01-05 | 18 | 1022.531 | 2019-01-02 | 4 | 38951.107 | 2019-01-05 | 32477.916 | 2019-01-01
February | 1823.629 | 2019-02-13 | 19 | 976.055 | 2019-02-03 | 5 | 36919.652 | 2019-02-13 | 33108.115 | 2019-02-03
March | 1695.896 | 2019-03-14 | 20 | 895.458 | 2019-03-11 | 4 | 34429.583 | 2019-03-26 | 28793.192 | 2019-03-31
April | 1649.447 | 2019-04-16 | 21 | 860.749 | 2019-04-29 | 4 | 33360.186 | 2019-04-13 | 27853.818 | 2019-04-28
May | 1609.545 | 2019-05-07 | 21 | 838.212 | 2019-05-26 | 6 | 33188.615 | 2019-05-15 | 27692.932 | 2019-05-01
June | 1585.539 | 2019-06-27 | 15 | 826.843 | 2019-06-17 | 4 | 31532.941 | 2019-06-27 | 27113.042 | 2019-06-30
July | 1581.212 | 2019-07-02 | 15 | 709.081 | 2019-07-14 | 6 | 31682.421 | 2019-07-03 | 23720.593 | 2019-07-14
August | 1552.665 | 2019-08-10 | 15 | 738.44 | 2019-08-05 | 4 | 30602.386 | 2019-08-10 | 24579.06 | 2019-08-04
September | 1451.512 | 2019-09-20 | 20 | 714.267 | 2019-09-30 | 4 | 28078.597 | 2019-09-20 | 24794.916 | 2019-09-29
October | 1611.495 | 2019-10-31 | 18 | 731.786 | 2019-10-03 | 4 | 31406.725 | 2019-10-31 | 26196.37 | 2019-10-13
November | 1621.819 | 2019-11-27 | 18 | 775.797 | 2019-11-04 | 4 | 31704.616 | 2019-11-27 | 27604.838 | 2019-11-10
December | 1826.771 | 2019-12-31 | 18 | 846.259 | 2019-12-02 | 4 | 35280.559 | 2019-12-30 | 29643.795 | 2019-12-22
2019 | 1944.613 | 2019-01-05 | 18 | 709.081 | 2019-07-14 | 6 | 38951.107 | 2019-01-05 | 23720.593 | 2019-07-14

## 2019_GWh
BALANCE OF ELECTRICITY IN THE TRANSMISSION SYSTEM
|  | I | II | III | IV | V | VI | VII | VIII | IX | X | XI | XII | 2019 | 2019/2018
|  | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | %
Electricity generation in the transmission system
(1) | HPP | 385.637 | 487.1615 | 457.9386 | 474.252 | 563.6754 | 524.5479 | 332.6513 | 342.6093 | 298.6045 | 368.5542 | 565.5268 | 743.1721 | 5544.3307 | 88.62%
(2) | TPP | 949.0772 | 829.738 | 837.2889 | 498.2527 | 580.1726 | 662.2462 | 953.5158 | 974.7362 | 813.4902 | 698.5338 | 829.2039 | 897.9325 | 9524.1881 | 87.78%
(3) | WPP | 20.2428 | 22.2221 | 25.1674 | 21.7175 | 24.2747 | 15.8878 | 16.9202 | 11.2782 | 17.2903 | 13.6747 | 33.9628 | 31.033 | 253.6714 | 245.1%
(4) | Generation TOTAL (1+2+3) | 1354.957 | 1339.1217 | 1320.3949 | 994.2222 | 1168.1227 | 1202.6819 | 1303.0872 | 1328.6237 | 1129.385 | 1080.7627 | 1428.6935 | 1672.1376 | 15322.1902 | 89.03%
(5) | Enegy received from the distrib. system | 4.6996 | 15.9798 | 26.4642 | 29.7621 | 33.96 | 18.0743 | 6.4208 | 7.6465 | 3.6376 | 4.134 | 13.3646 | 16.0364 | 180.18 | 143%
Electricity import from the neighbouring power systems
(6) | from EES Croatia | 223.2177 | 65.5035 | 74.5714 | 172.4281 | 147.0678 | 97.2168 | 127.7401 | 169.3969 | 211.5686 | 200.1228 | 158.7217 | 161.0066 | 1808.562 | 183.4%
(7) | from EES Serbia | 68.2588 | 73.016 | 261.9869 | 113.1102 | 50.8045 | 56.7148 | 33.9232 | 27.007 | 25.5922 | 87.7532 | 14.9949 | 8.4231 | 821.5846 | 81.94%
(8) | from EES Montenegro | 29.5525 | 27.3779 | 26.3944 | 7.4774 | 13.2973 | 24.843 | 14.7257 | 17.8753 | 14.0275 | 7.6984 | 7.5422 | 3.9991 | 194.8107 | 17.66%
(9) | Import TOTAL (6..8) | 321.029 | 165.8974 | 362.9526 | 293.0157 | 211.1695 | 178.7745 | 176.389 | 214.2792 | 251.1883 | 295.5744 | 181.2588 | 173.4289 | 2824.9573 | 91.37%
(10) | AVAILABLE ENERGY (3+4+8) | 1680.6856 | 1520.9989 | 1709.8118 | 1317 | 1413.2522 | 1399.5308 | 1485.897 | 1550.5494 | 1384.2108 | 1380.4711 | 1623.3169 | 1861.6029 | 18327.3274 | 89.72%
Takeover of electricity from the transmission system
(11) | Distribution companies | 975.8887 | 818.1366 | 811.8643 | 754.7035 | 761.5968 | 709.8458 | 756.2274 | 788.4513 | 735.3615 | 805.0164 | 813.5242 | 935.423 | 9666.0395 | 100%
(12) | Directy connected consumers * | 182.3087 | 169.2991 | 184.0885 | 179.1644 | 186.7951 | 173.502 | 110.551 | 79.2075 | 74.1803 | 75.9007 | 78.5911 | 87.9427 | 1581.5312 | 65.79%
(13) | Power plants own consumption | 9.3733 | 7.5457 | 8.101 | 8.3205 | 5.6328 | 8.206 | 7.7013 | 9.1243 | 7.1886 | 9.3529 | 6.1152 | 8.1526 | 94.8142 | 76.06%
(14) | Takeover TOTAL (11+12+13) | 1167.5708 | 994.9814 | 1004.0538 | 942.1883 | 954.0247 | 891.5538 | 874.4796 | 876.7831 | 816.7305 | 890.2701 | 898.2304 | 1031.5184 | 11342.3849 | 93.02%
Electricity Export to the neighbouring power systems
(15) | for EES Croatia | 167.8834 | 332.66 | 482.638 | 133.837 | 155.9469 | 246.2139 | 248.1849 | 259.7309 | 168.9892 | 164.2148 | 214.8693 | 192.2401 | 2767.4083 | 46.41%
(16) | for EES Serbia | 64.6706 | 38.1251 | 25.6232 | 55.43 | 104.056 | 74.2339 | 87.9875 | 93.6384 | 113.8657 | 57.3138 | 163.0793 | 206.8898 | 1084.9133 | 222%
(17) | for EES Montenegro | 229.2443 | 120.7393 | 137.7159 | 153.6724 | 170.0463 | 154.5193 | 237.872 | 290.7115 | 262.5919 | 237.7505 | 319.9585 | 397.5659 | 2712.3878 | 217.7%
(18) | Export TOTAL(15..18) | 461.7983 | 491.5244 | 645.9771 | 342.9394 | 430.0492 | 474.9671 | 574.0445 | 644.0808 | 545.4467 | 459.2791 | 697.9072 | 796.6957 | 6564.7095 | 85.28%
(19) | Pumping | 16.0724 | 3.5793 | 29.7199 | 7.3232 | 4.9157 | 10.4411 | 13.5544 | 4.5185 | 0.23946 | 5.9192 | 0 | 0 | 96.2832 | 70.06%
(20) | REQUIRED POWER (14+18+19) | 1645.4415 | 1490.0851 | 1679.7508 | 1292.4509 | 1388.9896 | 1376.962 | 1462.0786 | 1525.3824 | 1362.4167 | 1355.4684 | 1596.1376 | 1828.2141 | 18003.3776 | 89.89%
Transmission losses
(21) | Transmission losses (10-20) | 35.2441 | 30.9138 | 30.061 | 24.5491 | 24.2627 | 22.5688 | 23.8185 | 25.167 | 21.7942 | 25.0027 | 27.1793 | 33.3888 | 323.9498 | 81.24%
(22) | In relation to available power (21)/(10) | 2.097% | 2.032% | 1.758% | 1.864% | 1.717% | 1.613% | 1.603% | 1.623% | 1.574% | 1.811% | 1.674% | 1.794% | 1.768%

## Consumption_days_2019
Diagram of consumption for days in a month with max hourly consumption
MWh
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | ∑
January | 2019-01-05 | 1355.324 | 1248.861 | 1191.553 | 1167.612 | 1168.863 | 1222.872 | 1335.744 | 1509.407 | 1685.13 | 1800.904 | 1832.913 | 1826.599 | 1803.718 | 1857.145 | 1843.435 | 1829.31 | 1883.449 | 1944.613 | 1902.508 | 1862.999 | 1817.231 | 1729.199 | 1636.101 | 1495.617 | 38951.107
February | 2019-02-13 | 1228.036 | 1129.953 | 1087.47 | 1071.261 | 1090.202 | 1185.405 | 1387.979 | 1601.819 | 1714.713 | 1736.404 | 1715.908 | 1707.69 | 1692.965 | 1729.425 | 1720.116 | 1681.389 | 1669.403 | 1787.492 | 1823.629 | 1789.559 | 1746.274 | 1666.451 | 1562.091 | 1394.018 | 36919.652
March | 2019-03-14 | 1139.248 | 1058.649 | 1018.312 | 1001.287 | 1017.838 | 1110.325 | 1278.312 | 1491.668 | 1602.102 | 1606.527 | 1573.824 | 1553.403 | 1530.253 | 1572.294 | 1556.016 | 1535.614 | 1496.138 | 1539.675 | 1685.959 | 1695.896 | 1640.347 | 1551.432 | 1436.256 | 1286.205 | 33977.58
April | 2019-04-16 | 1139.509 | 1043.618 | 997.703 | 980.796 | 999.595 | 1087.22 | 1246.565 | 1474.442 | 1555.52 | 1560.548 | 1521.638 | 1498.408 | 1469.349 | 1459.098 | 1489.717 | 1471.438 | 1432.658 | 1390.527 | 1390.436 | 1514.895 | 1649.447 | 1586.011 | 1427.256 | 1287.159 | 32673.553
May | 2019-05-07 | 1127.191 | 1038.991 | 1033.444 | 1016.876 | 976.648 | 1016.67 | 1179.468 | 1414.929 | 1529.292 | 1566.747 | 1562.181 | 1546.199 | 1522.439 | 1505.493 | 1523.446 | 1497.003 | 1455.114 | 1420.792 | 1447.542 | 1558.759 | 1609.545 | 1594.669 | 1454.109 | 1323.23 | 32920.777
June | 2019-06-27 | 1080.434 | 987.88 | 942.074 | 920.818 | 922.818 | 943.401 | 1068.5 | 1274.215 | 1399.342 | 1458.287 | 1476.053 | 1515.236 | 1533.507 | 1547.089 | 1585.539 | 1555.683 | 1509.682 | 1452.846 | 1404.651 | 1388.675 | 1418.007 | 1500.789 | 1392.072 | 1255.343 | 31532.941
July | 2019-07-02 | 1089.045 | 980.771 | 928.794 | 919.244 | 924.134 | 936.125 | 1065.752 | 1272.567 | 1385.612 | 1454.755 | 1481.659 | 1523.77 | 1547.475 | 1555.626 | 1581.212 | 1556.895 | 1516.406 | 1457.333 | 1422.933 | 1398.813 | 1421.881 | 1500.764 | 1397.995 | 1254.496 | 31574.057
August | 2019-08-10 | 1017.342 | 912.15 | 866.837 | 844.968 | 846.218 | 865.321 | 936.92 | 1133.653 | 1299.172 | 1408.887 | 1465.876 | 1512.518 | 1535.674 | 1524.553 | 1552.665 | 1516.411 | 1488.162 | 1437.659 | 1412.029 | 1404.488 | 1498.353 | 1515.788 | 1379.207 | 1227.535 | 30602.386
September | 2019-09-20 | 913.409 | 836.286 | 801.035 | 800.147 | 810.891 | 875.039 | 1017.18 | 1226.827 | 1313.105 | 1333.457 | 1324.192 | 1320 | 1310.252 | 1297.837 | 1332.475 | 1316.006 | 1292.556 | 1252.39 | 1277.708 | 1451.512 | 1430.084 | 1322.652 | 1172.132 | 1051.425 | 28078.597
October | 2019-10-31 | 982.509 | 902.256 | 861.673 | 853.82 | 864.94 | 967.112 | 1158.27 | 1360.249 | 1465.797 | 1489.11 | 1470.682 | 1469.586 | 1464.488 | 1508.158 | 1519.612 | 1499.641 | 1526.864 | 1611.495 | 1575.266 | 1532.955 | 1480.32 | 1408.912 | 1297.047 | 1135.963 | 31406.725
November | 2019-11-27 | 1015.74 | 931.189 | 884.649 | 866.563 | 883.498 | 973.444 | 1172.028 | 1379.299 | 1492.722 | 1514.007 | 1496.055 | 1486.554 | 1477.434 | 1521.43 | 1518.074 | 1523.895 | 1602.277 | 1621.819 | 1564.154 | 1517.736 | 1471.744 | 1393.228 | 1277.311 | 1119.766 | 31704.616
December | 2019-12-31 | 1234.745 | 1094.423 | 1025.239 | 1000.048 | 1002.353 | 1075.3 | 1258.863 | 1461.576 | 1612.397 | 1700.797 | 1698.231 | 1667.368 | 1627.617 | 1666.157 | 1676.38 | 1689.243 | 1766.457 | 1826.771 | 1765.133 | 1672.281 | 1539.147 | 1415.531 | 1348.434 | 1283.484 | 35107.975
Diagram of consumption for days in a month with min hourly consumption
MWh
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | ∑
January | 2019-01-02 | 1195.272 | 1100.664 | 1052.175 | 1022.531 | 1023.768 | 1070.043 | 1170.123 | 1295.086 | 1458.601 | 1585.567 | 1630.827 | 1641.199 | 1623.625 | 1657.095 | 1640.853 | 1625.102 | 1680.814 | 1741.751 | 1705.887 | 1678.271 | 1641.247 | 1593.203 | 1526.319 | 1390.081 | 34750.104
February | 2019-02-03 | 1149.272 | 1053.613 | 1000.798 | 977.472 | 976.055 | 1002.646 | 1069.297 | 1188.55 | 1361.561 | 1505.265 | 1582.731 | 1621.336 | 1614.462 | 1584.281 | 1539.071 | 1490.872 | 1510.912 | 1663.283 | 1696.471 | 1662.239 | 1629.212 | 1557.115 | 1416.747 | 1254.854 | 33108.115
March | 2019-03-11 | 996.553 | 937.975 | 909.475 | 895.458 | 922.579 | 1010.48 | 1181.664 | 1409.17 | 1523.137 | 1567.589 | 1570.33 | 1574.874 | 1578.182 | 1623.238 | 1623.762 | 1599.196 | 1581.143 | 1606.329 | 1656.038 | 1635.973 | 1580.283 | 1500.118 | 1384.453 | 1239.728 | 33107.727
April | 2019-04-29 | 975.269 | 899.116 | 875.35 | 860.749 | 870.732 | 914.091 | 1023.258 | 1218.491 | 1348.74 | 1418.31 | 1428.024 | 1430.603 | 1419.251 | 1410.618 | 1442.552 | 1418.926 | 1387.677 | 1362.379 | 1377.524 | 1427.036 | 1495.52 | 1451.199 | 1314.828 | 1185.053 | 29955.296
May | 2019-05-26 | 1033.552 | 955.933 | 939.98 | 886.716 | 865.953 | 838.212 | 895.745 | 1030.106 | 1169.458 | 1259.89 | 1306.37 | 1304.447 | 1293.761 | 1277.023 | 1240.576 | 1242.034 | 1257.449 | 1267.227 | 1308.357 | 1382.314 | 1399.95 | 1361.427 | 1243.373 | 1102.309 | 27862.162
June | 2019-06-17 | 917.303 | 860.229 | 829.252 | 826.843 | 835.784 | 853.231 | 989.674 | 1185.777 | 1290.515 | 1337.079 | 1342.41 | 1365.981 | 1379.662 | 1387.37 | 1428.915 | 1417.87 | 1390.664 | 1336.21 | 1298.629 | 1287.652 | 1325.028 | 1407.163 | 1286.788 | 1159.674 | 28739.703
July | 2019-07-14 | 863.691 | 786.362 | 750.962 | 730.637 | 719.912 | 709.081 | 749.419 | 868.53 | 1008.068 | 1130.962 | 1180.431 | 1190.668 | 1167.228 | 1137.803 | 1099.748 | 1079.707 | 1065.733 | 1042.523 | 1033.89 | 1043.729 | 1120.692 | 1199.464 | 1091.282 | 950.071 | 23720.593
August | 2019-08-05 | 866.108 | 792.253 | 755.195 | 738.44 | 748.278 | 773.365 | 879.408 | 1089.844 | 1207.738 | 1271.951 | 1285.758 | 1306.764 | 1322.996 | 1337.318 | 1362.547 | 1342.804 | 1299.48 | 1244.089 | 1209.593 | 1198.163 | 1297.781 | 1309.994 | 1174.521 | 1050.849 | 26865.237
September | 2019-09-30 | 824.043 | 759.489 | 725.926 | 714.267 | 731.589 | 805.908 | 969.769 | 1174.677 | 1271.293 | 1292.403 | 1269.481 | 1278.64 | 1273.233 | 1272.303 | 1303.837 | 1285.12 | 1254.028 | 1211.812 | 1262.179 | 1406.026 | 1352.01 | 1260.303 | 1099.22 | 976.987 | 26774.543
October | 2019-10-03 | 847.516 | 771.629 | 741.642 | 731.786 | 746.277 | 813.993 | 978.458 | 1179.852 | 1282.979 | 1313.318 | 1315.93 | 1321.625 | 1312.112 | 1309.823 | 1354.381 | 1337.001 | 1310.162 | 1282.661 | 1356.484 | 1421.334 | 1366.945 | 1284.861 | 1145.359 | 1016.54 | 27542.668
November | 2019-11-04 | 873.427 | 812.513 | 785.535 | 775.797 | 794.256 | 885.949 | 1053.658 | 1261.565 | 1364.06 | 1380.087 | 1347.898 | 1331.598 | 1317.883 | 1355.416 | 1353.442 | 1330.56 | 1383.792 | 1516.79 | 1477.646 | 1437.724 | 1391.088 | 1315.125 | 1193.362 | 1049.583 | 28788.754
December | 2019-12-02 | 978.019 | 896.582 | 864.442 | 846.259 | 874.324 | 971.588 | 1182.354 | 1410.12 | 1537.847 | 1575.732 | 1560.654 | 1562.417 | 1550.455 | 1601.717 | 1619.317 | 1617.186 | 1655.246 | 1642.814 | 1597.945 | 1564.332 | 1515.142 | 1445.941 | 1337.831 | 1180.785 | 32589.049
Diagram of consumption on 3rd Wednesday in each month
MWh
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | ∑
January | 2019-01-16 | 1302.851 | 1203.79 | 1145.092 | 1125.403 | 1145.454 | 1227.821 | 1431.574 | 1646.972 | 1791.876 | 1840.167 | 1834.486 | 1805.054 | 1769.819 | 1793.666 | 1778.412 | 1745.45 | 1775.257 | 1899.007 | 1862.485 | 1828.866 | 1777.698 | 1698.966 | 1593.558 | 1438.049 | 38461.773
February | 2019-02-20 | 1166.451 | 1092.562 | 1051.105 | 1032.042 | 1058.996 | 1150.985 | 1353.775 | 1566.269 | 1662.822 | 1660.742 | 1609.868 | 1581.112 | 1538.024 | 1572.489 | 1562.047 | 1530.825 | 1535.022 | 1657.917 | 1750.623 | 1721.14 | 1670.046 | 1586.097 | 1469.461 | 1311.194 | 34891.614
March | 2019-03-20 | 1110.576 | 1039.206 | 992.354 | 986.992 | 1008.329 | 1102.387 | 1283.56 | 1501.385 | 1601.467 | 1620.679 | 1597.047 | 1601.484 | 1591.016 | 1638.652 | 1626.409 | 1599.104 | 1588.69 | 1602.026 | 1689.21 | 1685.301 | 1629.376 | 1549.987 | 1422.74 | 1267.507 | 34335.484
April | 2019-04-17 | 1127.354 | 1039.325 | 992.362 | 966.159 | 989.536 | 1078.035 | 1243.537 | 1472.441 | 1554.081 | 1546.001 | 1498.026 | 1472.555 | 1452.414 | 1445.926 | 1485.2 | 1469.768 | 1434.377 | 1399.039 | 1400.306 | 1514.479 | 1649.428 | 1578.633 | 1419.541 | 1270.526 | 32499.049
May | 2019-05-15 | 1131.02 | 1035.395 | 1029.535 | 999.507 | 971.46 | 1004.828 | 1166.255 | 1404.473 | 1528.14 | 1571.797 | 1564.342 | 1568.123 | 1551.382 | 1531.2 | 1567.829 | 1553.282 | 1536.74 | 1506.251 | 1518.642 | 1587.78 | 1601.127 | 1565.853 | 1417.818 | 1275.836 | 33188.615
June | 2019-06-19 | 1026.979 | 943.79 | 900.599 | 890.676 | 898.25 | 930.466 | 1049.124 | 1242.405 | 1338.237 | 1393.835 | 1411.489 | 1448.372 | 1465.9 | 1469.717 | 1511.503 | 1488.889 | 1442.184 | 1386.148 | 1325.451 | 1318.373 | 1357.337 | 1432.775 | 1294.345 | 1150.499 | 30117.343
July | 2019-07-17 | 909.911 | 816.982 | 776.593 | 755.585 | 775.591 | 803.838 | 920.029 | 1119.94 | 1218.852 | 1270.175 | 1271.828 | 1297.489 | 1299.942 | 1304.686 | 1337.921 | 1319.613 | 1276.134 | 1222.629 | 1179.989 | 1177.155 | 1251.49 | 1319.683 | 1184.849 | 1051.811 | 26862.715
August | 2019-08-21 | 984.173 | 890.935 | 854.403 | 833.887 | 841.808 | 876.94 | 971.736 | 1188.723 | 1314.535 | 1380.497 | 1404.667 | 1436.993 | 1463.179 | 1471.586 | 1493.284 | 1462.494 | 1419.511 | 1343.097 | 1297.519 | 1317.186 | 1438.051 | 1365.568 | 1216.878 | 1095.725 | 29363.375
September | 2019-09-18 | 898.792 | 838.83 | 801.46 | 791.521 | 799.838 | 860.615 | 995.582 | 1185.366 | 1275.113 | 1322.064 | 1310.492 | 1324.834 | 1322.859 | 1308.921 | 1350.986 | 1343.521 | 1306.634 | 1272.264 | 1283.915 | 1383.39 | 1349.597 | 1254.648 | 1114.698 | 997.498 | 27693.438
October | 2019-10-16 | 933.523 | 853.548 | 815.729 | 809.217 | 821.24 | 902.382 | 1092.446 | 1298.4 | 1366.931 | 1368.273 | 1338.953 | 1337.645 | 1332.569 | 1330.883 | 1356.172 | 1336.744 | 1307.565 | 1301.146 | 1447.005 | 1480.95 | 1416.28 | 1330.227 | 1173.31 | 1048.811 | 28799.949
November | 2019-11-20 | 976.768 | 894.84 | 852.586 | 843.067 | 858.341 | 944.453 | 1130.863 | 1331.764 | 1442.741 | 1487.55 | 1468.009 | 1458.608 | 1447.534 | 1494.062 | 1496.149 | 1486.019 | 1549.968 | 1587.35 | 1527.357 | 1483.034 | 1437.272 | 1368.516 | 1253.93 | 1118.93 | 30939.711
December | 2019-12-18 | 1058.898 | 962.475 | 918.364 | 898.052 | 914.851 | 1017.722 | 1223.55 | 1430.571 | 1548.925 | 1570.245 | 1539.464 | 1531.871 | 1515.725 | 1549.39 | 1546.948 | 1543.97 | 1637.583 | 1672.917 | 1623.291 | 1572.081 | 1525.342 | 1443.504 | 1347.048 | 1200.649 | 32793.436
Diagram of consumption for days in a month with max daily consumption
MWh
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | ∑
January | 2019-01-05 | 1355.324 | 1248.861 | 1191.553 | 1167.612 | 1168.863 | 1222.872 | 1335.744 | 1509.407 | 1685.13 | 1800.904 | 1832.913 | 1826.599 | 1803.718 | 1857.145 | 1843.435 | 1829.31 | 1883.449 | 1944.613 | 1902.508 | 1862.999 | 1817.231 | 1729.199 | 1636.101 | 1495.617 | 38951.107
February | 2019-02-13 | 1228.036 | 1129.953 | 1087.47 | 1071.261 | 1090.202 | 1185.405 | 1387.979 | 1601.819 | 1714.713 | 1736.404 | 1715.908 | 1707.69 | 1692.965 | 1729.425 | 1720.116 | 1681.389 | 1669.403 | 1787.492 | 1823.629 | 1789.559 | 1746.274 | 1666.451 | 1562.091 | 1394.018 | 36919.652
March | 2019-03-26 | 1063.738 | 998.482 | 963.573 | 948.233 | 972.454 | 1056.706 | 1224.29 | 1429.04 | 1545.571 | 1579.578 | 1560.413 | 1565.133 | 1557.174 | 1598.866 | 1586.693 | 1555.841 | 1528.964 | 1532.624 | 1644.137 | 1675.539 | 1616.388 | 1513.728 | 1396.891 | 1251.789 | 33365.845
April | 2019-04-13 | 1139.055 | 1046.666 | 1000.018 | 984.429 | 989.976 | 1039.675 | 1131.19 | 1333.579 | 1497.986 | 1584.405 | 1617.548 | 1622.305 | 1608.707 | 1589.269 | 1614.284 | 1589.064 | 1557.896 | 1509.444 | 1524.271 | 1584.585 | 1608.75 | 1522.07 | 1390.644 | 1274.37 | 33360.186
May | 2019-05-15 | 1131.02 | 1035.395 | 1029.535 | 999.507 | 971.46 | 1004.828 | 1166.255 | 1404.473 | 1528.14 | 1571.797 | 1564.342 | 1568.123 | 1551.382 | 1531.2 | 1567.829 | 1553.282 | 1536.74 | 1506.251 | 1518.642 | 1587.78 | 1601.127 | 1565.853 | 1417.818 | 1275.836 | 33188.615
June | 2019-06-27 | 1080.434 | 987.88 | 942.074 | 920.818 | 922.818 | 943.401 | 1068.5 | 1274.215 | 1399.342 | 1458.287 | 1476.053 | 1515.236 | 1533.507 | 1547.089 | 1585.539 | 1555.683 | 1509.682 | 1452.846 | 1404.651 | 1388.675 | 1418.007 | 1500.789 | 1392.072 | 1255.343 | 31532.941
July | 2019-07-03 | 1114.143 | 1017.651 | 976.078 | 948.797 | 950.609 | 973.911 | 1082.359 | 1293.907 | 1402.598 | 1448.741 | 1468.263 | 1498.727 | 1503.936 | 1531.199 | 1563.619 | 1549.443 | 1524.785 | 1469.855 | 1419.493 | 1398.948 | 1413.589 | 1488.208 | 1389.052 | 1254.51 | 31682.421
August | 2019-08-10 | 1017.342 | 912.15 | 866.837 | 844.968 | 846.218 | 865.321 | 936.92 | 1133.653 | 1299.172 | 1408.887 | 1465.876 | 1512.518 | 1535.674 | 1524.553 | 1552.665 | 1516.411 | 1488.162 | 1437.659 | 1412.029 | 1404.488 | 1498.353 | 1515.788 | 1379.207 | 1227.535 | 30602.386
September | 2019-09-20 | 913.409 | 836.286 | 801.035 | 800.147 | 810.891 | 875.039 | 1017.18 | 1226.827 | 1313.105 | 1333.457 | 1324.192 | 1320 | 1310.252 | 1297.837 | 1332.475 | 1316.006 | 1292.556 | 1252.39 | 1277.708 | 1451.512 | 1430.084 | 1322.652 | 1172.132 | 1051.425 | 28078.597
October | 2019-10-31 | 982.509 | 902.256 | 861.673 | 853.82 | 864.94 | 967.112 | 1158.27 | 1360.249 | 1465.797 | 1489.11 | 1470.682 | 1469.586 | 1464.488 | 1508.158 | 1519.612 | 1499.641 | 1526.864 | 1611.495 | 1575.266 | 1532.955 | 1480.32 | 1408.912 | 1297.047 | 1135.963 | 31406.725
November | 2019-11-27 | 1015.74 | 931.189 | 884.649 | 866.563 | 883.498 | 973.444 | 1172.028 | 1379.299 | 1492.722 | 1514.007 | 1496.055 | 1486.554 | 1477.434 | 1521.43 | 1518.074 | 1523.895 | 1602.277 | 1621.819 | 1564.154 | 1517.736 | 1471.744 | 1393.228 | 1277.311 | 1119.766 | 31704.616
December | 2019-12-30 | 1139.501 | 1038.094 | 977.775 | 962.588 | 979.253 | 1063.319 | 1253.824 | 1478.966 | 1644.778 | 1700.789 | 1689.727 | 1666.384 | 1632.278 | 1658.542 | 1643.347 | 1629.009 | 1702.127 | 1774.954 | 1743.746 | 1702.851 | 1664.467 | 1609.933 | 1533.345 | 1390.962 | 35280.559
Diagram of consumption for days in a month with min. consumption
MWh
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | ∑
January | 2019-01-01 | 1291.647 | 1229.2 | 1159.894 | 1095.916 | 1061.498 | 1060.259 | 1091.908 | 1125.13 | 1225.766 | 1328.673 | 1413.355 | 1449.483 | 1444.363 | 1463.651 | 1448.1 | 1442.131 | 1532.582 | 1626.014 | 1612.307 | 1588.102 | 1546.364 | 1494.042 | 1430.166 | 1317.365 | 32477.916
February | 2019-02-03 | 1149.272 | 1053.613 | 1000.798 | 977.472 | 976.055 | 1002.646 | 1069.297 | 1188.55 | 1361.561 | 1505.265 | 1582.731 | 1621.336 | 1614.462 | 1584.281 | 1539.071 | 1490.872 | 1510.912 | 1663.283 | 1696.471 | 1662.239 | 1629.212 | 1557.115 | 1416.747 | 1254.854 | 33108.115
March | 2019-03-31 | 1081.695 | 1008.828 | 0 | 964.489 | 964.502 | 979.925 | 1005.345 | 1122.154 | 1282.323 | 1391.828 | 1422.886 | 1402.746 | 1365.77 | 1337.944 | 1278.956 | 1261.139 | 1250.807 | 1251.659 | 1283.176 | 1483.244 | 1594.664 | 1517.241 | 1356.809 | 1185.062 | 28793.192
April | 2019-04-28 | 1059.734 | 955.482 | 909.725 | 890.174 | 895.733 | 904.448 | 943.933 | 1090.861 | 1251.478 | 1329.667 | 1333.609 | 1309.019 | 1273.611 | 1233.248 | 1194.98 | 1182.416 | 1182.636 | 1204.232 | 1241.672 | 1328.892 | 1434.389 | 1373.949 | 1234.819 | 1095.111 | 27853.818
May | 2019-05-01 | 1079.018 | 981.379 | 929.38 | 910.717 | 913.934 | 927.639 | 974.893 | 1105.231 | 1236.456 | 1337.307 | 1361.04 | 1336.22 | 1273.655 | 1220.125 | 1206.57 | 1172.154 | 1132.681 | 1109.079 | 1126.788 | 1198.847 | 1370.779 | 1363.526 | 1267.299 | 1158.215 | 27692.932
June | 2019-06-30 | 1010.046 | 920.933 | 882.955 | 861.715 | 856.603 | 845.199 | 894.866 | 1022.22 | 1145.126 | 1236.945 | 1281.28 | 1295.056 | 1284.933 | 1276.503 | 1245.198 | 1234.162 | 1226.47 | 1214.557 | 1202.599 | 1202.377 | 1243.167 | 1339.849 | 1268.514 | 1121.769 | 27113.042
July | 2019-07-14 | 863.691 | 786.362 | 750.962 | 730.637 | 719.912 | 709.081 | 749.419 | 868.53 | 1008.068 | 1130.962 | 1180.431 | 1190.668 | 1167.228 | 1137.803 | 1099.748 | 1079.707 | 1065.733 | 1042.523 | 1033.89 | 1043.729 | 1120.692 | 1199.464 | 1091.282 | 950.071 | 23720.593
August | 2019-08-04 | 919.396 | 836.051 | 786.145 | 764.634 | 758.813 | 749.416 | 774.742 | 911.317 | 1062.123 | 1168.544 | 1210.734 | 1216.056 | 1199.443 | 1164.513 | 1128.392 | 1112.745 | 1103.621 | 1084.838 | 1070.403 | 1078.426 | 1181.756 | 1214.929 | 1102.459 | 979.564 | 24579.06
September | 2019-09-29 | 867.463 | 794.024 | 755.81 | 732.802 | 737.347 | 758.167 | 800.595 | 933.289 | 1083.748 | 1183.248 | 1211.931 | 1194.837 | 1170.633 | 1147.817 | 1122.928 | 1104.002 | 1094.889 | 1089.105 | 1168.947 | 1343.582 | 1311.256 | 1206.912 | 1059.756 | 921.828 | 24794.916
October | 2019-10-13 | 924.042 | 849.853 | 800.137 | 774.264 | 780.357 | 809.959 | 864.961 | 984.319 | 1145.068 | 1229.548 | 1248.371 | 1225.312 | 1189.29 | 1183.793 | 1152.896 | 1139.651 | 1152.243 | 1165.269 | 1348.404 | 1434.447 | 1375.735 | 1280.637 | 1138.046 | 999.768 | 26196.37
November | 2019-11-10 | 932.214 | 847.555 | 808.639 | 791.538 | 799.685 | 834.981 | 889.485 | 1018.652 | 1169.474 | 1278.975 | 1316.542 | 1315.114 | 1302.819 | 1288.626 | 1261.445 | 1279.278 | 1378.884 | 1471.625 | 1436.415 | 1398.92 | 1357.653 | 1274.863 | 1144.578 | 1006.878 | 27604.838
December | 2019-12-22 | 1018.194 | 925.622 | 874.268 | 852.758 | 853.545 | 885.644 | 966.133 | 1077.076 | 1239.9 | 1365.167 | 1412.907 | 1434.757 | 1421.411 | 1382.107 | 1348.069 | 1371.361 | 1496.676 | 1541.576 | 1509.595 | 1467.577 | 1440.969 | 1370.794 | 1263.682 | 1124.007 | 29643.795