## 2024 GWh
BALANCE OF ELECTRICITY IN THE TRANSMISSION SYSTEM
|  | I | II | III | IV | V | VI | VII | VIII | IX | X | XI | XII | 2024 | 2024/2023
|  | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | %
Electricity generation in the transmission system
(1) | HPP | 568.7939 | 515.1546 | 585.0125 | 328.77 | 276.5478 | 294.5256 | 350.767 | 265.1084 | 187.2806 | 378.5618 | 418.1091 | 492.8855 | 4661.5167 | 75.24%
(2) | TPP | 824.1882 | 707.6049 | 602.1156 | 544.8149 | 646.5382 | 592.2806 | 755.9594 | 816.7829 | 699.8285 | 614.3531 | 804.7286 | 766.9318 | 8376.1266 | 100.8%
(3) | WPP | 47.3255 | 39.3821 | 39.2724 | 25.2268 | 26.4454 | 16.7354 | 22.2337 | 20.0622 | 29.4279 | 21.0403 | 52.8476 | 53.8865 | 393.8854 | 110.3%
(4) | SPP | 3.2942 | 3.5203 | 4.5007 | 6.6645 | 11.4499 | 33.8798 | 28.9048 | 33.8312 | 25.2793 | 24.8999 | 19.4907 | 13.1692 | 208.8846 | 1447%
(5) | Generation TOTAL (1+2+3+4) | 1443.6017 | 1265.6618 | 1230.9012 | 905.4761 | 960.9813 | 937.4214 | 1157.8648 | 1135.7847 | 941.8162 | 1038.8551 | 1295.1759 | 1326.873 | 13640.4135 | 91.72%
(6) | Enegy received from the distrib. system | 17.6514 | 18.7086 | 22.2783 | 19.255 | 14.0952 | 13.0377 | 14.6048 | 15.7139 | 15.0306 | 18.6664 | 12.6754 | 14.3752 | 196.0926 | 74.68%
Electricity import from the neighbouring power systems
(7) | from EES Croatia | 237.7842 | 185.6903 | 227.6856 | 203.483 | 268.8385 | 437.5183 | 403.4236 | 433.0284 | 273.7389 | 318.5103 | 241.4894 | 386.6212 | 3617.8117 | 175.3%
(8) | from EES Serbia | 61.5658 | 89.8694 | 88.705 | 121.8775 | 59.4531 | 21.2826 | 5.6401 | 17.1778 | 46.0786 | 69.4371 | 36.5086 | 32.1853 | 649.7809 | 66.06%
(9) | from EES Montenegro | 29.237 | 47.6505 | 58.422 | 93.7807 | 45.0955 | 13.4125 | 11.2698 | 10.053 | 27.1594 | 46.7281 | 40.6613 | 28.1826 | 451.6524 | 74.28%
(10) | Import TOTAL (7..9) | 328.587 | 323.2102 | 374.8126 | 419.1412 | 373.3871 | 472.2134 | 420.3335 | 460.2591 | 346.9769 | 434.6754 | 318.6593 | 446.9891 | 4719.2449 | 129.1%
(11) | AVAILABLE ENERGY (3+4+8) | 1789.8401 | 1607.5806 | 1627.992 | 1343.8724 | 1348.4637 | 1422.6726 | 1592.8031 | 1611.7578 | 1303.8238 | 1492.1969 | 1626.5107 | 1788.2373 | 18555.751 | 98.75%
Takeover of electricity from the transmission system
(12) | Distribution companies | 1018.8333 | 866.3024 | 859.1706 | 749.2348 | 713.2583 | 720.8821 | 825.5721 | 823.5412 | 742.9832 | 807.3676 | 968.9166 | 1096.4449 | 10192.5072 | 103.3%
(13) | Directy connected consumers * | 58.731 | 69.9513 | 65.6767 | 65.2878 | 49.3241 | 51.7629 | 65.3645 | 43.4281 | 41.7591 | 66.6913 | 66.0153 | 72.0284 | 716.0205 | 126.3%
(14) | Power plants own consumption | 9.5704 | 10.6351 | 12.0686 | 12.4769 | 9.8718 | 10.5627 | 10.6057 | 9.8857 | 7.8274 | 8.6676 | 11.4146 | 12.1247 | 125.7113 | 103.1%
(15) | Takeover TOTAL (12+13+14) | 1087.1346 | 946.8888 | 936.916 | 826.9995 | 772.4543 | 783.2078 | 901.5422 | 876.855 | 792.5698 | 882.7265 | 1046.3465 | 1180.598 | 11034.239 | 104.6%
Electricity Export to the neighbouring power systems
(16) | for EES Croatia | 177.8095 | 223.3104 | 236.1199 | 267.5396 | 164.9084 | 87.814 | 122.8904 | 118.7387 | 159.8234 | 150.2221 | 200.0181 | 139.3828 | 2048.5774 | 61.42%
(17) | for EES Serbia | 99.1973 | 67.6496 | 75.3138 | 42.6193 | 93.5947 | 127.0393 | 180.2119 | 177.8572 | 77.2205 | 88.705 | 131.2326 | 121.2996 | 1281.9408 | 134.6%
(18) | for EES Montenegro | 392.743 | 342.4964 | 351.0731 | 177.176 | 288.8143 | 399.6225 | 356.8838 | 410.6682 | 250.9152 | 344.6499 | 218.6373 | 311.1184 | 3844.7982 | 106.8%
(19) | Export TOTAL(16..19) | 669.7498 | 633.4565 | 662.5068 | 487.3349 | 547.3174 | 614.4759 | 659.9861 | 707.264 | 487.9592 | 583.577 | 549.888 | 571.8008 | 7175.3164 | 90.98%
(20) | Pumping | 0.000588 | 0 | 0 | 5.2836 | 6.9325 | 1.4393 | 0.000147 | 0 | 0.000147 | 0 | 0 | 0.000147 | 13.6564 | 91.01%
(21) | REQUIRED POWER (15+19+20) | 1756.8851 | 1580.3452 | 1599.4228 | 1319.6181 | 1326.7042 | 1399.1229 | 1561.5285 | 1584.119 | 1280.5291 | 1466.3035 | 1596.2345 | 1752.3989 | 18223.2118 | 98.75%
Transmission losses
(22) | Transmission losses (11-21) | 32.955 | 27.2354 | 28.5693 | 24.2543 | 21.7594 | 23.5496 | 31.2746 | 27.6388 | 23.2947 | 25.8935 | 30.2762 | 35.8384 | 332.5392 | 99.13%
(23) | In relation to available power (22)/(11) | 1.841% | 1.694% | 1.755% | 1.805% | 1.614% | 1.655% | 1.963% | 1.715% | 1.787% | 1.735% | 1.861% | 2.004% | 1.792% | 100.4%

## Production_GWh
ELECTRICITY INJECTED IN THE TRANSMISSION SYSTEM
OBJEKAT | I | II | III | IV | V | VI | VII | VIII | IX | X | XI | XII | 2024 | 2024/2023
| GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | %
HPP Jablanica | 87.3225 | 76.5938 | 85.8028 | 46.835 | 25.8456 | 30.3838 | 35.1393 | 35.393 | 42.3099 | 61.7183 | 57.6031 | 49.4363 | 634.3833 | 76.25%
HPP Grabovica | 30.6298 | 28.3071 | 30.7435 | 17.3064 | 9.8118 | 11.132 | 12.0471 | 12.121 | 15.3075 | 24.3406 | 23.7567 | 21.8061 | 237.3096 | 79.76%
HPP Salakovac | 46.4405 | 42.9728 | 48.884 | 25.3609 | 11.3909 | 14.9797 | 10.8298 | 10.5455 | 17.9527 | 39.2615 | 31.406 | 30.4341 | 330.4582 | 75.08%
HPP Višegrad | 104.924 | 92.43 | 103.63 | 78.452 | 54.424 | 36.252 | 30.336 | 31.104 | 25.1 | 47.628 | 54.342 | 74.632 | 733.254 | 59.91%
HPP Trebinje 1 | 41.5851 | 32.4123 | 40.0671 | 29.3808 | 34.705 | 43.4262 | 59.9013 | 28.3964 | 1.881 | 17.4355 | 32.3847 | 37.7288 | 399.3044 | 84.65%
HPP Trebinje 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
HPP Dubrovnik (G2) | 64.8125 | 67.1089 | 71.6658 | 37.4271 | 59.44 | 70.3485 | 68.5656 | 52.6205 | 0.99475 | 54.2667 | 71.9073 | 77.1094 | 696.267 | 106.4%
HPP Bočac | 19.8733 | 17.2161 | 21.4711 | 17.7741 | 12.6248 | 9.0757 | 8.4497 | 6.2855 | 7.0805 | 12.5687 | 11.0487 | 17.5187 | 160.9869 | 56.34%
HPP Dub | 9.5715 | 8.6036 | 8.6006 | 5.9902 | 3.9338 | 2.3788 | 1.7193 | 0.95304 | 1.2222 | 2.4946 | 2.1798 | 5.5861 | 53.2335 | 57.16%
HPP Rama | 85.1441 | 60.537 | 70.7175 | 11.8338 | 27.0727 | 43.8283 | 52.3751 | 64.9134 | 40.3825 | 54.9856 | 66.755 | 83.5533 | 662.0982 | 89.5%
HPP Mostar | 27.1918 | 24.967 | 27.9329 | 16.5717 | 9.6833 | 11.4094 | 8.9195 | 8.2281 | 12.0857 | 21.3004 | 19.7803 | 18.7777 | 206.8477 | 81.75%
HPP Jajce 1 | 23.7592 | 21.4532 | 24.1257 | 19.0055 | 13.7207 | 11.401 | 8.0231 | 5.9688 | 5.6585 | 13.171 | 12.7038 | 19.088 | 178.0785 | 60.4%
HPP Jajce 2 | 6.9969 | 6.715 | 7.3593 | 6.1923 | 5.4823 | 3.8548 | 4.7691 | 2.0385 | 2.319 | 4.1829 | 3.7355 | 5.6221 | 59.2675 | 74.63%
PSHPP Čapljina | 5.4568 | 16.8497 | 10.3078 | 4.7384 | 5.1809 | 3.2536 | 49.6922 | 6.5409 | 14.303 | 13.4639 | 26.0741 | 38.3242 | 194.1854 | 56.33%
HPP Peć-Mlini | 7.9103 | 8.4615 | 14.5628 | 6.2511 | 2.2675 | 0.60954 | 0 | 0 | 0.001122 | 2.7734 | 1.4889 | 3.1864 | 47.5127 | 61.25%
HPP Mostarsko Blato | 7.1755 | 10.5266 | 19.1415 | 5.6507 | 0.96448 | 2.1925 | 0 | 0 | 0.68222 | 8.9707 | 2.7929 | 7.35 | 65.4471 | 60.95%
HPP Ulog | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15038 | 2.7324 | 2.8828 | 0%
HYDRO POWER PLANTS | 568.7939 | 515.1546 | 585.0125 | 328.77 | 276.5478 | 294.5256 | 350.767 | 265.1084 | 187.2806 | 378.5618 | 418.1091 | 492.8855 | 4661.5167 | 75.24%
TPP Tuzla | 218.0341 | 165.1268 | 163.2958 | 199.0552 | 206.7412 | 206.2352 | 236.153 | 222.5871 | 196.8425 | 85.9151 | 239.8446 | 224.5821 | 2364.4128 | 129.5%
TPP Kakanj | 132.1974 | 155.3831 | 95.0619 | 104.056 | 106.3986 | 99.9157 | 163.7715 | 153.3819 | 71.4651 | 79.9604 | 160.1847 | 160.5219 | 1482.2982 | 88.82%
TPP Ugljevik | 135.5006 | 143.229 | 107.6078 | 135.8252 | 30.7138 | 15.7474 | 162.805 | 139.548 | 119.4044 | 158.5162 | 121.46 | 58.7328 | 1329.0902 | 88.66%
TPP Gacko | 138.1126 | 125.7546 | 96.552 | 105.8784 | 116.2964 | 93.0508 | 0 | 108.6894 | 122.5274 | 131.5622 | 111.5554 | 124.1466 | 1274.1258 | 96.18%
TPP Stanari | 200.3435 | 118.1114 | 139.5981 | 4.4e-05 | 186.3882 | 177.3315 | 193.2299 | 192.5765 | 189.5891 | 158.3992 | 171.6838 | 198.9485 | 1926.1996 | 96.92%
THERMAL POWER PLANTS | 824.1882 | 707.6049 | 602.1156 | 544.8149 | 646.5382 | 592.2806 | 755.9594 | 816.7829 | 699.8285 | 614.3531 | 804.7286 | 766.9318 | 8376.1266 | 100.8%
WPP Mesihovina | 19.2038 | 15.1558 | 16.251 | 10.5804 | 10.3459 | 6.5296 | 7.8173 | 6.7342 | 11.8194 | 6.5874 | 13.3992 | 14.1456 | 138.5696 | 91.69%
WPP Jelovača | 13.9376 | 11.7237 | 12.3062 | 6.8782 | 8.7596 | 5.7451 | 6.685 | 5.9396 | 9.9402 | 5.5387 | 8.8726 | 5.8413 | 102.1678 | 97.53%
WPP Podveležje | 14.184 | 12.5025 | 10.7152 | 7.7681 | 7.3399 | 4.4606 | 7.7313 | 7.3884 | 7.6683 | 4.6452 | 11.8793 | 10.5302 | 106.8132 | 105.5%
WPP Ivovik | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3e-05 | 4.269 | 18.6965 | 23.3693 | 46.3349 | 0%
WIND POWER PLANTS | 47.3255 | 39.3821 | 39.2724 | 25.2268 | 26.4454 | 16.7354 | 22.2337 | 20.0622 | 29.4279 | 21.0403 | 52.8476 | 53.8865 | 393.8854 | 110.3%
SPP Petnjik | 3.2942 | 3.5203 | 4.5007 | 6.6645 | 6.6838 | 7.3139 | 7.6776 | 7.0498 | 5.2498 | 4.9361 | 4.0245 | 2.7344 | 63.6496 | 440.8%
SPP Zvizdan | 0 | 0 | 0 | 0 | 3.4523 | 5.4004 | 5.9223 | 5.4927 | 3.9492 | 3.7966 | 2.7552 | 1.5949 | 32.3636 | 0%
SPP Bileća | 0 | 0 | 0 | 0 | 1.3139 | 14.5341 | 4.8062 | 7.1299 | 4.8095 | 4.4548 | 3.3607 | 2.0382 | 42.4472 | 0%
SPP Hodovo | 0 | 0 | 0 | 0 | 0 | 6.6314 | 10.4987 | 10.4891 | 7.6831 | 8.9354 | 8.4047 | 6.1243 | 58.7666 | 0%
SPP Deling Invest | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6699 | 3.5877 | 2.777 | 0.94556 | 0.67747 | 11.6576 | 0%
SOLAR POWER PLANTS | 3.2942 | 3.5203 | 4.5007 | 6.6645 | 11.4499 | 33.8798 | 28.9048 | 33.8312 | 25.2793 | 24.8999 | 19.4907 | 13.1692 | 208.8846 | 1447%
GENERATION | 1443.6017 | 1265.6618 | 1230.9012 | 905.4761 | 960.9813 | 937.4214 | 1157.8648 | 1135.7847 | 941.8162 | 1038.8551 | 1295.1759 | 1326.873 | 13640.4135 | 91.72%

## Consumption_GWh
TAKE OVER FROM THE TRANSMISSION SYSTEM
CATEGORY | I | II | III | IV | V | VI | VII | VIII | IX | X | XI | XII | 2024 | 2024/2023
| GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | %
Take over from the transmission system | 1087.1352 | 946.8888 | 936.916 | 832.2832 | 779.3868 | 784.6471 | 901.5424 | 876.855 | 792.5699 | 882.7265 | 1046.3465 | 1180.5982 | 11047.4305 | 104.5%
Distribution | 471.4772 | 402.9074 | 402.8108 | 353.788 | 337.964 | 335.8707 | 377.7523 | 376.1373 | 346.7498 | 378.5513 | 451.6867 | 507.5977 | 4743.2933 | 104.2%
Direct consumers | 38.5995 | 50.9641 | 45.1404 | 45.307 | 28.9228 | 31.6623 | 44.7416 | 41.7 | 33.6906 | 46.5231 | 46.4331 | 52.689 | 506.3735 | 100.5%
Power Plants - their own consumption | 8.1344 | 7.8532 | 7.5836 | 6.7644 | 6.8298 | 7.0412 | 8.7202 | 7.4601 | 6.1212 | 6.6527 | 8.5929 | 9.4451 | 91.1988 | 96.88%
EPBiH | 518.2111 | 461.7247 | 455.5348 | 405.8595 | 373.7166 | 374.5742 | 431.2141 | 425.2974 | 386.5616 | 431.7271 | 506.7127 | 569.7318 | 5340.8656 | 103.7%
Distribution | 407.2062 | 344.9768 | 340.5262 | 298.4235 | 283.0903 | 289.1982 | 328.5369 | 325.9988 | 295.3659 | 323.6516 | 388.6633 | 438.5483 | 4064.186 | 102.9%
Direct consumers | 18.7965 | 17.5198 | 19.4044 | 18.5942 | 19.2358 | 18.6572 | 19.1285 | 0.22684 | 6.7231 | 19.3178 | 18.414 | 18.2875 | 194.3057 | 508.7%
Power Plants - their own consumption | 0.79329 | 0.48864 | 2.6858 | 1.595 | 1.9311 | 2.2773 | 0.88656 | 1.1459 | 0.88673 | 0.32582 | 1.5145 | 1.6752 | 16.2057 | 120.4%
ERS | 426.796 | 362.9852 | 362.6164 | 318.6128 | 304.2572 | 310.1327 | 348.5519 | 327.3716 | 302.9757 | 343.2952 | 408.5917 | 458.511 | 4274.6975 | 106.8%
Distribution | 140.1498 | 118.4182 | 115.8337 | 97.0233 | 92.2041 | 95.8133 | 119.2829 | 121.4051 | 100.8675 | 105.1646 | 128.5666 | 150.2988 | 1385.0279 | 101.9%
Direct consumers | 1.3349 | 1.4674 | 1.1319 | 1.3866 | 1.1655 | 1.4434 | 1.4945 | 1.5012 | 1.3455 | 0.85043 | 1.1683 | 1.0519 | 15.3413 | 61.44%
Power Plants - their own consumption | 0.6427 | 0.5727 | 0.60601 | 0.62215 | 0.74884 | 0.82074 | 0.91231 | 1.1868 | 0.7116 | 0.76893 | 0.64783 | 0.74272 | 8.9834 | 114.9%
Pumping regime - PHE Čapljina | 0.000588 | 0 | 0 | 5.2836 | 6.9325 | 1.4393 | 0.000147 | 0 | 0.000147 | 0 | 0 | 0.000147 | 13.6564 | 91.01%
EPHZHB | 142.1281 | 120.4583 | 117.5715 | 104.3156 | 101.0509 | 99.5167 | 121.6899 | 124.0931 | 102.9247 | 106.784 | 130.3826 | 152.0936 | 1423.0089 | 101.1%
Distribution | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Direct consumers | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Plants - their own consumption | 0 | 1.7205 | 1.1932 | 3.4954 | 0.36211 | 0.38789 | 0.042834 | 0.042075 | 0.042999 | 0.79968 | 0.52251 | 0.11921 | 8.7284 | 134.5%
EFT | 0 | 1.7205 | 1.1932 | 3.4954 | 0.36211 | 0.38789 | 0.042834 | 0.042075 | 0.042999 | 0.79968 | 0.52251 | 0.11921 | 8.7284 | 134.5%
Distribution | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Direct consumers | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Plants - their own consumption | 0 | 0 | 0 | 0 | 0 | 0.035607 | 0.043725 | 0.05082 | 0 | 0 | 0 | 0 | 0.13015
Vibar | 0 | 0 | 0 | 0 | 0 | 0.035607 | 0.043725 | 0.05082 | 0 | 0 | 0 | 0 | 0.13015
Distribution | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Direct consumers | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Plants - their own consumption | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064911 | 0.12052 | 0.13688 | 0.14256 | 0.46487
RES BH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064911 | 0.12052 | 0.13688 | 0.14256 | 0.46487

## Nominated_exchange
NOMINATED EXCHANGE PROGRAME WITH NEIGHBOURING EESs
NOMINATED EXCHANGE |  | I | II | III | IV | V | VI | VII | VIII | IX | X | XI | XII | 2024
|  | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh
| BiH <-- CRO (HEP-OPS) | 339.962 | 295.009 | 278.6465 | 280.924 | 359.925 | 268.335 | 385.181 | 382.918 | 417.1252 | 360.861 | 315.947 | 416.341 | 4101.1748
| BiH <-- SR (EMS) | 65.242 | 81.226 | 108.388 | 178.013 | 96.108 | 136.26 | 88.642 | 69.893 | 100.99 | 141.368 | 65.606 | 71.594 | 1203.33
| BiH <-- MG (EPCG) | 36.577 | 30.747 | 56.782 | 55.515 | 45.107 | 58.151 | 40.782 | 31.933 | 26.089 | 54.135 | 115.709 | 81.012 | 632.539
(1) | Received BiH | 441.781 | 406.982 | 443.8165 | 514.452 | 501.14 | 462.746 | 514.605 | 484.744 | 544.2043 | 556.364 | 497.262 | 568.947 | 5937.0437
| BiH --> CRO (HEP-OPS) | 173.378 | 208.303 | 198.322 | 170.507 | 132.325 | 169.01 | 172.103 | 135.459 | 147.129 | 196.181 | 240.276 | 216.005 | 2158.998
| BiH --> SR (EMS) | 330.7 | 251.491 | 282.081 | 173.757 | 261.529 | 209.854 | 286.678 | 364.441 | 319.824 | 298.936 | 365.812 | 345.435 | 3490.538
| BiH --> MG (EPCG) | 279.098 | 256.307 | 255.986 | 238.844 | 279.774 | 233.661 | 299.258 | 238.664 | 221.467 | 212.253 | 130.648 | 145.141 | 2791.101
(2) | Delivered BiH | 783.176 | 716.101 | 736.389 | 583.108 | 673.628 | 612.525 | 758.039 | 738.564 | 688.42 | 707.37 | 736.736 | 706.581 | 8440.637
(3) | Balance BIH (2) - (1) | 341.395 | 309.119 | 292.5725 | 68.656 | 172.488 | 149.779 | 243.434 | 253.82 | 144.2157 | 151.006 | 239.474 | 137.634 | 2503.5933
| Balance CRO (HEP-OPS) | -166.584 | -86.706 | -80.3245 | -110.417 | -227.6 | -99.325 | -213.078 | -247.459 | -269.9963 | -164.68 | -75.671 | -200.336 | -1942.1768
| Balance SR (EMS) | 265.458 | 170.265 | 173.693 | -4.256 | 165.421 | 73.594 | 198.036 | 294.548 | 218.834 | 157.568 | 300.206 | 273.841 | 2287.208
| Balance MG (EPCG) | 242.521 | 225.56 | 199.204 | 183.329 | 234.667 | 175.51 | 258.476 | 206.731 | 195.378 | 158.118 | 14.939 | 64.129 | 2158.562
| Transit | 380.51 | 355.744 | 358.34 | 375.161 | 345.44 | 294.034 | 325.888 | 331.977 | 308.853 | 299.861 | 277.39 | 262.986 | 3916.184
Internal trade

## Physical_exchange
PHYSICAL EXCHANGE OF BIH WITH NEIGHBOURING EES IN THE TRANSMISSION SYSTEM
PHYSICAL FLOWS |  | I | II | III | IV | V | VI | VII | VIII | IX | X | XI | XII | 2024
|  | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh
| BiH <-- CRO (HOPS) | 237.7842 | 185.6903 | 227.6856 | 203.483 | 268.8385 | 437.5183 | 403.4236 | 433.0284 | 273.7389 | 318.5103 | 241.4894 | 386.6212 | 3617.8117
| BiH<-SR (EMS) | 61.5658 | 89.8694 | 88.705 | 121.8775 | 59.4531 | 21.2826 | 5.6401 | 17.1778 | 46.0786 | 69.4371 | 36.5086 | 32.1853 | 649.7809
| BiH<-MG (EPCG) | 29.237 | 47.6505 | 58.422 | 93.7807 | 45.0955 | 13.4125 | 11.2698 | 10.053 | 27.1594 | 46.7281 | 40.6613 | 28.1826 | 451.6524
(1) | Received BiH | 328.587 | 323.2102 | 374.8126 | 419.1412 | 373.3871 | 472.2134 | 420.3335 | 460.2591 | 346.9769 | 434.6754 | 318.6593 | 446.9891 | 4719.2449
| BiH --> CRO (HOPS) | 177.8095 | 223.3104 | 236.1199 | 267.5396 | 164.9084 | 87.814 | 122.8904 | 118.7387 | 159.8234 | 150.2221 | 200.0181 | 139.3828 | 2048.5774
| BiH --> SR (EMS) | 99.1973 | 67.6496 | 75.3138 | 42.6193 | 93.5947 | 127.0393 | 180.2119 | 177.8572 | 77.2205 | 88.705 | 131.2326 | 121.2996 | 1281.9408
| BiH --> MG (EPCG) | 392.743 | 342.4964 | 351.0731 | 177.176 | 288.8143 | 399.6225 | 356.8838 | 410.6682 | 250.9152 | 344.6499 | 218.6373 | 311.1184 | 3844.7982
(2) | Delivered BiH | 669.7498 | 633.4565 | 662.5068 | 487.3349 | 547.3174 | 614.4759 | 659.9861 | 707.264 | 487.9592 | 583.577 | 549.888 | 571.8008 | 7175.3164
(3) | Balance BIH (2) - (1) | 341.1628 | 310.2462 | 287.6942 | 68.1937 | 173.9303 | 142.2625 | 239.6526 | 247.0049 | 140.9823 | 148.9015 | 231.2287 | 124.8117 | 2456.0714
| Balance CRO (HOPS) | -59.9747 | 37.6201 | 8.4343 | 64.0567 | -103.9302 | -349.7043 | -280.5332 | -314.2897 | -113.9155 | -168.2882 | -41.4713 | -247.2384 | -1569.2343
| BALANCE SR (EMS) | 37.6315 | -22.2198 | -13.3912 | -79.2582 | 34.1416 | 105.7567 | 174.5718 | 160.6794 | 31.1419 | 19.2679 | 94.7239 | 89.1143 | 632.1599
| BALANCE MG (EPCG) | 363.506 | 294.8459 | 292.6511 | 83.3953 | 243.7189 | 386.21 | 345.614 | 400.6153 | 223.7558 | 297.9219 | 177.9761 | 282.9357 | 3393.1459

## Deviations
Deviations of EES BiH towards the Interconnection in 2024
| Deviation - Energy shortage |  |  | Deviation - Energy surplus |  |  | Deviation - Total
| Max. hourly | Average | Total | Max. hourly | Average | Total | Max. Hourly | Average | Total
Month | MWh/h | MWh/h | MWh | MWh/h | MWh/h | MWh | MWh/h | MWh/h | MWh
January | -58.822 | -7.0295 | -2924.262 | 66.494 | 8.5492 | 2804.135 | 66.494 | -0.16146 | -120.127
February | -73.482 | -6.6525 | -2341.679 | 54.324 | 12.1126 | 3888.132 | -73.482 | 1.7687 | 1546.453
March | -64.653 | -10.5891 | -5940.511 | 46.583 | 7.1045 | 1271.698 | -64.653 | -6.3451 | -4668.813
April | -125.666 | -8.7693 | -3358.625 | 51.405 | 9.5962 | 3233.926 | -125.666 | -0.17319 | -124.699
May | -59.788 | -10.2125 | -3196.519 | 102.242 | 11.0099 | 4745.282 | 102.242 | 2.0817 | 1548.763
June | -900.718 | -25.5567 | -10810.5 | 182.635 | 10.915 | 3241.767 | -900.718 | -10.5121 | -7568.733
July | -70.541 | -11.7928 | -5731.311 | 45.443 | 7.1243 | 1838.067 | -70.541 | -5.2329 | -3893.244
August | -131.009 | -16.313 | -8482.759 | 43.581 | 7.6863 | 1721.725 | -131.009 | -9.0874 | -6761.034
September | -111.961 | -19.3873 | -8123.291 | 95.131 | 16.7721 | 5048.413 | -111.961 | -4.2707 | -3074.878
October | -96.628 | -11.4461 | -5070.636 | 71.72 | 9.3213 | 2815.018 | -96.628 | -3.0227 | -2255.618
November | -197.078 | -20.0307 | -10375.892 | 79.245 | 9.4546 | 1909.834 | -197.078 | -11.7584 | -8466.058
December | -98.794 | -22.4114 | -13962.324 | 46.798 | 8.2796 | 1010.106 | -98.794 | -17.4089 | -12952.218
2024 | -900.718 | -14.6755 | -80744.588 | 182.635 | 10.0983 | 33637.483 | -900.718 | -5.3628 | -46790.206

## Consumption_statistic
Data on specific hourly and daily consumption in 2024
|  | MAX. HOURLY LOAD |  |  | MIN. HOURLY LOAD |  |  | MAX DAILY CONSUMPTION |  | MIN DAILY CONSUMPTION
|  | MWh/h | DAN | HOUR | MWh/h | DAN | HOUR | MWh | DAY | MWh | DAY
I | January | 1900.965 | 2024-01-11 | 18 | 848.027 | 2024-01-02 | 4 | 38375.51 | 2024-01-12 | 29372.644 | 2024-01-01
II | February | 1832.247 | 2024-02-01 | 18 | 836.173 | 2024-02-12 | 4 | 36843.039 | 2024-02-01 | 29151.209 | 2024-02-11
III | March | 1672.197 | 2024-03-12 | 18 | 803.163 | 2024-03-31 | 6 | 32719.811 | 2024-03-07 | 24182.049 | 2024-03-31
IV | April | 1552.975 | 2024-04-24 | 21 | 699.128 | 2024-04-15 | 4 | 31138.648 | 2024-04-24 | 23243.283 | 2024-04-14
V | May | 1355.209 | 2024-05-04 | 21 | 650.624 | 2024-05-20 | 4 | 26624.909 | 2024-05-14 | 22280.44 | 2024-05-19
VI | June | 1492.125 | 2024-06-21 | 17 | 246.275 | 2024-06-21 | 14 | 29029.399 | 2024-06-20 | 22420.898 | 2024-06-16
VII | July | 1643.191 | 2024-07-17 | 15 | 732.565 | 2024-07-03 | 4 | 32567.949 | 2024-07-16 | 24650.717 | 2024-07-07
VIII | August | 1579.017 | 2024-08-16 | 16 | 775.274 | 2024-08-05 | 4 | 31065.629 | 2024-08-16 | 24707.136 | 2024-08-04
IX | September | 1488.953 | 2024-09-30 | 20 | 704.662 | 2024-09-15 | 4 | 27823.01 | 2024-09-19 | 23511.879 | 2024-09-22
X | October | 1616.775 | 2024-10-30 | 18 | 742.141 | 2024-10-14 | 4 | 30584.187 | 2024-10-24 | 24961.979 | 2024-10-13
XI | November | 1900.688 | 2024-11-15 | 18 | 831.934 | 2024-11-03 | 4 | 37837.552 | 2024-11-14 | 28557.083 | 2024-11-03
XII | December | 2048.798 | 2024-12-31 | 18 | 911.542 | 2024-12-02 | 4 | 40197.32 | 2024-12-27 | 32366.679 | 2024-12-01
Specific values of electricity consumption in 2024
|  | Max hourly consumption |  |  | Min hourly cosumption |  |  | Max daily consumption |  | Min daily consumption
|  | MWh | Day | Hour | MWh | Day | Hour | MWh | Day | MWh | Day
|  | 2048.798 | 2024-12-31 | 18:00 | 246.275 | 2024-06-21 | 14:00 | 40197.32 | 2024-12-27 | 22280.44 | 2024-05-19

## Consumption
Data on specific hourly and daily consumption in 2024
| Max.hourly consumption |  |  | Min.hourly consumption |  |  | Max.daily consumption |  | Min.daily consumption
Month | MWh/h | Day | Hour | MWh/h | Day | Hour | MWh | Day | MWh | Day
January | 1900.965 | 2024-01-11 | 18 | 848.027 | 2024-01-02 | 4 | 38375.51 | 2024-01-12 | 29372.644 | 2024-01-01
February | 1832.247 | 2024-02-01 | 18 | 836.173 | 2024-02-12 | 4 | 36843.039 | 2024-02-01 | 29151.209 | 2024-02-11
March | 1672.197 | 2024-03-12 | 18 | 803.163 | 2024-03-31 | 6 | 32719.811 | 2024-03-07 | 24182.049 | 2024-03-31
April | 1552.975 | 2024-04-24 | 21 | 699.128 | 2024-04-15 | 4 | 31138.648 | 2024-04-24 | 23243.283 | 2024-04-14
May | 1355.209 | 2024-05-04 | 21 | 650.624 | 2024-05-20 | 4 | 26624.909 | 2024-05-14 | 22280.44 | 2024-05-19
June | 1492.125 | 2024-06-21 | 17 | 246.275 | 2024-06-21 | 14 | 29029.399 | 2024-06-20 | 22420.898 | 2024-06-16
July | 1643.191 | 2024-07-17 | 15 | 732.565 | 2024-07-03 | 4 | 32567.949 | 2024-07-16 | 24650.717 | 2024-07-07
August | 1579.017 | 2024-08-16 | 16 | 775.274 | 2024-08-05 | 4 | 31065.629 | 2024-08-16 | 24707.136 | 2024-08-04
September | 1488.953 | 2024-09-30 | 20 | 704.662 | 2024-09-15 | 4 | 27823.01 | 2024-09-19 | 23511.879 | 2024-09-22
October | 1616.775 | 2024-10-30 | 18 | 742.141 | 2024-10-14 | 4 | 30584.187 | 2024-10-24 | 24961.979 | 2024-10-13
November | 1900.688 | 2024-11-15 | 18 | 831.934 | 2024-11-03 | 4 | 37837.552 | 2024-11-14 | 28557.083 | 2024-11-03
December | 2048.798 | 2024-12-31 | 18 | 911.542 | 2024-12-02 | 4 | 40197.32 | 2024-12-27 | 32366.679 | 2024-12-01
2024 | 2048.798 | 2024-12-31 | 18 | 246.275 | 2024-06-21 | 14 | 40197.32 | 2024-12-27 | 22280.44 | 2024-05-19

## Consumption_Days
Diagram of consumption for a day in a month with max hourly consumption
MWh
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | ∑
January | 2024-01-11 | 1238.464 | 1137.651 | 1076.96 | 1061.401 | 1087.045 | 1181.31 | 1397.174 | 1640.078 | 1804.317 | 1855.719 | 1839.407 | 1817.369 | 1792.123 | 1829.045 | 1828.205 | 1817.302 | 1854.264 | 1900.965 | 1852.114 | 1807.806 | 1755.369 | 1682.411 | 1584.955 | 1421.23 | 38262.684
February | 2024-02-01 | 1195.054 | 1103.66 | 1064.457 | 1053.012 | 1078.491 | 1212.854 | 1472.063 | 1720.82 | 1816.281 | 1783.58 | 1721.246 | 1671.296 | 1609.499 | 1627.939 | 1638.051 | 1661.721 | 1721.045 | 1832.247 | 1825.815 | 1786.692 | 1730.042 | 1644.277 | 1525.734 | 1347.163 | 36843.039
March | 2024-03-12 | 1008.069 | 920.779 | 881.753 | 950.449 | 990.012 | 1005.299 | 1162.499 | 1374.439 | 1453.424 | 1460.421 | 1436.695 | 1446.865 | 1442.316 | 1494.528 | 1500.049 | 1495.785 | 1555.637 | 1672.197 | 1600.486 | 1569.526 | 1505.189 | 1414.802 | 1309.108 | 1151.489 | 31801.816
April | 2024-04-24 | 1008.715 | 920.457 | 871.434 | 854.347 | 873.366 | 964.034 | 1136.325 | 1370.809 | 1455.561 | 1477.858 | 1482.193 | 1479.051 | 1472.894 | 1463.876 | 1478.988 | 1458.995 | 1446.48 | 1437.188 | 1443.621 | 1499.529 | 1552.975 | 1482.965 | 1328.964 | 1178.023 | 31138.648
May | 2024-05-04 | 889.085 | 798.482 | 758.377 | 740.387 | 752.509 | 794.053 | 873.565 | 1051.879 | 1174.231 | 1212.639 | 1195.613 | 1172.741 | 1148.365 | 1136.119 | 1160.854 | 1150.089 | 1135.524 | 1122.813 | 1147.631 | 1211.211 | 1355.209 | 1330.058 | 1196.533 | 1064.674 | 25572.641
June | 2024-06-21 | 1019.278 | 911.902 | 865.763 | 840.668 | 847.546 | 864.034 | 996.501 | 1209.632 | 1312.275 | 1367.915 | 1387.654 | 1442.754 | 567.815 | 246.275 | 817.67 | 1332.283 | 1492.125 | 1482.362 | 1452.011 | 1417.879 | 1414.3 | 1442.132 | 1337.648 | 1196.464 | 27264.886
July | 2024-07-17 | 1141.868 | 1033.633 | 975.657 | 948.531 | 952.429 | 964.627 | 1089.719 | 1301.718 | 1407.789 | 1476.649 | 1503.19 | 1553.15 | 1588.161 | 1616.15 | 1643.191 | 1611.006 | 1584.16 | 1536.633 | 1491.841 | 1456.749 | 1471.279 | 1494.156 | 1373.037 | 1246.152 | 32461.475
August | 2024-08-16 | 1060.314 | 954.049 | 895.67 | 866.394 | 867.361 | 894.79 | 990.19 | 1184.079 | 1292 | 1365.901 | 1416.854 | 1487.58 | 1523.458 | 1534.714 | 1571.592 | 1579.017 | 1562.483 | 1526.778 | 1503.665 | 1486.978 | 1527.711 | 1460.861 | 1319.846 | 1193.344 | 31065.629
September | 2024-09-30 | 838.285 | 777.884 | 739.44 | 730.408 | 748.694 | 829.787 | 1042.302 | 1272.252 | 1318.004 | 1272.69 | 1207.286 | 1180.19 | 1170.964 | 1175.42 | 1189.183 | 1177.295 | 1187.905 | 1239.708 | 1362.496 | 1488.953 | 1448.713 | 1369.006 | 1218.807 | 1068.693 | 27054.365
October | 2024-10-30 | 950.376 | 873.913 | 842.644 | 832.24 | 860.556 | 970.058 | 1167.366 | 1363.411 | 1432.46 | 1410.293 | 1338.92 | 1304.843 | 1257.207 | 1279.284 | 1317.465 | 1370.807 | 1476.838 | 1616.775 | 1583.101 | 1535.902 | 1494.735 | 1406.202 | 1281.299 | 1124.526 | 30091.221
November | 2024-11-15 | 1199.391 | 1101.144 | 1052.347 | 1040.314 | 1073.061 | 1191.074 | 1434.869 | 1672.752 | 1762.945 | 1765.415 | 1740.73 | 1738.2 | 1708.621 | 1758.447 | 1775.062 | 1795.341 | 1866.882 | 1900.688 | 1836.375 | 1785.678 | 1731.898 | 1635.56 | 1523.991 | 1376.513 | 37467.298
December | 2024-12-31 | 1371.696 | 1249.167 | 1180.982 | 1152.774 | 1175.498 | 1272.143 | 1501.378 | 1739.417 | 1894.779 | 1912.047 | 1865.604 | 1803.672 | 1735.792 | 1784.836 | 1825.222 | 1901.227 | 2006.385 | 2048.798 | 1995.608 | 1892.612 | 1748.15 | 1615.679 | 1539.157 | 1463.559 | 39676.182
Diagram of consumption for a day in a month with min hourly consumption
MWh
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 |  |  |  | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | ∑
January | 2024-01-02 | 1027.469 | 927.491 | 875.547 | 848.027 | 858.241 | 908.775 | 1020.571 | 1142.973 | 1296.471 | 1410.642 | 1455.595 | 1433.622 | 1390.187 | 1389.537 | 1376.25 | 1416.442 | 1516.894 | 1577.115 | 1539.014 | 1505.04 | 1466.369 | 1403.845 | 1334.962 | 1203.132 | 30324.211
February | 2024-02-12 | 961.234 | 888.81 | 851.133 | 836.173 | 868.497 | 977.458 | 1205.697 | 1431.756 | 1559.116 | 1589.117 | 1558.662 | 1541.917 | 1521.214 | 1551.629 | 1537.675 | 1511.104 | 1511.175 | 1586.063 | 1588.695 | 1547.189 | 1499.619 | 1433.629 | 1330.566 | 1175.518 | 32063.646
March | 2024-03-31 | 905.257 | 826.097 | 905.257 | 809.289 | 829.041 | 803.163 | 804.292 | 895.693 | 1011.824 | 1088.965 | 1114.063 | 1121.156 | 1102.837 | 1080.087 | 1070.716 | 1098.015 | 1127.469 | 1171.841 | 1266.937 | 1301.308 | 1318.44 | 1255.48 | 1161.656 | 1018.423 | 25087.306
April | 2024-04-15 | 812.901 | 740.538 | 709.347 | 699.128 | 719.455 | 805.27 | 970.346 | 1172.82 | 1209.195 | 1192.666 | 1143.345 | 1148.147 | 1147.388 | 1164.421 | 1207.954 | 1181.727 | 1181.609 | 1164.692 | 1173.516 | 1256.864 | 1335.922 | 1261.221 | 1118.158 | 995.38 | 25512.01
May | 2024-05-20 | 768.642 | 695.439 | 666.176 | 650.624 | 669.363 | 709.287 | 869.363 | 1079.278 | 1142.285 | 1141.074 | 1103.991 | 1106.732 | 1118.675 | 1128.404 | 1171.302 | 1168.185 | 1165.71 | 1139.058 | 1124.517 | 1146.916 | 1242.177 | 1241.28 | 1103.844 | 962.659 | 24314.981
June | 2024-06-21 | 1019.278 | 911.902 | 865.763 | 840.668 | 847.546 | 864.034 | 996.501 | 1209.632 | 1312.275 | 1367.915 | 1387.654 | 1442.754 | 567.815 | 246.275 | 817.67 | 1332.283 | 1492.125 | 1482.362 | 1452.011 | 1417.879 | 1414.3 | 1442.132 | 1337.648 | 1196.464 | 27264.886
July | 2024-07-03 | 865.625 | 786.656 | 744.174 | 732.565 | 754.485 | 774.878 | 899.337 | 1072.992 | 1136.437 | 1154.73 | 1148.229 | 1185.699 | 1201.834 | 1201.119 | 1240.539 | 1219.447 | 1188.697 | 1157.54 | 1138.744 | 1149.579 | 1204.278 | 1247.757 | 1132.867 | 1009.16 | 25347.368
August | 2024-08-05 | 910.731 | 834.177 | 792.481 | 775.274 | 777.677 | 794.678 | 899.111 | 1081.698 | 1172.384 | 1218.577 | 1224.441 | 1248.997 | 1263.193 | 1291.167 | 1334.143 | 1342.01 | 1333.236 | 1316.839 | 1313.366 | 1308.839 | 1359.812 | 1348.307 | 1226.102 | 1099.042 | 27266.282
September | 2024-09-15 | 842.123 | 765.814 | 729.118 | 704.662 | 709.884 | 737.745 | 781.212 | 903.217 | 1066.371 | 1187.317 | 1239.73 | 1237.718 | 1226.383 | 1207.17 | 1200.102 | 1184.739 | 1198.18 | 1217.435 | 1261.481 | 1345.287 | 1323.626 | 1229.783 | 1092.6 | 936.522 | 25328.219
October | 2024-10-14 | 849.765 | 779.476 | 752.293 | 742.141 | 765.407 | 850.267 | 1060.023 | 1263.927 | 1300.973 | 1265.591 | 1182.905 | 1137.862 | 1112.32 | 1102.78 | 1148.867 | 1174.308 | 1198.891 | 1250.123 | 1379.416 | 1406.593 | 1371.555 | 1280.708 | 1146.477 | 1019.94 | 26542.608
November | 2024-11-03 | 973.554 | 898.068 | 850.8 | 831.934 | 841.624 | 899.074 | 970.191 | 1100.141 | 1225.17 | 1288.84 | 1293.409 | 1266.683 | 1224.085 | 1198.354 | 1221.707 | 1295.226 | 1431.505 | 1553.474 | 1535.947 | 1504.045 | 1466.38 | 1379.205 | 1232.611 | 1075.056 | 28557.083
December | 2024-12-02 | 1052.703 | 967.412 | 921.232 | 911.542 | 953.654 | 1081.798 | 1349.339 | 1611.069 | 1708.056 | 1701.319 | 1635.999 | 1614.813 | 1588.442 | 1644.968 | 1697.153 | 1728.009 | 1788.491 | 1789.221 | 1733.751 | 1688.8 | 1644.445 | 1565.432 | 1440.982 | 1272.388 | 35091.018
Diagram of consumption on the third Wednesday in a month
MWh
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | ∑
January | 2024-01-17 | 1200.042 | 1090.275 | 1037.15 | 1021.385 | 1044.024 | 1146.855 | 1381.09 | 1623.907 | 1774.707 | 1820.561 | 1802.949 | 1784.233 | 1762.733 | 1783.849 | 1772.704 | 1754.115 | 1763.405 | 1777.127 | 1724.522 | 1672.389 | 1615.666 | 1530.888 | 1427.578 | 1258.02 | 36570.174
February | 2024-02-21 | 1058.565 | 968.92 | 926.876 | 915.105 | 943.444 | 1054.384 | 1282.038 | 1492.745 | 1571.732 | 1551.463 | 1500.543 | 1466.439 | 1423.587 | 1454.203 | 1453.921 | 1454.821 | 1462.276 | 1580.051 | 1662.694 | 1627.505 | 1575.5 | 1492.108 | 1381.004 | 1226.89 | 32526.814
March | 2024-03-20 | 1042.732 | 961.651 | 922.902 | 978.342 | 1000.438 | 1033.815 | 1200.526 | 1381.854 | 1426.499 | 1381.011 | 1315.457 | 1294.137 | 1278.171 | 1313.983 | 1312.318 | 1309.563 | 1375.501 | 1542.754 | 1577.42 | 1601.128 | 1548.978 | 1466.594 | 1352.897 | 1183.951 | 30802.622
April | 2024-04-17 | 889.529 | 815.927 | 772.309 | 763.34 | 779.912 | 863.062 | 1021.185 | 1249.182 | 1359.817 | 1418.709 | 1417.5 | 1408.697 | 1386.691 | 1366.361 | 1392.583 | 1361.757 | 1352.818 | 1336.166 | 1351.004 | 1418.829 | 1470.361 | 1390.317 | 1252.584 | 1111.924 | 28950.564
May | 2024-05-15 | 878.309 | 785.003 | 744.8 | 730.236 | 754.683 | 803.207 | 960.757 | 1167.273 | 1227.707 | 1221.526 | 1177.435 | 1161.473 | 1146.196 | 1139.77 | 1184.302 | 1187.04 | 1180.955 | 1159.228 | 1166.807 | 1221.671 | 1323.203 | 1294.31 | 1148.698 | 1005.165 | 25769.754
June | 2024-06-19 | 934.084 | 837.627 | 788.025 | 772.271 | 778.764 | 801.977 | 941.75 | 1135.891 | 1214.013 | 1239.603 | 1243.786 | 1282.595 | 1306.613 | 1330.107 | 1372.195 | 1360.746 | 1347.46 | 1337.198 | 1320.866 | 1309.704 | 1332.597 | 1372.631 | 1251.641 | 1114.213 | 27726.357
July | 2024-07-17 | 1141.868 | 1033.633 | 975.657 | 948.531 | 952.429 | 964.627 | 1089.719 | 1301.718 | 1407.789 | 1476.649 | 1503.19 | 1553.15 | 1588.161 | 1616.15 | 1643.191 | 1611.006 | 1584.16 | 1536.633 | 1491.841 | 1456.749 | 1471.279 | 1494.156 | 1373.037 | 1246.152 | 32461.475
August | 2024-08-21 | 917.861 | 844.128 | 801.964 | 786.38 | 790.837 | 841.03 | 948.292 | 1157.36 | 1229.259 | 1254.735 | 1247.58 | 1277.32 | 1303.752 | 1334.409 | 1377.755 | 1361.18 | 1327.28 | 1305.435 | 1289.059 | 1304.774 | 1371.181 | 1298.257 | 1159.919 | 1042.759 | 27572.506
September | 2024-09-18 | 884.055 | 800.005 | 764.818 | 749.748 | 763.726 | 844.669 | 1027.388 | 1238.433 | 1314.068 | 1302.104 | 1235.521 | 1208.742 | 1203.238 | 1218.867 | 1257.774 | 1265.998 | 1286.258 | 1285.2 | 1323.166 | 1425.414 | 1393.295 | 1298.36 | 1148.119 | 1017.795 | 27256.761
October | 2024-10-16 | 925.212 | 846.467 | 810.414 | 789.897 | 817.199 | 900.484 | 1106.877 | 1317.931 | 1369.029 | 1348.651 | 1275.55 | 1237.744 | 1212.002 | 1196.987 | 1241.653 | 1262.18 | 1294.393 | 1346.705 | 1475.317 | 1489.765 | 1436.838 | 1342.5 | 1200.404 | 1059.239 | 28303.438
November | 2024-11-20 | 1138.918 | 1040.116 | 991.564 | 971.215 | 999.109 | 1109.482 | 1334.502 | 1545.605 | 1627.415 | 1626.076 | 1604.639 | 1596.497 | 1606.443 | 1669.817 | 1715.725 | 1741.897 | 1791.453 | 1776.07 | 1715.47 | 1668.436 | 1622.091 | 1538.301 | 1412.183 | 1239.702 | 35082.726
December | 2024-12-18 | 1238.649 | 1126.853 | 1082.57 | 1068.227 | 1096.903 | 1225.939 | 1493.625 | 1738.441 | 1824.404 | 1791.865 | 1709.918 | 1663.078 | 1615.908 | 1675.94 | 1743.111 | 1810.574 | 1904.708 | 1932.264 | 1874.1 | 1827.375 | 1775.853 | 1695.396 | 1595.8 | 1433.481 | 37944.982
Diagram of consumption for a day in a month with max. consumption | [26 empty] | Diagrams of consumption for the days of the months with max consumption
MWh
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | ∑
January | 2024-01-12 | 1263.867 | 1146.165 | 1096.564 | 1074.435 | 1097.438 | 1188.517 | 1408.832 | 1649.437 | 1810.426 | 1861.107 | 1857.31 | 1849.326 | 1819.925 | 1858.823 | 1852.858 | 1837.419 | 1848.169 | 1883.279 | 1830.814 | 1786.61 | 1734.663 | 1649.594 | 1555.918 | 1414.014 | 38375.51
February | 2024-02-01 | 1195.054 | 1103.66 | 1064.457 | 1053.012 | 1078.491 | 1212.854 | 1472.063 | 1720.82 | 1816.281 | 1783.58 | 1721.246 | 1671.296 | 1609.499 | 1627.939 | 1638.051 | 1661.721 | 1721.045 | 1832.247 | 1825.815 | 1786.692 | 1730.042 | 1644.277 | 1525.734 | 1347.163 | 36843.039
March | 2024-03-07 | 1011.867 | 921.394 | 882.165 | 867.375 | 894.426 | 1004.183 | 1216.356 | 1448.857 | 1554.204 | 1573.573 | 1551.178 | 1537.085 | 1526.748 | 1558.934 | 1556.282 | 1551.494 | 1552.826 | 1600.118 | 1651.167 | 1607.883 | 1555.794 | 1497.267 | 1379.894 | 1218.741 | 32719.811
April | 2024-04-24 | 1008.715 | 920.457 | 871.434 | 854.347 | 873.366 | 964.034 | 1136.325 | 1370.809 | 1455.561 | 1477.858 | 1482.193 | 1479.051 | 1472.894 | 1463.876 | 1478.988 | 1458.995 | 1446.48 | 1437.188 | 1443.621 | 1499.529 | 1552.975 | 1482.965 | 1328.964 | 1178.023 | 31138.648
May | 2024-05-14 | 880.615 | 791.032 | 758.665 | 744.45 | 767.341 | 811.981 | 958.33 | 1162.798 | 1245.864 | 1287.407 | 1253.83 | 1254.905 | 1250.452 | 1254.514 | 1284.065 | 1256.069 | 1235.246 | 1218.687 | 1211.668 | 1240.933 | 1317.724 | 1281.549 | 1148.258 | 1008.526 | 26624.909
June | 2024-06-20 | 965.675 | 867.317 | 813.186 | 793.454 | 803.725 | 827.512 | 963.644 | 1173.647 | 1272.586 | 1312.982 | 1322.868 | 1353.794 | 1386.691 | 1408.038 | 1458.507 | 1435.908 | 1416.742 | 1399.755 | 1375.936 | 1369.206 | 1387.968 | 1428.897 | 1316.766 | 1174.595 | 29029.399
July | 2024-07-16 | 1129.69 | 1026.554 | 963.156 | 943.237 | 936.28 | 957.331 | 1085.578 | 1296.642 | 1397.831 | 1457.013 | 1485.957 | 1530.218 | 1559.883 | 1566.919 | 1610.144 | 1591.26 | 1568.872 | 1546.857 | 1543.745 | 1528.144 | 1533.859 | 1562.817 | 1447.471 | 1298.491 | 32567.949
August | 2024-08-16 | 1060.314 | 954.049 | 895.67 | 866.394 | 867.361 | 894.79 | 990.19 | 1184.079 | 1292 | 1365.901 | 1416.854 | 1487.58 | 1523.458 | 1534.714 | 1571.592 | 1579.017 | 1562.483 | 1526.778 | 1503.665 | 1486.978 | 1527.711 | 1460.861 | 1319.846 | 1193.344 | 31065.629
September | 2024-09-19 | 886.527 | 809.348 | 767.366 | 752.94 | 770.837 | 847.192 | 1026.076 | 1229.892 | 1319.685 | 1349.02 | 1330.233 | 1335.204 | 1310.399 | 1277.264 | 1324.567 | 1315.132 | 1293.21 | 1287.755 | 1335.256 | 1420.474 | 1382.969 | 1289.298 | 1146.365 | 1016.001 | 27823.01
October | 2024-10-24 | 977.659 | 888.891 | 844.48 | 835.804 | 861.671 | 955.985 | 1169.693 | 1412.826 | 1485.071 | 1477.409 | 1423.396 | 1387.631 | 1363.287 | 1361.598 | 1411.064 | 1417.115 | 1442.805 | 1483.729 | 1580.761 | 1548.564 | 1495.797 | 1402.945 | 1248.008 | 1107.998 | 30584.187
November | 2024-11-14 | 1171.08 | 1078.212 | 1030.305 | 1018.98 | 1050.601 | 1167.854 | 1407.076 | 1654.4 | 1781.847 | 1817.495 | 1795.742 | 1799.605 | 1797.056 | 1837.734 | 1845.599 | 1845.548 | 1892.063 | 1898.874 | 1841.88 | 1797.519 | 1752.215 | 1657.269 | 1537.215 | 1361.383 | 37837.552
December | 2024-12-27 | 1350.262 | 1230.787 | 1163.987 | 1145.953 | 1170.105 | 1278.092 | 1517.277 | 1761.169 | 1905.577 | 1944.605 | 1914.243 | 1840.743 | 1767.077 | 1785.535 | 1799.975 | 1841.742 | 1941.737 | 2010.275 | 1973.769 | 1928.595 | 1876.548 | 1794.765 | 1700.999 | 1553.503 | 40197.32
Diagram of consumption for a day in a month with min. consumption
MWh
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | ∑
January | 2024-01-01 | 1079.789 | 1032.545 | 972.667 | 916.995 | 886.169 | 889.642 | 931.99 | 971.994 | 1086.133 | 1216.371 | 1330.013 | 1398.27 | 1414.998 | 1446.036 | 1435.694 | 1415.567 | 1467.346 | 1486.154 | 1450.675 | 1418.53 | 1379.02 | 1325.276 | 1265.136 | 1155.634 | 29372.644
February | 2024-02-11 | 1017.929 | 924.177 | 873.392 | 848.409 | 851.446 | 889.571 | 964.915 | 1082.716 | 1250.661 | 1355.575 | 1390.991 | 1384.38 | 1369.783 | 1346.678 | 1335.857 | 1343.722 | 1379.012 | 1478.67 | 1495.943 | 1474.079 | 1434.702 | 1351.636 | 1225.897 | 1081.068 | 29151.209
March | 2024-03-31 | 905.257 | 826.097 | 0 | 809.289 | 829.041 | 803.163 | 804.292 | 895.693 | 1011.824 | 1088.965 | 1114.063 | 1121.156 | 1102.837 | 1080.087 | 1070.716 | 1098.015 | 1127.469 | 1171.841 | 1266.937 | 1301.308 | 1318.44 | 1255.48 | 1161.656 | 1018.423 | 24182.049
April | 2024-04-14 | 869.469 | 787.583 | 742.074 | 722.423 | 729.391 | 753.012 | 786.819 | 911.047 | 1009.42 | 1062.941 | 1070.102 | 1052.993 | 1027.818 | 1004.158 | 971.966 | 969.702 | 992.785 | 1020.62 | 1051.513 | 1155.238 | 1290.569 | 1228.109 | 1091.471 | 942.06 | 23243.283
May | 2024-05-19 | 823.608 | 748.753 | 701.252 | 675.948 | 683.821 | 671.514 | 716.182 | 843.894 | 959.57 | 1027.124 | 1036.846 | 1022.037 | 996.323 | 980.455 | 955.857 | 964.406 | 990.558 | 1024.507 | 1057.141 | 1109.101 | 1191.651 | 1166.172 | 1041.685 | 892.035 | 22280.44
June | 2024-06-16 | 919.476 | 802.937 | 741.299 | 720.921 | 768.021 | 848.224 | 912.153 | 955.085 | 1005.507 | 1000.202 | 976.303 | 955.621 | 948.625 | 931.152 | 924.12 | 921.25 | 935.111 | 953.587 | 982.282 | 1004.538 | 1061.137 | 1124.765 | 1064.399 | 964.183 | 22420.898
July | 2024-07-07 | 936.735 | 846.929 | 791.186 | 763.319 | 761.619 | 743.362 | 786.716 | 893.675 | 999.456 | 1076.551 | 1109.891 | 1125.84 | 1129.035 | 1116.741 | 1113.735 | 1113.707 | 1128.2 | 1147.084 | 1155.337 | 1172.185 | 1215.045 | 1279.892 | 1191.671 | 1052.806 | 24650.717
August | 2024-08-04 | 946.052 | 858.43 | 806.783 | 785.372 | 782.772 | 778.89 | 801.347 | 899.334 | 997.145 | 1070.329 | 1110.102 | 1122.65 | 1130.063 | 1124.066 | 1110.871 | 1119.192 | 1123.257 | 1144.326 | 1164.952 | 1167.486 | 1234.662 | 1248.838 | 1153.168 | 1027.049 | 24707.136
September | 2024-09-22 | 861.181 | 798.036 | 750.942 | 734.753 | 738.404 | 772.297 | 816.907 | 931.187 | 1028.185 | 1066.315 | 1058.282 | 1017.379 | 982.38 | 959.483 | 942.979 | 956.494 | 992.66 | 1060.134 | 1167.085 | 1329.692 | 1315.714 | 1217.749 | 1079.268 | 934.373 | 23511.879
October | 2024-10-13 | 900.98 | 824.657 | 776.737 | 754.587 | 759.615 | 795.348 | 870.501 | 984.234 | 1093.071 | 1142.485 | 1124.2 | 1079.171 | 1046.611 | 1018.593 | 1024.339 | 1054.888 | 1103.512 | 1181.599 | 1349.085 | 1397.001 | 1346.151 | 1252.96 | 1114.186 | 967.468 | 24961.979
November | 2024-11-03 | 973.554 | 898.068 | 850.8 | 831.934 | 841.624 | 899.074 | 970.191 | 1100.141 | 1225.17 | 1288.84 | 1293.409 | 1266.683 | 1224.085 | 1198.354 | 1221.707 | 1295.226 | 1431.505 | 1553.474 | 1535.947 | 1504.045 | 1466.38 | 1379.205 | 1232.611 | 1075.056 | 28557.083
December | 2024-12-01 | 1109.21 | 1009.845 | 955.248 | 933.027 | 939.545 | 991.768 | 1077.506 | 1197.35 | 1350.243 | 1471.874 | 1535.301 | 1528.962 | 1519.555 | 1519.066 | 1522.339 | 1564.618 | 1654.315 | 1666.426 | 1627.248 | 1602.666 | 1566.102 | 1488.82 | 1350.491 | 1185.154 | 32366.679