## 2025 GWh
BALANCE OF ELECTRICITY IN THE TRANSMISSION SYSTEM
|  | I | II | III | IV | V | VI | VII | VIII | IX | X | XI | XII | 2025 | 2025/2024
|  | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | %
Electricity generation in the transmission system
(1) | HPP | 473.6726 | 359.014 | 555.0908 | 433.4636 | 288.8495 | 256.8599 | 269.0951 | 243.2917 | 205.2953 | 276.31 | 461.3837 | 542.1543 | 4364.4805 | 93.63%
(2) | TPP | 733.048 | 733.7816 | 728.866 | 557.6492 | 374.7792 | 560.9147 | 606.9469 | 685.9428 | 680.2039 | 725.6008 | 696.0932 | 739.3878 | 7823.214 | 93.4%
(3) | WPP | 67.4197 | 38.041 | 76.5357 | 68.599 | 51.8001 | 38.7158 | 50.5361 | 43.0274 | 30.9659 | 76.1921 | 59.0905 | 48.6397 | 649.5629 | 164.9%
(4) | SPP | 13.9288 | 20.0844 | 29.8696 | 37.1214 | 46.6153 | 62.3713 | 68.2156 | 59.0676 | 50.4549 | 38.7371 | 23.4321 | 24.3169 | 474.2151 | 227%
(5) | Generation TOTAL (1+2+3+4) | 1288.0691 | 1150.921 | 1390.3619 | 1096.8333 | 762.0441 | 918.8616 | 994.7936 | 1031.3295 | 966.9201 | 1116.84 | 1239.9996 | 1354.4987 | 13311.4725 | 97.59%
(6) | Enegy received from the distrib. system | 21.3303 | 13.9218 | 36.0534 | 39.6357 | 32.0441 | 25.6305 | 23.0383 | 26.382 | 23.7648 | 20.3264 | 21.9459 | 23.2327 | 307.3059 | 156.7%
Electricity import from the neighbouring power systems
(7) | from EES Croatia | 332.1607 | 200.5236 | 226.2163 | 334.7557 | 390.0807 | 271.8817 | 285.8119 | 218.7315 | 147.9411 | 212.8169 | 269.0678 | 290.1368 | 3180.1248 | 87.9%
(8) | from EES Serbia | 64.3798 | 74.7 | 51.8785 | 45.1487 | 68.0866 | 68.778 | 88.1913 | 101.6663 | 123.369 | 45.102 | 36.5627 | 48.1583 | 816.0212 | 125.6%
(9) | from EES Montenegro | 34.9302 | 53.4273 | 48.6061 | 28.4062 | 41.9253 | 33.9764 | 47.1807 | 40.6663 | 73.9301 | 41.9294 | 75.5454 | 71.8028 | 592.3262 | 131.1%
(10) | Import TOTAL (7..9) | 431.4708 | 328.6509 | 326.7009 | 408.3106 | 500.0926 | 374.6361 | 421.1839 | 361.0641 | 345.2403 | 299.8483 | 381.1758 | 410.0979 | 4588.4722 | 97.23%
(11) | AVAILABLE ENERGY (3+4+8) | 1740.8702 | 1493.4937 | 1753.1163 | 1544.7796 | 1294.1807 | 1319.1282 | 1439.0159 | 1418.7756 | 1335.9252 | 1437.0148 | 1643.1213 | 1787.8293 | 18207.2506 | 98.12%
Takeover of electricity from the transmission system
(12) | Distribution companies | 1067.6636 | 962.7856 | 903.9396 | 786.5214 | 715.3825 | 706.2962 | 767.6094 | 750.3251 | 711.8678 | 880.6965 | 952.0779 | 1131.0738 | 10336.2396 | 101.4%
(13) | Directy connected consumers * | 46.2796 | 45.9588 | 48.3373 | 41.2772 | 37.5913 | 42.0839 | 45.1074 | 41.4338 | 39.3974 | 32.8887 | 44.7166 | 44.779 | 509.8511 | 71.21%
(14) | Power plants own consumption | 12.2003 | 10.5073 | 9.2826 | 10.6239 | 12.4366 | 9.193 | 10.5101 | 7.962 | 6.4169 | 8.575 | 8.8095 | 8.636 | 115.1532 | 91.6%
(15) | Takeover TOTAL (12+13+14) | 1126.1436 | 1019.2516 | 961.5595 | 838.4226 | 765.4105 | 757.5731 | 823.2269 | 799.721 | 757.6821 | 922.1602 | 1005.604 | 1184.4889 | 10961.244 | 99.34%
Electricity Export to the neighbouring power systems
(16) | for EES Croatia | 173.7882 | 213.8527 | 336.9425 | 163.1773 | 133.2829 | 196.5208 | 223.5092 | 274.021 | 322.1859 | 216.2877 | 285.7906 | 247.2001 | 2786.559 | 136%
(17) | for EES Serbia | 98.3708 | 63.1069 | 118.9791 | 146.1902 | 92.4659 | 72.6319 | 75.3508 | 64.2045 | 55.8601 | 89.9987 | 113.7818 | 93.9592 | 1084.8999 | 84.63%
(18) | for EES Montenegro | 309.1208 | 169.5523 | 301.8725 | 359.4655 | 262.9209 | 256.0758 | 284.7839 | 252.4993 | 175.0226 | 180.7043 | 200.7288 | 226.6434 | 2979.3901 | 77.49%
(19) | Export TOTAL(16..19) | 581.2797 | 446.512 | 757.7941 | 668.833 | 488.6698 | 525.2284 | 583.6439 | 590.7248 | 553.0686 | 486.9907 | 600.3012 | 567.8028 | 6850.849 | 95.48%
(20) | Pumping | 0 | 0 | 2.4656 | 12.5584 | 15.6276 | 11.3915 | 4.6164 | 3.3034 | 0.000735 | 1.0361 | 1.322 | 0 | 52.3216 | 383.1%
(21) | REQUIRED POWER (15+19+20) | 1707.4233 | 1465.7636 | 1721.8192 | 1519.814 | 1269.7078 | 1294.193 | 1411.4872 | 1393.7492 | 1310.7514 | 1410.1869 | 1607.2272 | 1752.2917 | 17864.4145 | 98.03%
Transmission losses
(22) | Transmission losses (11-21) | 33.4469 | 27.7301 | 31.2971 | 24.9656 | 24.4729 | 24.9352 | 27.5286 | 25.0264 | 25.1738 | 26.8279 | 35.8941 | 35.5376 | 342.8361 | 103.1%
(23) | In relation to available power (22)/(11) | 1.921% | 1.857% | 1.785% | 1.616% | 1.891% | 1.89% | 1.913% | 1.764% | 1.884% | 1.867% | 2.185% | 1.988% | 1.883% | 105.3%

## Production_GWh
ELECTRICITY INJECTED IN THE TRANSMISSION SYSTEM
OBJEKAT | I | II | III | IV | V | VI | VII | VIII | IX | X | XI | XII | 2025 | 2025/2024
| GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | %
HPP Jablanica | 54.4631 | 41.1376 | 63.8466 | 65.1194 | 35.5201 | 29.876 | 34.3815 | 31.2349 | 38.8209 | 52.3932 | 56.2411 | 74.5696 | 577.604 | 91.05%
HPP Grabovica | 23.3367 | 17.416 | 27.4726 | 23.2828 | 12.8073 | 10.4495 | 11.7265 | 10.8492 | 14.3453 | 19.5325 | 24.4382 | 28.6176 | 224.2741 | 94.51%
HPP Salakovac | 36.5403 | 21.9927 | 57.087 | 35.2162 | 17.2595 | 10.0357 | 9.6646 | 10.0155 | 17.9903 | 24.7939 | 41.0985 | 41.0172 | 322.7114 | 97.66%
HPP Višegrad | 89.206 | 63.972 | 120.206 | 113.764 | 59.114 | 33.742 | 25.11 | 24.786 | 28.876 | 37.91 | 96.826 | 88.342 | 781.854 | 106.6%
HPP Trebinje 1 | 28.6242 | 20.7577 | 17.7242 | 18.1384 | 24.1481 | 32.2665 | 29.6698 | 26.6361 | 5.6596 | 8.5908 | 14.4786 | 38.5786 | 265.2725 | 66.43%
HPP Trebinje 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
HPP Dubrovnik (G2) | 69.6811 | 64.9818 | 43.3753 | 21.3245 | 42.2781 | 47.6628 | 64.0167 | 58.5659 | 0.29462 | 4.283 | 48.1177 | 77.8004 | 542.3819 | 77.9%
HPP Bočac | 31.0091 | 16.2284 | 39.996 | 36.5429 | 22.1786 | 10.46 | 9.2713 | 7.8728 | 6.2535 | 6.7023 | 16.2693 | 17.8873 | 220.6717 | 137.1%
HPP Dub | 6.7544 | 3.2858 | 8.1701 | 10.3059 | 6.5399 | 2.4733 | 1.5515 | 1.4627 | 1.0017 | 1.4345 | 4.1626 | 5.5824 | 52.7251 | 99.05%
HPP Rama | 53.58 | 51.7827 | 10.8689 | 0 | 2.5096 | 42.6225 | 57.5971 | 50.2853 | 53.3018 | 68.391 | 68.5614 | 82.0235 | 541.5238 | 81.79%
HPP Mostar | 22.5844 | 14.5626 | 32.8176 | 21.5774 | 12.8378 | 8.7191 | 8.3492 | 8.7225 | 13.3365 | 16.5974 | 24.1794 | 23.9078 | 208.1918 | 100.6%
HPP Jajce 1 | 28.8834 | 17.7917 | 31.816 | 33.3142 | 23.3264 | 13.7757 | 10.0983 | 7.847 | 5.724 | 5.4887 | 13.0696 | 22.1481 | 213.2833 | 119.8%
HPP Jajce 2 | 7.8686 | 5.1157 | 8.1591 | 8.6586 | 7.2621 | 4.2005 | 3.1392 | 2.641 | 2.2228 | 2.4239 | 3.8187 | 6.7181 | 62.2285 | 105%
PSHPP Čapljina | 5.8968 | 11.0512 | 35.8123 | 13.6613 | 11.6265 | 8.9802 | 4.3694 | 2.2137 | 16.4859 | 26.0926 | 27.3638 | 9.4862 | 173.0399 | 89.11%
HPP Peć-Mlini | 3.8544 | 1.9502 | 11.6612 | 9.9471 | 4.5475 | 1.0088 | 0.078474 | 0.1589 | 0.35099 | 0.39145 | 3.9707 | 8.021 | 45.9408 | 96.69%
HPP Mostarsko Blato | 7.1192 | 4.7348 | 27.8857 | 16.6819 | 4.3179 | 0.0836 | 0 | 0 | 0 | 0.48708 | 9.5863 | 12.082 | 82.9785 | 126.8%
HPP Ulog | 4.2708 | 2.2531 | 18.1921 | 5.9292 | 2.5758 | 0.5035 | 0.071445 | 0 | 0.63137 | 0.79756 | 9.2019 | 5.3725 | 49.7993 | 1727%
HYDRO POWER PLANTS | 473.6726 | 359.014 | 555.0908 | 433.4636 | 288.8495 | 256.8599 | 269.0951 | 243.2917 | 205.2953 | 276.31 | 461.3837 | 542.1543 | 4364.4805 | 93.63%
TPP Tuzla | 185.914 | 157.4462 | 125.5235 | 86.8672 | 148.8791 | 147.0844 | 148.9655 | 163.5108 | 172.848 | 223.147 | 232.6453 | 194.8249 | 1987.6557 | 84.07%
TPP Kakanj | 167.0988 | 164.1145 | 144.6599 | 129.4857 | 118.468 | 105.3418 | 141.7491 | 83.5092 | 56.6746 | 107.7862 | 74.7578 | 118.8806 | 1412.5261 | 95.29%
TPP Ugljevik | 51.0392 | 123.8992 | 120.7584 | 55.0126 | 0 | 123.6556 | 160.109 | 108.9996 | 134.194 | 129.4116 | 81.7546 | 110.4316 | 1199.2654 | 90.23%
TPP Gacko | 130.0328 | 108.2054 | 139.399 | 128.5598 | 101.5326 | 0 | 0.8332 | 136.6476 | 127.476 | 136.2 | 115.7246 | 116.8888 | 1241.4998 | 97.44%
TPP Stanari | 198.9632 | 180.1163 | 198.5252 | 157.7239 | 5.8995 | 184.8329 | 155.2901 | 193.2755 | 189.0114 | 129.0561 | 191.211 | 198.3619 | 1982.267 | 102.9%
THERMAL POWER PLANTS | 733.048 | 733.7816 | 728.866 | 557.6492 | 374.7792 | 560.9147 | 606.9469 | 685.9428 | 680.2039 | 725.6008 | 696.0932 | 739.3878 | 7823.214 | 93.4%
WPP Mesihovina | 17.0621 | 10.3813 | 16.7742 | 16.8754 | 12.7209 | 9.2778 | 11.5443 | 9.1208 | 6.7704 | 16.7713 | 13.5263 | 10.346 | 151.1709 | 109.1%
WPP Jelovača | 10.2824 | 6.2654 | 13.0384 | 11.4741 | 9.5418 | 6.4954 | 8.77 | 7.4392 | 5.285 | 13.0143 | 7.9901 | 8.4336 | 108.0297 | 105.7%
WPP Podveležje | 10.5293 | 7.3212 | 15.0876 | 13.5063 | 10.5059 | 7.9789 | 10.3726 | 8.971 | 4.978 | 11.6712 | 10.7926 | 8.2522 | 119.9668 | 112.3%
WPP Ivovik | 29.5459 | 14.0622 | 26.2142 | 22.6082 | 17.1311 | 13.179 | 17.1384 | 14.0636 | 10.8707 | 27.1167 | 20.6172 | 16.8332 | 229.3804 | 495%
WPP Ivan Sedlo | 0 | 0.010939 | 5.4212 | 4.135 | 1.9003 | 1.7847 | 2.7107 | 3.4328 | 3.0618 | 7.6187 | 6.1642 | 3.6847 | 39.9251 | 0%
WPP Oštrc | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.09 | 1.09 | 0%
WIND POWER PLANTS | 67.4197 | 38.041 | 76.5357 | 68.599 | 51.8001 | 38.7158 | 50.5361 | 43.0274 | 30.9659 | 76.1921 | 59.0905 | 48.6397 | 649.5629 | 164.9%
SPP Petnjik | 2.3866 | 3.1352 | 4.1758 | 5.6476 | 7.1251 | 8.4636 | 7.7169 | 7.2283 | 6.0743 | 4.6618 | 3.0616 | 3.2152 | 62.892 | 98.81%
SPP Zvizdan | 1.6024 | 2.3739 | 3.2449 | 4.2657 | 5.4271 | 6.2135 | 5.8509 | 5.4903 | 4.6297 | 3.5245 | 2.0332 | 1.8735 | 46.5294 | 143.8%
SPP Bileća | 2.1558 | 3.7078 | 7.1865 | 9.4482 | 11.9161 | 14.4403 | 14.1859 | 11.088 | 9.5216 | 6.7588 | 3.631 | 3.9597 | 97.9997 | 230.9%
SPP Hodovo | 6.8147 | 9.2685 | 12.1946 | 13.5738 | 16.6663 | 19.6647 | 21.379 | 17.1069 | 15.5988 | 13.6406 | 8.2727 | 8.5034 | 162.684 | 276.8%
SPP Deling Invest | 0.96934 | 1.5989 | 3.0679 | 4.1862 | 5.2154 | 6.5312 | 5.6278 | 5.4759 | 3.866 | 2.2564 | 1.2571 | 0.86867 | 40.9209 | 351%
SPP Brotnjo | 0 | 0 | 0 | 0 | 0.26537 | 2.4839 | 2.2839 | 2.1211 | 1.8042 | 1.4128 | 0.8797 | 0.9304 | 12.1813 | 0%
SPP Pozitron | 0 | 0 | 0 | 0 | 0 | 0.94828 | 1.9033 | 1.8587 | 1.6117 | 1.1864 | 0.79988 | 1.0175 | 9.3257 | 0%
SPP Ecco Mim | 0 | 0 | 0 | 0 | 0 | 3.6257 | 9.2679 | 8.6985 | 7.3486 | 5.2958 | 3.497 | 3.9485 | 41.6821 | 0%
SOLAR POWER PLANTS | 13.9288 | 20.0844 | 29.8696 | 37.1214 | 46.6153 | 62.3713 | 68.2156 | 59.0676 | 50.4549 | 38.7371 | 23.4321 | 24.3169 | 474.2151 | 227%
GENERATION | 1288.0691 | 1150.921 | 1390.3619 | 1096.8333 | 762.0441 | 918.8616 | 994.7936 | 1031.3295 | 966.9201 | 1116.84 | 1239.9996 | 1354.4987 | 13311.4725 | 97.59%

## Consumption_GWh
TAKE OVER FROM THE TRANSMISSION SYSTEM
CATEGORY | I | II | III | IV | V | VI | VII | VIII | IX | X | XI | XII | 2025 | 2025/2024
| GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | %
Take over from the transmission system | 1126.1436 | 1019.2516 | 964.0251 | 850.9809 | 781.0381 | 768.9646 | 827.8433 | 803.0244 | 757.6829 | 923.1962 | 1006.9259 | 1184.4889 | 11011.0389 | 99.67%
Distribution | 494.5606 | 442.5799 | 428.8753 | 383.2445 | 348.119 | 336.1776 | 361.4081 | 357.2138 | 342.4083 | 422.4751 | 447.5177 | 529.2631 | 4893.8431 | 103.2%
Direct consumers | 44.9151 | 44.3961 | 45.8951 | 39.6967 | 36.0137 | 40.3788 | 42.9544 | 39.3655 | 38.0968 | 31.1523 | 42.8712 | 42.9024 | 488.6382 | 96.5%
Power Plants - their own consumption | 9.401 | 8.5139 | 7.4511 | 7.3357 | 6.4825 | 6.1997 | 6.8838 | 5.2533 | 4.1886 | 5.4289 | 5.6165 | 6.1831 | 78.9381 | 86.56%
EPBiH | 548.8767 | 495.4899 | 482.2215 | 430.277 | 390.6152 | 382.7561 | 411.2463 | 401.8326 | 384.6937 | 459.0562 | 496.0055 | 578.3486 | 5461.4194 | 102.3%
Distribution | 426.8511 | 390.3211 | 352.8018 | 299.1314 | 276.3289 | 275.431 | 297.3695 | 286.1479 | 274.9342 | 339.5281 | 372.9725 | 446.9124 | 4038.7298 | 99.37%
Direct consumers | 0.23295 | 0.17018 | 0.78913 | 0.084315 | 0.075075 | 0.094842 | 0.068244 | 0.064053 | 0.057156 | 0.070587 | 0.07062 | 0.07326 | 1.8504 | 0.9523%
Power Plants - their own consumption | 1.737 | 0.85137 | 0.54563 | 1.5107 | 1.9446 | 1.5685 | 1.2416 | 1.0653 | 0.67284 | 0.71283 | 2.0159 | 1.4515 | 15.3179 | 94.52%
ERS | 428.8211 | 391.3426 | 354.1366 | 300.7264 | 278.3486 | 277.0944 | 298.6794 | 287.2773 | 275.6642 | 340.3115 | 375.059 | 448.4371 | 4055.8982 | 94.88%
Distribution | 146.2519 | 129.8846 | 122.2625 | 104.1455 | 90.9346 | 94.6877 | 108.8318 | 106.9634 | 94.5253 | 118.6933 | 131.5877 | 154.8983 | 1403.6667 | 101.3%
Direct consumers | 1.1316 | 1.3924 | 1.653 | 1.4963 | 1.5026 | 1.6102 | 2.0848 | 2.0042 | 1.2435 | 1.6658 | 1.7748 | 1.8034 | 19.3625 | 126.2%
Power Plants - their own consumption | 0.8147 | 0.90783 | 1.0624 | 0.86084 | 0.85861 | 1.1245 | 1.2996 | 1.3039 | 1.211 | 0.97092 | 0.84018 | 0.63642 | 11.8909 | 132.4%
Pumping regime - PHE Čapljina | 0 | 0 | 2.4656 | 12.5584 | 15.6276 | 11.3915 | 4.6164 | 3.3034 | 0.000735 | 1.0361 | 1.322 | 0 | 52.3216 | 383.1%
EPHZHB | 148.1982 | 132.1849 | 127.4436 | 119.061 | 108.9234 | 108.8139 | 116.8325 | 113.5749 | 96.9805 | 122.3661 | 135.5246 | 157.3381 | 1487.2417 | 104.5%
Distribution | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Direct consumers | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Plants - their own consumption | 0.12334 | 0.087648 | 0.070752 | 0.67602 | 2.9421 | 0.091377 | 0.90839 | 0.091031 | 0.076609 | 1.2534 | 0.075141 | 0.08377 | 6.4796 | 74.24%
EFT | 0.12334 | 0.087648 | 0.070752 | 0.67602 | 2.9421 | 0.091377 | 0.90839 | 0.091031 | 0.076609 | 1.2534 | 0.075141 | 0.08377 | 6.4796 | 74.24%
Distribution | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Direct consumers | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Plants - their own consumption | 0.12418 | 0.14657 | 0.15267 | 0.24062 | 0.20884 | 0.20882 | 0.17667 | 0.24849 | 0.2678 | 0.20894 | 0.26172 | 0.28129 | 2.5266 | 543.5%
RES BH | 0.12418 | 0.14657 | 0.15267 | 0.24062 | 0.20884 | 0.20882 | 0.17667 | 0.24849 | 0.2678 | 0.20894 | 0.26172 | 0.28129 | 2.5266 | 543.5%

## Nominated_exchange
NOMINATED EXCHANGE PROGRAME WITH NEIGHBOURING EESs
NOMINATED EXCHANGE |  | I | II | III | IV | V | VI | VII | VIII | IX | X | XI | XII | 2025
|  | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh
| BiH <-- CRO (HEP-OPS) | 347.338 | 285.819 | 219.07 | 251.92 | 324.307 | 236.3 | 254.183 | 265.331 | 257.623 | 292.327 | 234.121 | 264.79 | 3233.129
| BiH <-- SR (EMS) | 79.782 | 116.489 | 52.002 | 104.788 | 168.668 | 212.549 | 190.563 | 166.88 | 147.077 | 133.368 | 97.388 | 108.644 | 1578.198
| BiH <-- MG (EPCG) | 61.965 | 65.716 | 60.723 | 44.095 | 57.023 | 30.032 | 26.564 | 19.632 | 33.236 | 54.457 | 102.645 | 80.319 | 636.407
(1) | Received BiH | 489.085 | 468.024 | 331.795 | 400.803 | 549.998 | 478.881 | 471.31 | 451.843 | 437.936 | 480.152 | 434.154 | 453.753 | 5447.734
| BiH --> CRO (HEP-OPS) | 143.418 | 171.541 | 238.652 | 132.833 | 150.363 | 212.0085 | 173.771 | 127.82 | 188.446 | 158.478 | 161.9 | 142.077 | 2001.3075
| BiH --> SR (EMS) | 318.118 | 271.408 | 357.227 | 333.129 | 209.387 | 209.105 | 235.853 | 305.904 | 286.929 | 315.538 | 344.702 | 351.015 | 3538.315
| BiH --> MG (EPCG) | 187.394 | 146.148 | 170.311 | 200.46 | 177.131 | 207.468 | 230.842 | 251.28 | 172.933 | 199.903 | 158.936 | 132.926 | 2235.732
(2) | Delivered BiH | 648.93 | 589.097 | 766.19 | 666.422 | 536.881 | 628.5815 | 640.466 | 685.004 | 648.308 | 673.919 | 665.538 | 626.018 | 7775.3545
(3) | Balance BIH (2) - (1) | 159.845 | 121.073 | 434.395 | 265.619 | -13.117 | 149.7005 | 169.156 | 233.161 | 210.372 | 193.767 | 231.384 | 172.265 | 2327.6205
| Balance CRO (HEP-OPS) | -203.92 | -114.278 | 19.582 | -119.087 | -173.944 | -24.2915 | -80.412 | -137.511 | -69.177 | -133.849 | -72.221 | -122.713 | -1231.8215
| Balance SR (EMS) | 238.336 | 154.919 | 305.225 | 228.341 | 40.719 | -3.444 | 45.29 | 139.024 | 139.852 | 182.17 | 247.314 | 242.371 | 1960.117
| Balance MG (EPCG) | 125.429 | 80.432 | 109.588 | 156.365 | 120.108 | 177.436 | 204.278 | 231.648 | 139.697 | 145.446 | 56.291 | 52.607 | 1599.325
| Transit | 247.029 | 211.349 | 189.062 | 174.546 | 226.009 | 184.687 | 189.493 | 219.444 | 195.569 | 280.839 | 261.513 | 258.322 | 2637.862
Internal trade

## Physical_exchange
PHYSICAL EXCHANGE OF BIH WITH NEIGHBOURING EES IN THE TRANSMISSION SYSTEM
PHYSICAL FLOWS |  | I | II | III | IV | V | VI | VII | VIII | IX | X | XI | XII | 2025
|  | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh
| BiH <-- CRO (HOPS) | 332.1607 | 200.5236 | 226.2163 | 334.7557 | 390.0807 | 271.8817 | 285.8119 | 218.7315 | 147.9411 | 212.8169 | 269.0678 | 290.1368 | 3180.1248
| BiH<-SR (EMS) | 64.3798 | 74.7 | 51.8785 | 45.1487 | 68.0866 | 68.778 | 88.1913 | 101.6663 | 123.369 | 45.102 | 36.5627 | 48.1583 | 816.0212
| BiH<-MG (EPCG) | 34.9302 | 53.4273 | 48.6061 | 28.4062 | 41.9253 | 33.9764 | 47.1807 | 40.6663 | 73.9301 | 41.9294 | 75.5454 | 71.8028 | 592.3262
(1) | Received BiH | 431.4708 | 328.6509 | 326.7009 | 408.3106 | 500.0926 | 374.6361 | 421.1839 | 361.0641 | 345.2403 | 299.8483 | 381.1758 | 410.0979 | 4588.4722
| BiH --> CRO (HOPS) | 173.7882 | 213.8527 | 336.9425 | 163.1773 | 133.2829 | 196.5208 | 223.5092 | 274.021 | 322.1859 | 216.2877 | 285.7906 | 247.2001 | 2786.559
| BiH --> SR (EMS) | 98.3708 | 63.1069 | 118.9791 | 146.1902 | 92.4659 | 72.6319 | 75.3508 | 64.2045 | 55.8601 | 89.9987 | 113.7818 | 93.9592 | 1084.8999
| BiH --> MG (EPCG) | 309.1208 | 169.5523 | 301.8725 | 359.4655 | 262.9209 | 256.0758 | 284.7839 | 252.4993 | 175.0226 | 180.7043 | 200.7288 | 226.6434 | 2979.3901
(2) | Delivered BiH | 581.2797 | 446.512 | 757.7941 | 668.833 | 488.6698 | 525.2284 | 583.6439 | 590.7248 | 553.0686 | 486.9907 | 600.3012 | 567.8028 | 6850.849
(3) | Balance BIH (2) - (1) | 149.809 | 117.8611 | 431.0932 | 260.5225 | -11.4228 | 150.5923 | 162.46 | 229.6607 | 207.8283 | 187.1423 | 219.1254 | 157.7049 | 2262.3767
| Balance CRO (HOPS) | -158.3726 | 13.3291 | 110.7262 | -171.5784 | -256.7977 | -75.3609 | -62.3027 | 55.2895 | 174.2448 | 3.4708 | 16.7228 | -42.9367 | -393.5658
| BALANCE SR (EMS) | 33.991 | -11.5931 | 67.1006 | 101.0415 | 24.3793 | 3.8538 | -12.8405 | -37.4618 | -67.5089 | 44.8968 | 77.2191 | 45.8009 | 268.8787
| BALANCE MG (EPCG) | 274.1906 | 116.125 | 253.2664 | 331.0593 | 220.9956 | 222.0994 | 237.6032 | 211.833 | 101.0924 | 138.7748 | 125.1835 | 154.8406 | 2387.0639

## Deviations
Deviations of EES BiH towards the Interconnection in 2025
| Deviation - Energy shortage |  |  | Deviation - Energy surplus |  |  | Deviation - Total
| Max. hourly | Average | Total | Max. hourly | Average | Total | Max. Hourly | Average | Total
Month | MWh/h | MWh/h | MWh | MWh/h | MWh/h | MWh | MWh/h | MWh/h | MWh
January | -172.125 | -25.5365 | -13483.251 | 94.595 | 15.7946 | 3411.637 | -172.125 | -13.5371 | -10071.614
February | -67.136 | -14.1309 | -6302.396 | 96.799 | 13.5539 | 3076.734 | 96.799 | -4.789 | -3225.662
March | -104.094 | -13.527 | -6195.344 | 61.382 | 10.703 | 3007.548 | -104.094 | -4.1896 | -3187.796
April | -96.917 | -17.8173 | -8552.308 | 198.803 | 15.0285 | 3606.842 | 198.803 | -6.8687 | -4945.466
May | -91.641 | -12.8499 | -4793.017 | 110.046 | 17.4815 | 6485.618 | 110.046 | 2.275 | 1692.601
June | -85.687 | -13.8302 | -4799.066 | 85.9 | 15.379 | 5736.367 | 85.9 | 1.3018 | 937.301
July | -76.766 | -17.7405 | -9455.692 | 65.941 | 12.6573 | 2670.688 | -76.766 | -9.1196 | -6785.004
August | -154.322 | -18.0314 | -8384.591 | 128.696 | 17.5741 | 4920.754 | -154.322 | -4.6557 | -3463.837
September | -102.732 | -18.6688 | -7523.509 | 70.372 | 15.6413 | 4958.284 | -102.732 | -3.5628 | -2565.225
October | -106.372 | -23.659 | -11805.853 | 142.2 | 19.7516 | 4878.634 | 142.2 | -9.2858 | -6927.219
November | -93.899 | -23.3785 | -13746.54 | 64.476 | 11.6823 | 1542.062 | -93.899 | -16.9507 | -12204.478
December | -118.054 | -24.1667 | -15756.664 | 42.743 | 7.8576 | 722.9 | -118.054 | -20.2067 | -15033.764
2025 | -172.125 | -19.0328 | -110751.95 | 198.803 | 14.8459 | 45101.89 | 198.803 | -7.4943 | -65780.163

## Consumption_statistic
Data on specific hourly and daily consumption in 2025
|  | MAX. HOURLY LOAD |  |  | MIN. HOURLY LOAD |  |  | MAX DAILY CONSUMPTION |  | MIN DAILY CONSUMPTION
|  | MWh/h | DAN | HOUR | MWh/h | DAN | HOUR | MWh | DAY | MWh | DAY
I | January | 2000.601 | 2025-01-16 | 18 | 826.279 | 2025-01-29 | 4 | 39921.266 | 2025-01-16 | 30095.197 | 2025-01-26
II | February | 1980.759 | 2025-02-20 | 19 | 882.397 | 2025-02-03 | 4 | 38933.042 | 2025-02-20 | 30264.191 | 2025-02-01
III | March | 1719.949 | 2025-03-03 | 19 | 736.494 | 2025-03-31 | 4 | 32442.566 | 2025-03-03 | 24023.689 | 2025-03-30
IV | April | 1639.972 | 2025-04-08 | 21 | 640.128 | 2025-04-21 | 4 | 31012.201 | 2025-04-08 | 20341.628 | 2025-04-20
V | May | 1385.394 | 2025-05-16 | 21 | 591.491 | 2025-05-01 | 14 | 26785.302 | 2025-05-23 | 18703.375 | 2025-05-01
VI | June | 1457.897 | 2025-06-26 | 22 | 661.301 | 2025-06-01 | 6 | 28250.532 | 2025-06-26 | 20015.695 | 2025-06-01
VII | July | 1510.356 | 2025-07-25 | 19 | 708.497 | 2025-07-30 | 4 | 29171.944 | 2025-07-25 | 21575.502 | 2025-07-13
VIII | August | 1478.064 | 2025-08-13 | 21 | 690.044 | 2025-08-04 | 4 | 28141.85 | 2025-08-14 | 21631.781 | 2025-08-24
IX | September | 1495.174 | 2025-09-30 | 20 | 689.553 | 2025-09-01 | 4 | 27143.49 | 2025-09-10 | 21061.704 | 2025-09-21
X | October | 1659.303 | 2025-10-28 | 18 | 746.352 | 2025-10-12 | 4 | 32226.344 | 2025-10-03 | 24317.585 | 2025-10-12
XI | November | 1850.873 | 2025-11-27 | 17 | 785.129 | 2025-11-03 | 4 | 36494.597 | 2025-11-24 | 25577.64 | 2025-11-02
XII | December | 2208.8 | 2025-12-31 | 18 | 860.937 | 2025-12-08 | 4 | 43051.336 | 2025-12-30 | 30994.952 | 2025-12-07
Specific values of electricity consumption in 2025
|  | Max hourly consumption |  |  | Min hourly cosumption |  |  | Max daily consumption |  | Min daily consumption
|  | MWh | Day | Hour | MWh | Day | Hour | MWh | Day | MWh | Day
|  | 2208.8 | 2025-12-31 | 18:00 | 591.491 | 2025-05-01 | 14:00 | 43051.336 | 2025-12-30 | 18703.375 | 2025-05-01

## Consumption
Data on specific hourly and daily consumption in 2025
| Max.hourly consumption |  |  | Min.hourly consumption |  |  | Max.daily consumption |  | Min.daily consumption
Month | MWh/h | Day | Hour | MWh/h | Day | Hour | MWh | Day | MWh | Day
January | 2000.601 | 2025-01-16 | 18 | 826.279 | 2025-01-29 | 4 | 39921.266 | 2025-01-16 | 30095.197 | 2025-01-26
February | 1980.759 | 2025-02-20 | 19 | 882.397 | 2025-02-03 | 4 | 38933.042 | 2025-02-20 | 30264.191 | 2025-02-01
March | 1719.949 | 2025-03-03 | 19 | 736.494 | 2025-03-31 | 4 | 32442.566 | 2025-03-03 | 24023.689 | 2025-03-30
April | 1639.972 | 2025-04-08 | 21 | 640.128 | 2025-04-21 | 4 | 31012.201 | 2025-04-08 | 20341.628 | 2025-04-20
May | 1385.394 | 2025-05-16 | 21 | 591.491 | 2025-05-01 | 14 | 26785.302 | 2025-05-23 | 18703.375 | 2025-05-01
June | 1457.897 | 2025-06-26 | 22 | 661.301 | 2025-06-01 | 6 | 28250.532 | 2025-06-26 | 20015.695 | 2025-06-01
July | 1510.356 | 2025-07-25 | 19 | 708.497 | 2025-07-30 | 4 | 29171.944 | 2025-07-25 | 21575.502 | 2025-07-13
August | 1478.064 | 2025-08-13 | 21 | 690.044 | 2025-08-04 | 4 | 28141.85 | 2025-08-14 | 21631.781 | 2025-08-24
September | 1495.174 | 2025-09-30 | 20 | 689.553 | 2025-09-01 | 4 | 27143.49 | 2025-09-10 | 21061.704 | 2025-09-21
October | 1659.303 | 2025-10-28 | 18 | 746.352 | 2025-10-12 | 4 | 32226.344 | 2025-10-03 | 24317.585 | 2025-10-12
November | 1850.873 | 2025-11-27 | 17 | 785.129 | 2025-11-03 | 4 | 36494.597 | 2025-11-24 | 25577.64 | 2025-11-02
December | 2208.8 | 2025-12-31 | 18 | 860.937 | 2025-12-08 | 4 | 43051.336 | 2025-12-30 | 30994.952 | 2025-12-07
2025 | 2208.8 | 2025-12-31 | 18 | 591.491 | 2025-05-01 | 14 | 43051.336 | 2025-12-30 | 18703.375 | 2025-05-01

## Consumption_Days
Diagram of consumption for a day in a month with max hourly consumption
MWh
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | ∑
January | 2025-01-16 | 1290.302 | 1177.421 | 1127.267 | 1113.584 | 1140.142 | 1251.289 | 1499.272 | 1762.413 | 1912.809 | 1938.586 | 1857.201 | 1825.425 | 1810.657 | 1866.384 | 1896.845 | 1918.056 | 1953.021 | 2000.601 | 1944.125 | 1902.53 | 1851.712 | 1762.96 | 1651.875 | 1466.789 | 39921.266
February | 2025-02-20 | 1341.02 | 1238.789 | 1194.114 | 1188.579 | 1219.274 | 1350.23 | 1610.127 | 1835.582 | 1851.668 | 1796.028 | 1690.715 | 1624.471 | 1575.636 | 1604.519 | 1616.764 | 1658.459 | 1751.534 | 1915.368 | 1980.759 | 1950.87 | 1901.039 | 1825.512 | 1698.366 | 1513.619 | 38933.042
March | 2025-03-03 | 1077.22 | 982.273 | 947.713 | 969.959 | 1073.631 | 1118.631 | 1305.116 | 1510.416 | 1506.554 | 1428.986 | 1345.312 | 1299.217 | 1262.544 | 1294.45 | 1313.465 | 1362.077 | 1513.969 | 1701.435 | 1719.949 | 1705.058 | 1665.008 | 1588.795 | 1462.149 | 1288.639 | 32442.566
April | 2025-04-08 | 1073.575 | 976.717 | 925.396 | 909.033 | 940.612 | 1046.844 | 1271.891 | 1508.343 | 1497.945 | 1392.878 | 1313.244 | 1291.338 | 1260.159 | 1249.41 | 1278.641 | 1315.328 | 1380.772 | 1448.842 | 1498.362 | 1600.121 | 1639.972 | 1555.817 | 1396.219 | 1240.742 | 31012.201
May | 2025-05-16 | 858.695 | 769.176 | 720.345 | 707.694 | 731.337 | 789.154 | 958.374 | 1158.721 | 1182.281 | 1139.669 | 1081.038 | 1035.934 | 1008.572 | 1005.975 | 1088.237 | 1115.854 | 1177.373 | 1222.415 | 1256.119 | 1306.31 | 1385.394 | 1349.326 | 1211.061 | 1060.159 | 25319.213
June | 2025-06-26 | 1007.4 | 902.379 | 851.037 | 830.424 | 834.072 | 852.706 | 978.339 | 1156.95 | 1192.305 | 1186.75 | 1173.144 | 1204.295 | 1224.057 | 1237 | 1302.273 | 1321.853 | 1352.747 | 1377.839 | 1408.619 | 1420.852 | 1417.866 | 1457.897 | 1357.825 | 1201.903 | 28250.532
July | 2025-07-25 | 1042.989 | 933.618 | 868.596 | 841.6 | 853.869 | 878.34 | 989.416 | 1159.748 | 1194.632 | 1199.772 | 1197.324 | 1240.143 | 1268.324 | 1295.08 | 1357.523 | 1384.896 | 1421.418 | 1458.609 | 1510.356 | 1497.073 | 1503.112 | 1487.796 | 1362.633 | 1225.077 | 29171.944
August | 2025-08-13 | 1017.873 | 922.711 | 872.829 | 844.063 | 851.973 | 891.032 | 973.74 | 1135.543 | 1162.184 | 1147.527 | 1106.577 | 1117.412 | 1135.99 | 1178.909 | 1262.71 | 1304.812 | 1356.465 | 1399.375 | 1436.333 | 1435.312 | 1478.064 | 1423.702 | 1303.228 | 1168.957 | 27927.321
September | 2025-09-30 | 866.832 | 787.871 | 749.383 | 733.368 | 753.645 | 840.153 | 1040.584 | 1241.135 | 1229.677 | 1158.057 | 1053.903 | 1023.088 | 1026.336 | 1084.936 | 1192.65 | 1239.098 | 1280.684 | 1329.988 | 1431.501 | 1495.174 | 1436.781 | 1336.778 | 1174.637 | 1031.424 | 26537.683
October | 2025-10-28 | 950.27 | 885.075 | 847.576 | 841.721 | 876.813 | 1002.019 | 1220.832 | 1344.347 | 1280.751 | 1164.836 | 1051.101 | 1006.691 | 993.05 | 1061.157 | 1161.737 | 1302.69 | 1491.198 | 1659.303 | 1630.446 | 1587.738 | 1535.733 | 1449.169 | 1309.677 | 1142.773 | 28796.703
November | 2025-11-27 | 1072.236 | 974.114 | 929.517 | 911.166 | 942.95 | 1079.113 | 1338.765 | 1592.958 | 1726.293 | 1775.89 | 1764.394 | 1752.709 | 1743.081 | 1797.205 | 1806.381 | 1804.132 | 1850.873 | 1827.316 | 1760.33 | 1722.673 | 1666.894 | 1585.444 | 1472.572 | 1294.011 | 36191.017
December | 2025-12-31 | 1518.537 | 1386.493 | 1307.581 | 1273.549 | 1297.25 | 1396.992 | 1628.747 | 1872.991 | 1966.863 | 1912.423 | 1822.341 | 1756.177 | 1747.386 | 1834.667 | 1889.043 | 2014.442 | 2157.868 | 2208.8 | 2152.969 | 2049.933 | 1899.578 | 1764.232 | 1698.91 | 1614.965 | 42172.737
Diagram of consumption for a day in a month with min hourly consumption
MWh
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 |  |  |  | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | ∑
January | 2025-01-29 | 957.196 | 874.205 | 834.913 | 826.279 | 858.079 | 971.332 | 1218.865 | 1434.678 | 1503.78 | 1446.967 | 1335.633 | 1276.284 | 1282.684 | 1370.529 | 1413.801 | 1432.718 | 1482.504 | 1589.168 | 1555.711 | 1523.673 | 1482.173 | 1406.626 | 1304.945 | 1145.745 | 30528.488
February | 2025-02-03 | 1016.666 | 933.188 | 895.806 | 882.397 | 916.251 | 1035.956 | 1299.051 | 1558.638 | 1680.946 | 1691.66 | 1650.552 | 1631.849 | 1603.041 | 1634.821 | 1654.347 | 1652.878 | 1667.888 | 1741.28 | 1714.821 | 1676.012 | 1635.377 | 1554.972 | 1445.302 | 1279.105 | 34452.804
March | 2025-03-31 | 903.986 | 805.53 | 903.986 | 736.494 | 746.378 | 821.932 | 966.274 | 1156.572 | 1242.381 | 1265.761 | 1231.431 | 1210.77 | 1199.792 | 1213.678 | 1248.292 | 1258.291 | 1261.381 | 1277.25 | 1324.128 | 1422.836 | 1430.262 | 1365.548 | 1252.896 | 1117.041 | 27362.89
April | 2025-04-21 | 760.283 | 684.024 | 646.712 | 640.128 | 657.89 | 725.193 | 816.908 | 966.816 | 983.078 | 944.751 | 876.546 | 836.344 | 801.28 | 803.924 | 862.52 | 898.918 | 953.583 | 1005.751 | 1071.026 | 1173.262 | 1261.455 | 1190.92 | 1051.882 | 920.977 | 21534.171
May | 2025-05-01 | 844.849 | 750.725 | 699.23 | 674.502 | 683.986 | 711.226 | 744.325 | 823.818 | 850.294 | 844.101 | 773.358 | 696.408 | 630.573 | 591.491 | 600.155 | 593.072 | 633.251 | 699.989 | 803.859 | 925.698 | 1106.709 | 1112.636 | 1015.983 | 893.137 | 18703.375
June | 2025-06-01 | 833.809 | 738.338 | 689.459 | 668.117 | 674.849 | 661.301 | 697.925 | 772.691 | 829.699 | 848.332 | 825.519 | 793.907 | 760.569 | 736.938 | 723.901 | 747.274 | 795.571 | 874.919 | 960.035 | 1032.426 | 1147.145 | 1205.159 | 1082.769 | 915.043 | 20015.695
July | 2025-07-30 | 843.246 | 765.977 | 730.777 | 708.497 | 718.041 | 753.873 | 853.911 | 995.658 | 1010.644 | 985.25 | 925.012 | 914.504 | 926.13 | 938.101 | 1001.206 | 1015.353 | 1017.794 | 1043.246 | 1090.248 | 1132.837 | 1201.4 | 1202.69 | 1098.6 | 999.055 | 22872.05
August | 2025-08-04 | 812.138 | 744.11 | 707.588 | 690.044 | 701.461 | 731.541 | 841.166 | 1020.713 | 1114.114 | 1114.854 | 1071.111 | 1059.652 | 1049.148 | 1061.57 | 1084.724 | 1030.117 | 1012.487 | 1043.721 | 1102.007 | 1152.331 | 1225.67 | 1195.415 | 1086.216 | 982.956 | 23634.854
September | 2025-09-01 | 808.568 | 734.257 | 700.925 | 689.553 | 708.01 | 772.314 | 918.976 | 1088.536 | 1072.01 | 993.862 | 898.94 | 890.285 | 892.616 | 900.163 | 950.353 | 977.318 | 1035.118 | 1103.004 | 1182.3 | 1265.199 | 1322.071 | 1228.197 | 1096.379 | 965.454 | 23194.408
October | 2025-10-12 | 916.419 | 828.986 | 773.454 | 746.352 | 749.357 | 790.629 | 863.097 | 961.55 | 1050.945 | 1063.996 | 1035.61 | 975.342 | 948.032 | 925.231 | 911.089 | 947.632 | 1029.895 | 1156.378 | 1342.221 | 1415.457 | 1389.026 | 1309.152 | 1172.336 | 1015.399 | 24317.585
November | 2025-11-03 | 878.501 | 817.037 | 788.612 | 785.129 | 814.284 | 925.226 | 1145.16 | 1356.563 | 1444.649 | 1469.252 | 1441.819 | 1460.142 | 1484.855 | 1532.346 | 1529.885 | 1525.482 | 1561.632 | 1623.775 | 1570.625 | 1520.871 | 1476.154 | 1395.172 | 1269.703 | 1105.257 | 30922.131
December | 2025-12-08 | 1005.638 | 919.59 | 875.651 | 860.937 | 892.29 | 1023.229 | 1295.231 | 1550.748 | 1622.536 | 1561.875 | 1481.596 | 1461.546 | 1454.559 | 1501.925 | 1553.45 | 1611.738 | 1717.309 | 1745.902 | 1691.169 | 1663.031 | 1619.963 | 1535.452 | 1419.495 | 1240.745 | 33305.605
Diagram of consumption on the third Wednesday in a month
MWh
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | ∑
January | 2025-01-15 | 1245.209 | 1149.321 | 1098.582 | 1082.337 | 1112.421 | 1226.382 | 1473.638 | 1727.66 | 1850.122 | 1887.332 | 1856.05 | 1840.044 | 1817.442 | 1862.701 | 1868.024 | 1861.174 | 1897.539 | 1952.446 | 1910.76 | 1862.85 | 1816.488 | 1744.904 | 1643.993 | 1466.829 | 39254.248
February | 2025-02-19 | 1292.774 | 1194.082 | 1143.008 | 1128.407 | 1155.966 | 1287.613 | 1559.158 | 1794.986 | 1825.259 | 1762.452 | 1671.854 | 1611.535 | 1573.646 | 1605.982 | 1624.012 | 1666.812 | 1752.832 | 1906.99 | 1955 | 1920.658 | 1889.264 | 1793.749 | 1675.006 | 1505.625 | 38296.67
March | 2025-03-19 | 1122.066 | 1028.623 | 989.522 | 1036.771 | 1091.215 | 1133.846 | 1309.825 | 1438.711 | 1404.124 | 1332.75 | 1244.424 | 1215.374 | 1183.712 | 1214.978 | 1226.3 | 1281.849 | 1410.696 | 1631.245 | 1654.153 | 1681.886 | 1646.676 | 1573.886 | 1451.765 | 1277.102 | 31581.499
April | 2025-04-16 | 905.849 | 806.002 | 759.211 | 739.52 | 761.835 | 864.476 | 1038.734 | 1227.022 | 1195.697 | 1111.16 | 1042.423 | 1002.743 | 978.887 | 1001.327 | 1079.72 | 1144.435 | 1183.82 | 1205.635 | 1243.55 | 1338.459 | 1409.913 | 1321.632 | 1162.967 | 1017.641 | 25542.658
May | 2025-05-21 | 872.076 | 775.68 | 735.031 | 722.353 | 745.154 | 795.693 | 960.164 | 1176.87 | 1225.333 | 1211.067 | 1210.44 | 1224.117 | 1196.247 | 1171.853 | 1225.747 | 1253.031 | 1257.589 | 1225.686 | 1216.405 | 1234.846 | 1312.975 | 1295.155 | 1164.781 | 1023.838 | 26232.131
June | 2025-06-18 | 886.425 | 802.917 | 756.886 | 743.018 | 763.7 | 783.996 | 916.92 | 1095.672 | 1129.262 | 1090.77 | 1035.431 | 1021.15 | 1025.525 | 1065.784 | 1184.761 | 1213.765 | 1194.546 | 1179.996 | 1196.129 | 1208.644 | 1260.522 | 1308.504 | 1194.954 | 1055.681 | 25114.958
July | 2025-07-16 | 967.687 | 874.287 | 829.964 | 810.053 | 820.465 | 837.162 | 954.276 | 1132.613 | 1184.081 | 1172.778 | 1121.917 | 1114.147 | 1121.008 | 1122.142 | 1173.569 | 1180.021 | 1191.715 | 1206.433 | 1227.347 | 1246.32 | 1279.978 | 1312.697 | 1207.599 | 1078.788 | 26167.047
August | 2025-08-20 | 903.958 | 827.425 | 785.486 | 769.724 | 789.051 | 838.466 | 938.205 | 1097.139 | 1086.521 | 1051.26 | 1003.714 | 1022.305 | 1047.933 | 1081.31 | 1168.716 | 1210.381 | 1224.957 | 1232.012 | 1265.784 | 1309.696 | 1382.888 | 1311.602 | 1175.874 | 1054.42 | 25578.827
September | 2025-09-17 | 837.975 | 779.254 | 752.914 | 744.105 | 766.209 | 839.577 | 994.016 | 1164.385 | 1175.653 | 1078.382 | 937.97 | 889.167 | 876.278 | 889.549 | 977.628 | 1027.212 | 1066.127 | 1129.616 | 1202.537 | 1336.379 | 1311.483 | 1218.359 | 1079.623 | 957.047 | 24031.445
October | 2025-10-15 | 982.104 | 893.271 | 846.711 | 834.835 | 861.875 | 967.879 | 1217.209 | 1459.457 | 1467.487 | 1388.087 | 1290.577 | 1247.724 | 1177.203 | 1124.887 | 1176.176 | 1224.471 | 1310.65 | 1432.188 | 1577.281 | 1597.298 | 1538.582 | 1448.607 | 1289.079 | 1133.12 | 29486.758
November | 2025-11-19 | 1113.425 | 1009.273 | 957.969 | 948.218 | 968.152 | 1091.251 | 1330.911 | 1572.906 | 1659.573 | 1663.019 | 1587.455 | 1591.311 | 1607.345 | 1658.869 | 1707.322 | 1726.75 | 1779.973 | 1790.005 | 1724.724 | 1689.406 | 1638.487 | 1555.864 | 1424.188 | 1248.231 | 35044.627
December | 2025-12-17 | 1268.791 | 1155.475 | 1111.905 | 1097.964 | 1123.337 | 1256.067 | 1516.345 | 1790.056 | 1905.988 | 1912.107 | 1862.557 | 1821.078 | 1790.213 | 1854.11 | 1882.302 | 1874.951 | 1939.434 | 1942.94 | 1887.738 | 1851.366 | 1810.027 | 1729.113 | 1606.62 | 1422.683 | 39413.167
Diagram of consumption for a day in a month with max. consumption | [26 empty] | Diagrams of consumption for the days of the months with max consumption
MWh
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | ∑
January | 2025-01-16 | 1290.302 | 1177.421 | 1127.267 | 1113.584 | 1140.142 | 1251.289 | 1499.272 | 1762.413 | 1912.809 | 1938.586 | 1857.201 | 1825.425 | 1810.657 | 1866.384 | 1896.845 | 1918.056 | 1953.021 | 2000.601 | 1944.125 | 1902.53 | 1851.712 | 1762.96 | 1651.875 | 1466.789 | 39921.266
February | 2025-02-20 | 1341.02 | 1238.789 | 1194.114 | 1188.579 | 1219.274 | 1350.23 | 1610.127 | 1835.582 | 1851.668 | 1796.028 | 1690.715 | 1624.471 | 1575.636 | 1604.519 | 1616.764 | 1658.459 | 1751.534 | 1915.368 | 1980.759 | 1950.87 | 1901.039 | 1825.512 | 1698.366 | 1513.619 | 38933.042
March | 2025-03-03 | 1077.22 | 982.273 | 947.713 | 969.959 | 1073.631 | 1118.631 | 1305.116 | 1510.416 | 1506.554 | 1428.986 | 1345.312 | 1299.217 | 1262.544 | 1294.45 | 1313.465 | 1362.077 | 1513.969 | 1701.435 | 1719.949 | 1705.058 | 1665.008 | 1588.795 | 1462.149 | 1288.639 | 32442.566
April | 2025-04-08 | 1073.575 | 976.717 | 925.396 | 909.033 | 940.612 | 1046.844 | 1271.891 | 1508.343 | 1497.945 | 1392.878 | 1313.244 | 1291.338 | 1260.159 | 1249.41 | 1278.641 | 1315.328 | 1380.772 | 1448.842 | 1498.362 | 1600.121 | 1639.972 | 1555.817 | 1396.219 | 1240.742 | 31012.201
May | 2025-05-23 | 872.021 | 780.374 | 735.902 | 718.516 | 746.664 | 786.934 | 939.923 | 1163.605 | 1235.3 | 1252.166 | 1230.46 | 1279.361 | 1292.409 | 1278.893 | 1316.916 | 1286.919 | 1252.492 | 1245.53 | 1234.406 | 1275.738 | 1331.554 | 1301.444 | 1176.032 | 1051.743 | 26785.302
June | 2025-06-26 | 1007.4 | 902.379 | 851.037 | 830.424 | 834.072 | 852.706 | 978.339 | 1156.95 | 1192.305 | 1186.75 | 1173.144 | 1204.295 | 1224.057 | 1237 | 1302.273 | 1321.853 | 1352.747 | 1377.839 | 1408.619 | 1420.852 | 1417.866 | 1457.897 | 1357.825 | 1201.903 | 28250.532
July | 2025-07-25 | 1042.989 | 933.618 | 868.596 | 841.6 | 853.869 | 878.34 | 989.416 | 1159.748 | 1194.632 | 1199.772 | 1197.324 | 1240.143 | 1268.324 | 1295.08 | 1357.523 | 1384.896 | 1421.418 | 1458.609 | 1510.356 | 1497.073 | 1503.112 | 1487.796 | 1362.633 | 1225.077 | 29171.944
August | 2025-08-14 | 1029.659 | 927.131 | 879.561 | 853.141 | 863.825 | 891.714 | 978.391 | 1138.937 | 1175.483 | 1167.98 | 1142.399 | 1172.9 | 1202.371 | 1248.951 | 1317.183 | 1339.65 | 1358.103 | 1385.195 | 1407.21 | 1406.647 | 1451.06 | 1397.632 | 1267.606 | 1139.121 | 28141.85
September | 2025-09-10 | 907.325 | 823.836 | 788.081 | 778.629 | 793.323 | 853.489 | 991.26 | 1177.506 | 1237.956 | 1219.499 | 1211.97 | 1252.962 | 1276.411 | 1287.467 | 1336.357 | 1319.851 | 1305.845 | 1283.781 | 1284.839 | 1350.722 | 1330.519 | 1243.084 | 1105.797 | 982.981 | 27143.49
October | 2025-10-03 | 991.934 | 889.609 | 845.071 | 827.075 | 848.301 | 953.785 | 1184.452 | 1454.774 | 1545.901 | 1550.368 | 1506.295 | 1499.099 | 1473.951 | 1479.28 | 1555.007 | 1562.415 | 1567.893 | 1564.902 | 1625.037 | 1652.136 | 1590.169 | 1497.559 | 1353.083 | 1208.248 | 32226.344
November | 2025-11-24 | 1116.247 | 1025.742 | 987.135 | 983.936 | 1021.436 | 1141.018 | 1394.568 | 1644.101 | 1738.169 | 1760.432 | 1765.705 | 1752.875 | 1738.86 | 1796.245 | 1816.802 | 1811.406 | 1839.799 | 1821.039 | 1754.255 | 1700.896 | 1649.007 | 1557.56 | 1424.694 | 1252.67 | 36494.597
December | 2025-12-30 | 1436.008 | 1310.587 | 1254.333 | 1226.527 | 1258.825 | 1370.162 | 1619.672 | 1888.432 | 2029.325 | 2025.224 | 1970.632 | 1939.24 | 1895.121 | 1930.585 | 1960.296 | 2005.051 | 2093.741 | 2144.018 | 2097.592 | 2056.904 | 2020.465 | 1951.517 | 1867.441 | 1699.638 | 43051.336
Diagram of consumption for a day in a month with min. consumption
MWh
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | ∑
January | 2025-01-26 | 1085.263 | 985.285 | 930.091 | 906.358 | 912.431 | 957.769 | 1045.181 | 1172.883 | 1330.213 | 1409.033 | 1408.092 | 1351.577 | 1274.02 | 1254.262 | 1262.669 | 1327.894 | 1448.27 | 1584.95 | 1570.108 | 1541.542 | 1495.94 | 1418.711 | 1292.965 | 1129.69 | 30095.197
February | 2025-02-01 | 1043.784 | 951.694 | 899.783 | 884.09 | 895.671 | 966.951 | 1105.213 | 1289.59 | 1429.015 | 1439.903 | 1363.164 | 1287.905 | 1227.532 | 1252.565 | 1288.34 | 1356.066 | 1444.255 | 1589.599 | 1590.418 | 1539.852 | 1489.814 | 1410.397 | 1321.925 | 1196.665 | 30264.191
March | 2025-03-30 | 1010.037 | 878.922 | 0 | 805.798 | 788.293 | 870.749 | 1036.162 | 1140.276 | 1175.842 | 1160.921 | 1116.539 | 1050.122 | 1019.553 | 983.224 | 954.623 | 944.926 | 969.564 | 1018.509 | 1099.353 | 1243.441 | 1288.942 | 1251.032 | 1173.64 | 1043.221 | 24023.689
April | 2025-04-20 | 876.324 | 763.054 | 699.078 | 675.948 | 690.16 | 726.523 | 773.483 | 898.035 | 967.566 | 963.512 | 888.876 | 807.646 | 739.829 | 691.733 | 652.989 | 663.693 | 731.408 | 828.265 | 928.245 | 1069.671 | 1210.366 | 1163.724 | 1042.195 | 889.305 | 20341.628
May | 2025-05-01 | 844.849 | 750.725 | 699.23 | 674.502 | 683.986 | 711.226 | 744.325 | 823.818 | 850.294 | 844.101 | 773.358 | 696.408 | 630.573 | 591.491 | 600.155 | 593.072 | 633.251 | 699.989 | 803.859 | 925.698 | 1106.709 | 1112.636 | 1015.983 | 893.137 | 18703.375
June | 2025-06-01 | 833.809 | 738.338 | 689.459 | 668.117 | 674.849 | 661.301 | 697.925 | 772.691 | 829.699 | 848.332 | 825.519 | 793.907 | 760.569 | 736.938 | 723.901 | 747.274 | 795.571 | 874.919 | 960.035 | 1032.426 | 1147.145 | 1205.159 | 1082.769 | 915.043 | 20015.695
July | 2025-07-13 | 868.805 | 794.679 | 751.067 | 730.856 | 736.649 | 718.447 | 739.865 | 801.352 | 841.841 | 860.657 | 853.578 | 841.807 | 829.662 | 830.29 | 838.978 | 871.526 | 929.349 | 1013.313 | 1067.306 | 1110.632 | 1164.678 | 1217.698 | 1146.102 | 1016.365 | 21575.502
August | 2025-08-24 | 856.578 | 784.481 | 742.152 | 721.226 | 722.245 | 728.697 | 747.425 | 831.641 | 922.887 | 985.263 | 984.976 | 959.876 | 916.731 | 876.915 | 817.661 | 816.632 | 851.98 | 922.77 | 1013.669 | 1118.001 | 1209.541 | 1149.326 | 1038.507 | 912.601 | 21631.781
September | 2025-09-21 | 837.377 | 773.582 | 738.914 | 713.316 | 717.164 | 745.793 | 781.106 | 861.269 | 893.944 | 868.808 | 817.799 | 776.336 | 751.725 | 740.181 | 742.849 | 793.145 | 883.764 | 1004.348 | 1108.737 | 1236.549 | 1222.884 | 1142.653 | 1017.57 | 891.891 | 21061.704
October | 2025-10-12 | 916.419 | 828.986 | 773.454 | 746.352 | 749.357 | 790.629 | 863.097 | 961.55 | 1050.945 | 1063.996 | 1035.61 | 975.342 | 948.032 | 925.231 | 911.089 | 947.632 | 1029.895 | 1156.378 | 1342.221 | 1415.457 | 1389.026 | 1309.152 | 1172.336 | 1015.399 | 24317.585
November | 2025-11-02 | 951.62 | 878.878 | 834.859 | 815.081 | 826.138 | 876.038 | 958.693 | 1035.609 | 1052.477 | 1023.577 | 974.004 | 928.243 | 924.363 | 942.497 | 1016.612 | 1138.555 | 1318.891 | 1471.288 | 1454.425 | 1417.072 | 1357.803 | 1257.948 | 1130.707 | 992.262 | 25577.64
December | 2025-12-07 | 1072.484 | 970.807 | 916.905 | 886.348 | 894.191 | 938.649 | 1025.187 | 1138.252 | 1286.53 | 1373.747 | 1403.308 | 1414.364 | 1433.863 | 1435.922 | 1439.783 | 1512.495 | 1623.442 | 1621.761 | 1585.206 | 1566.072 | 1529.589 | 1453.776 | 1324.024 | 1148.247 | 30994.952